## Instructions
WELL v2 Recertification Worksheet
The International WELL Building Institute (IWBI) provides this tool to help streamline the documentation and performance testing required for the recertification of WELL v2 Certified projects, based on project team inputs about relevant changes to the project since the point of certification. Please note that while this tool is intended to assist project teams in their application for recertification, there are additional required steps in order to achieve recertification. Further, use of IWBI tools or resources do not guarantee the achievement of WELL Certification or any WELL designation, which are based on information provided by you and subject to third party verification.
Instructions
Step 1: Identify the features achieved during the previous certification Begin on the 'v2 Achieved Features' tab and identify which WELL Building Standard v2 features the project achieved during the previous certification by referencing your WELL v2 Final Report from the WELL digital platform. Mark these as "Yes" in the 'v2 Achieved Features' tab under column 'D' . Mark any features not achieved during initial certification as "No." For locations subscribed under WELL at scale: From your most recent WELL at scale progress report, available in the Reviews tab of your WELL digital platform, identify the features achieved for the location using the steps below: 1. Navigate to the 'Scoring by part-v2' tab in your WELL at scale progress report. Copy the ‘Part ID’ column, including all feature parts from A01 through I06. 2. Paste the copied cells into this v2 recertification tool under the 'Step 1-v2 Achieved Features' tab, under the ‘Paste Part ID’ cell in Column H. 3. In the WELL at scale progress report, on the ‘Scoring by part-v2' tab, find the column for the location that will be completing the recertification process. Copy all of the cells under the location’s name, which show the achievement status of each feature. 4. Paste the copied location feature achievement cells into the recertification tool, under the 'Step 1-v2 Achieved Features' tab, beneath the ‘Paste feature achievement’ cell (column I). 5. This will auto populate the location feature achievement under column D in the v2 recertification tool.
Step 2a: Document any General Updates made to the certified location Under the 'Questionnaire' tab, complete the general questions regarding changes to the building design and operations. NOTE: * For changes to features with Policy/operations schedule verification method, all changes (except change to new date/year) should be documented as a 'Yes.' * For changes to features with other verification methods where the change is 10% or more should be documented as a 'Yes' in the tool. This applies to all verification methods EXCEPT policy/operations schedule based verification method. * A "change" does not include replacing a product with an identical product (e.g., after it breaks or wears out).
Step 2b: Document specific updates made to the location 1. Complete the questions under the 'Category Specific Updates' section (below the General Questions) to identify the exact change that occurred. These category specific questions are based on if any changes have been indicated in the responses to the 'General Questions' 2. Completing the category-specific questions will provide the project team with the exact feature part(s) that require updated documentation at recertification in tabs 3a, 3b and 3c
The questions in this tab are based on the achieved features only. Therefore, please make sure that Step 1 is fully and correctly completed before completing Step 2.
Step 3a: Go to the '3a- Regular Documentation' tab. This tab shows the documentation that is required to be submitted for recertification based on the information entered by the project team about changes to the project and the features achieved. NOTE: All newly-pursued features will require documentation, regardless of if any relevant changes took place This tab also lists features that always require new documentation at recertification based on whether these features were achieved during the initial certification.
Step 3b: Go to the 'Ongoing Documentation' tab. This tab shows the list of features for which the project team should have completed the documentation upload for the last three years since initial certification.
More details on how to upload ongoing reporting documents can be found here in our Support Center:
* For non-WELL at scale projects
* For WELL at scale projects
Step 3c: Go to the 'Step 3c - Performance Testing' tab. This tab shows the list of feature parts and the scope of performance testing required based on the types of alterations that the project has listed in the 'Step 2 - Questionnaire' tab. Testing for different parameters will either be listed as "Full," or "Reduced." Full - Testing will occur at the rate of the current Project Information and Performance Template (PIP) Tool and the criteria listed in the WELL Performance Verification Guidebook. Reduced - Testing will occur at 50% of the sampling locations determined in the Full Testing rate as described above (rounded down, minimum 1 sampling point). NOTE: 1. Some parameters always require testing even if no changes have been documented during recertification 2. All newly-pursued features will require full performance testing, regardless of if any relevant changes took place. This completed WELL v2 recertification tool should be shared with the contracted Performance Testing Agent prior to testing for recertification. This tool will help the agents assess the scope of performance testing.
Step 4: For review submission: Non-WELL at scale projects: Upload this completed recertification tool for your WELL v2 project via the WELL digital platform >> Documents tab>> tag document type as a General Document. WELL at scale projects: Upload this completed recertification tool under the first performance test feature part (Feature A01.1) along with the new performance test documents. If any performance test feature does not require testing, make sure to upload this completed recertification tool as an indicator that feature will still be pursued. Make sure that all PV features have a document uploaded for review. Without a document, the feature cannot be awarded. NOTE: Any new areas added to the initial certified project boundary at recertification require full documentation for all features pursued.
©2025 International WELL Building Institute pbc. All rights reserved.

## Step 1 - v2 Achieved Features
Features Achieved |  |  |  | OR | Features Achieved - For WELL at scale subscribed locations ONLY
Step 1: Identify the features achieved during the previous certification Begin on the 'v2 Achieved Features' tab and identify which WELL Building Standard v2 features the project achieved during the previous certification by referencing your WELL v2 Final Report from the WELL digital platform. Mark these as "Yes" in the 'v2 Achieved Features' tab under column 'D' . Mark any features not achieved during initial certification as "No." NOTE: Project teams must complete Step 1 before proceeding to Step 2. If the team wishes to change the responses for Step 1, please delete all responses in Step 2 before re-completing Step 1. |  |  |  |  | For locations subscribed under WELL at scale: From your most recent WELL at scale progress report, available in the Reviews tab of your WELL digital platform, identify the features achieved for the location using the steps below.' 1. Navigate to the 'Scoring by part-v2' tab in your WELL at scale progress report. Copy the ‘Part ID’ column, including all feature parts from A01 through I06. 2. Paste the copied cells into this v2 recertification tool under the 'Step 1-v2 Achieved Features' tab, under the ‘Paste Part ID’ cell in Column H. 3. In the WELL at scale progress report, on the ‘Scoring by part-v2' tab, find the column for the location that will be completing the recertification process. Copy all of the cells under the location’s name, which show the achievement status of each feature. 4. Paste the copied location feature achievement cells into the recertification tool, under the 'Step 1-v2 Achieved Features' tab, beneath the ‘Paste feature achievement’ cell (column I). 5. This will auto populate the location feature achievement under column D in the v2 recertification tool.
Part Type | Feature ID | Feature part name | Achieved (Y/N) |  | Paste Part ID starting below (A01.1, A01.2…) | Paste feature achievement (P, 1, etc.) starting below
P | A01.1 | Meet Thresholds for Particulate Matter | Yes
P | A01.2 | Meet Thresholds for Organic Gases | Yes
P | A01.3 | Meet Thresholds for Inorganic Gases | Yes
P | A01.4 | Meet Thresholds for Radon | Yes
P | A01.5 | Measure Air Parameters | Yes
P | A02.1 | Prohibit Indoor Smoking | Yes
P | A02.2 | Prohibit Outdoor Smoking | Yes
P | A03.1 | Ensure Adequate Ventilation | Yes
P | A04.1 | Mitigate Construction Pollution | Yes
O | A05.1 | Meet Enhanced Thresholds for Particulate Matter | No
O | A05.2 | Meet Enhanced Thresholds for Organic Gases | No
O | A05.3 | Meet Enhanced Thresholds for Inorganic Gases | No
O | A06.1 | Increase Outdoor Air Supply | No
O | A06.2 | Improve Ventilation Effectiveness | No
O | A07.1 | Provide Operable Windows | No
O | A07.2 | Manage Window Use | No
O | A08.1 | Install Indoor Air Monitors | No
O | A08.2 | Promote Air Quality Awareness | No
O | A09.1 | Design Healthy Entryways | No
O | A09.2 | Perform Envelope Commissioning | No
O | A10.1 | Manage Combustion | No
O | A11.1 | Manage Pollution and Exhaust | No
O | A12.1 | Implement Particle Filtration | No
O | A13.1 | Improve Supply Air | No
O | A14.1 | Implement Ultraviolet Treatment for HVAC Surfaces | No
P | W01.1 | Verify Water Quality Indicators | Yes
P | W02.1 | Meet Chemical Thresholds | Yes
P | W02.2 | Meet Thresholds for Organics and Pesticides | Yes
P | W03.1 | Monitor Chemical and Biological Water Quality | Yes
P | W03.2 | Implement Legionella Management Plan | Yes
O | W04.1 | Meet Thresholds for Drinking Water Taste | No
O | W05.1 | Assess and Maintain Drinking Water Quality | No
O | W05.2 | Promote Drinking Water Transparency | No
O | W06.1 | Ensure Drinking Water Access | No
O | W07.1 | Design Envelope for Moisture Protection | No
O | W07.2 | Design Interiors for Moisture Management | No
O | W07.3 | Implement Mold and Moisture Management Plan | No
O | W08.1 | Provide Equipped Bathrooms | No
O | W08.2 | Provide Hands-Free Fixtures in Bathrooms | No
O | W08.3 | Support Effective Handwashing | No
O | W08.4 | Provide Handwashing Supplies and Signage | No
O | W09.1 | Implement Safety Plan for Non-Potable Water Capture and Reuse | No
P | N01.1 | Provide Fruits and Vegetables | Yes
P | N01.2 | Promote Fruit and Vegetable Visibility | Yes
P | N02.1 | Provide Nutritional Information | Yes
P | N02.2 | Address Food Allergens | Yes
P | N02.3 | Label Sugar Content | Yes
O | N03.1 | Limit Total Sugars | No
O | N03.2 | Promote Whole Grains | No
O | N04.1 | Optimize Food Advertising | No
O | N05.1 | Limit Artificial Ingredients | No
O | N06.1 | Promote Healthy Portions | No
O | N07.1 | Provide Nutrition Education | No
O | N08.1 | Support Mindful Eating | No
O | N09.1 | Accommodate Special Diets | No
O | N09.2 | Label Food Allergens and Intolerances | No
O | N10.1 | Provide Meal Support | No
O | N11.1 | Implement Responsible Sourcing | No
O | N12.1 | Provide Gardening Space | No
O | N13.1 | Ensure Local Food Access | No
O | N14.1 | Limit Red and Processed Meats | No
P | L01.1 | Provide Indoor Light | Yes
P | L02.1 | Provide Visual Acuity | Yes
O | L03.1 | Meet Lighting for Day-Active People | No
O | L04.1 | Manage Glare from Electric Lighting | No
O | L05.1 | Implement Daylight Plan | No
O | L05.2 | Integrate Solar Shading | No
O | L06.1 | Conduct Daylight Simulation | No
O | L07.1 | Balance Visual Lighting | No
O | L08.1 | Enhance Color Rendering Quality | No
O | L08.2 | Manage Flicker | No
O | L09.1 | Enhance Occupant Controllability | No
O | L09.2 | Provide Supplemental Lighting | No
P | V01.1 | Design Active Buildings and Communities | Yes
P | V02.1 | Support Visual Ergonomics | Yes
P | V02.2 | Provide Height-Adjustable Work Surfaces | Yes
P | V02.3 | Provide Chair Adjustability | Yes
P | V02.4 | Provide Support at Standing Workstations | Yes
P | V02.5 | Provide Workstation Orientation | Yes
O | V03.1 | Design Aesthetic Staircases | No
O | V03.2 | Integrate Point-of-Decision Signage | No
O | V03.3 | Promote Visible Stairs | No
O | V04.1 | Provide Cycling Infrastructure | No
O | V04.2 | Provide Showers, Lockers and Changing Facilities | No
O | V05.1 | Select Sites with Pedestrian-friendly Streets | No
O | V05.2 | Select Sites with Access to Mass Transit | No
O | V06.1 | Offer Physical Activity Opportunities | No
O | V07.1 | Provide Active Workstations | No
O | V08.1 | Provide Indoor Activity Spaces | No
O | V08.2 | Provide Outdoor Physical Activity Space | No
O | V09.1 | Offer Physical Activity Incentives | No
O | V10.1 | Provide Self-Monitoring Tools | No
O | V11.1 | Implement an Ergonomics Program | No
O | V11.2 | Commit to Ergonomic Improvements | No
O | V11.3 | Support Remote Work Ergonomics | No
P | T01.1 | Provide Acceptable Thermal Environment | Yes
P | T01.2 | Measure Thermal Parameters | Yes
O | T02.1 | Survey for Thermal Comfort | No
O | T03.1 | Provide Thermostat Control | No
O | T04.1 | Provide Personal Cooling Options | No
O | T04.2 | Provide Personal Heating Options | No
O | T04.3 | Allow Flexible Dress Code | No
O | T05.1 | Implement Radiant Heating | No
O | T05.2 | Implement Radiant Cooling | No
O | T06.1 | Monitor Thermal Environment | No
O | T07.1 | Manage Relative Humidity | No
O | T08.1 | Provide Windows with Multiple Opening Modes | No
O | T09.1 | Manage Outdoor Heat | No
O | T09.2 | Avoid Excessive Wind | No
O | T09.3 | Support Outdoor Nature Access | No
P | S01.1 | Label Acoustic Zones | Yes
P | S01.2 | Provide Acoustic Design Plan | Yes
O | S02.1 | Limit Background Noise Levels | No
O | S03.1 | Design for Sound Isolation at Walls and Doors | No
O | S03.2 | Achieve Sound Isolation at Walls | No
O | S04.1 | Achieve Reverberation Time Thresholds | No
O | S05.1 | Implement Sound Reducing Surfaces | No
O | S06.1 | Provide Minimum Background Sound | No
O | S06.2 | Provide Enhanced Speech Reduction | No
O | S07.1 | Specify Impact Noise Reducing Flooring | No
O | S07.2 | Meet Thresholds for Impact Noise Rating | No
O | S08.1 | Provide Enhanced Speech Intelligibility | No
O | S08.2 | Prioritize Audio Devices and Policies | No
O | S09.1 | Implement a Hearing Health Conservation Program | No
P | X01.1 | Restrict Asbestos | Yes
P | X01.2 | Restrict Mercury | Yes
P | X01.3 | Restrict Lead | Yes
P | X02.1 | Manage Asbestos Hazards | Yes
P | X02.2 | Manage Lead Paint Hazards | Yes
P | X02.3 | Manage Polychlorinated Biphenyl (PCB) Hazards | Yes
P | X03.1 | Manage Exterior CCA Hazards | Yes
P | X03.2 | Manage Lead Hazards | Yes
O | X04.1 | Assess and Mitigate Site Hazards | No
O | X05.1 | Select Compliant Interior Furnishings | No
O | X05.2 | Select Compliant Architectural and Interior Products | No
O | X06.1 | Limit VOCs from Wet-Applied Products | No
O | X06.2 | Restrict VOC Emissions from Furniture, Architectural and Interior Products | No
O | X07.1 | Select Products with Disclosed Ingredients | No
O | X07.2 | Select Products with Enhanced Ingredient Disclosure | No
O | X07.3 | Select Products with Third-Party Verified Ingredients | No
O | X08.1 | Select Materials with Enhanced Chemical Restrictions | No
O | X08.2 | Select Optimized Products | No
O | X09.1 | Implement a Waste Management Plan | No
O | X10.1 | Manage Pests | No
O | X11.1 | Improve Cleaning Practices | No
O | X11.2 | Select Preferred Cleaning Products | No
O | X12.1 | β Reduce Respiratory Particle Exposure | No
O | X12.2 | Address Surface Hand Touch | No
P | M01.1 | Promote Mental Health and Well-being | Yes
P | M02.1 | Provide Connection to Nature | Yes
P | M02.2 | Provide Connection to Place | Yes
O | M03.1 | Offer Mental Health Screening | No
O | M03.2 | Offer Mental Health Services | No
O | M03.3 | Offer Employee Mental Health Support | No
O | M03.4 | β Support Mental Health Recovery | No
O | M04.1 | Offer Mental Health Education | No
O | M04.2 | Offer Mental Health Education for Managers | No
O | M05.1 | Develop Stress Management Plan | No
O | M06.1 | Support Healthy Working Hours | No
O | M06.2 | Provide Nap Policy and Space | No
O | M07.1 | Provide Restorative Space | No
O | M08.1 | Provide Restorative Programming | No
O | M09.1 | Provide Nature Access Indoors | No
O | M09.2 | Provide Nature Access Outdoors | No
O | M10.1 | Provide Tobacco Cessation Resources | No
O | M10.2 | Limit Tobacco Availability | No
O | M11.1 | Offer Substance Use Education | No
O | M11.2 | Provide Substance Use and Addiction Services | No
P | C01.1 | Provide WELL Feature Guide | Yes
P | C02.1 | Facilitate Stakeholder Charrette | Yes
P | C02.2 | Promote Health-Oriented Mission | Yes
P | C03.1 | Develop Emergency Preparedness Plan | Yes
P | C04.1 | Select Project Survey | Yes
P | C04.2 | Administer Annual Survey and Report Results | Yes
O | C05.1 | Utilize Enhanced Survey | No
O | C05.2 | Utilize Pre- and Post-Occupancy Survey | No
O | C05.3 | Implement Action Plan | No
O | C05.4 | Facilitate Interviews, Focus Groups and/or Observations | No
O | C06.1 | Promote Health Benefits | No
O | C06.2 | Offer On-Demand Health Services | No
O | C06.3 | Offer Sick Leave | No
O | C06.4 | Support Community Immunity | No
O | C06.5 | β Provide Enhanced Health Benefits | No
O | C07.1 | Promote Culture of Health | No
O | C07.2 | Establish Health Promotion Leader | No
O | C08.1 | Offer New Parent Leave | No
O | C09.1 | Offer Workplace Breastfeeding Support | No
O | C09.2 | Design Lactation Room | No
O | C10.1 | Offer Childcare Support | No
O | C10.2 | Offer Family Leave | No
O | C10.3 | Offer Bereavement Support | No
O | C11.1 | Promote Community Engagement | No
O | C11.2 | Provide Community Space | No
O | C12.1 | Create Workforce Assessment, Engagement and Belonging Plan | No
O | C12.2 | Implement Workforce Support Systems | No
O | C12.3 | Implement Fair Hiring and Pay Practices | No
O | C13.1 | Integrate Universal Design | No
O | C14.1 | Promote Emergency Resources | No
O | C14.2 | Provide Opioid Response Kit and Training | No
O | C15.1 | Promote Business Continuity | No
O | C15.2 | Support Emergency Resilience | No
O | C15.3 | Facilitate Healthy Re-entry | No
O | C15.4 | Establish Health Entry Requirements | No
O | C16.1 | Allocate Affordable Housing | No
O | C17.1 | Disclose Labor Practices | No
O | C17.2 | Implement Responsible Labor Practices | No
O | C18.1 | Support Victims of Domestic Violence | No
O | C19.1 | Establish Education and Support | No
O | C20.1 | Provide Historical Acknowledgement | No
O | I01.1 | Propose Innovation | No
O | I01.2 | Propose Innovation | No
O | I01.3 | Propose Innovation | No
O | I01.4 | Propose Innovation | No
O | I01.5 | Propose Innovation | No
O | I01.6 | Propose Innovation | No
O | I01.7 | Propose Innovation | No
O | I01.8 | Propose Innovation | No
O | I01.9 | Propose Innovation | No
O | I01.10 | Propose Innovation | No
O | I02.1 | Achieve WELL AP | No
O | I03.1 | Offer WELL Educational Tours | No
O | I04.1 | Complete Health and Well-Being Programs | No
O | I05.1 | Achieve Green Building Certification | No
O | I06.1 | Assess Carbon Emissions | No
O | I06.2 | Set Carbon Reduction Goals | No
O | I06.3 | Meet Carbon Reduction Goals | No
O | I06.4 | Attain Carbon Neutrality | No

## Step 2 - Questionnaire
Instructions
Step 2a: Document general updates made to the certified project The below questions have been generated based on the features achieved tabs. Therefore, please complete Step 1 before answering the questions in this tab. If changes to the features in Step 1 take place after responses on this sheet have been entered, all responses on this sheet must be restarted or the responses may be incorrect. 1. Complete the general questions listed below regarding changes to the building design and operations. NOTE: * For changes to features with Policy/operations schedule verification method, all changes (except change to new date/year) should be documented as a 'Yes.' * For changes to features with other verification methods where the change is 10% or more should be documented as a 'Yes' in the tool. This applies to all verification methods EXCEPT policy/operations schedule based verification method. * A "change" does not include replacing a product with an identical product (e.g., after it breaks or wears out).
Step 2b: Document specific updates made to the location 1. Complete the questions under the 'Category Specific Updates' section (below the General Questions) to identify the more precise change that occurred. These category specific questions are based on the responses to the 'General Questions'. 2. Completing the category specific questions will provide the project team with the exact feature part(s) that require updated documentation at recertification in tabs 3a, 3b and 3c. NOTE: Project teams must complete 'Category Specific' questions only AFTER completing the General Questions. Do not change the responses to the General Questions after completing your responses to the category specific updates questions because this will not automatically update the responses in the category specific updates. NOTE: If the responses to all the 'General Questions' below are 'No', the project team will not be required to respond to any 'Category specific' questions.
General Questions
Have there been any changes in your WELL Certified project to any of the following categories? |  | Your response
Interior Products | The products inside the building (e.g., lights, furniture, paints, IAQ sensors, shades)
Interior Layout | The placement of walls, stairs, furniture, and furnishings
Specialized Spaces | The presence and design of various purpose-built spaces (e.g., lactation room, showers, bike parking, gyms)
Mechanical System | Heating, ventilation, and air conditioning systems
Plumbing System | Water distribution and treatment systems
Building Envelope | The windows & walls that go/face to the outside of the WELL project boundary
Exterior Design | The design of exterior spaces (e.g., landscaping, parking spaces or structures, bike racks)
Food Service | The types of food provided in the project boundary and how it is packaged and displayed
Building/Company Policy | The policies that relate to what is allowed inside and around the building and how building information is communicated to occupants (e.g., smoking ban, dress code)
Emergency Planning | The plans put into place to respond to an emergency (e.g. emergency response resources, business continuity planning)
Time Off & Leave | The policies and programs related to time off and leave (e.g., sick leave, paid time off)
Classes & Training | Educational offerings provided to employees (e.g., nutrition, physical activity, emergency preparedness, yoga)
Organizational | The organization's mission, goals, and values (e.g.carbon reduction, historical acknowledgement, building certification, workforce engagement)
Legacy Products | Was the project required to undergo remediation (lead, asbestos, PCBs. CCA, and other site hazards) at the initial certification?
Category specific questions to evaluate exact feature option where the change could have been made
Please answer the category specific questions where you had indicated that there was a change in the above section |  | Your response

## Step 3a-Regular Documentation
Note: This sheet has two lists of features. Scroll right to Column G to see additional features.
Feature list that require new documentation |  | Feature list that always require new documentation (at every recertification)
This tab shows the documentation that is required to be submitted for recertification. The degree to which documentation is to be resubmitted is based on the information entered by the project team about changes to the project and the features achieved in Step 1 and Step 2a/2b. |  | This tab also lists features that always requires new documentation at recertification and is based on if these features where achieved during the initial certification and the completion of Step 1 and Step 2a/2b
| No features require updated documentation | No features were pursued that would always require new documentation.

## Step 3b-Ongoing Documentation
Feature list for which ongoing documents should be uploaded
Below is a list of features and feature parts for which the project team should have uploaded ongoing documents over the past three years since initial certification.
| A01.5 | Measure Air Parameters
| W03.1 | Monitor Chemical and Biological Water Quality
| W03.2 | Implement Legionella Management Plan
| T01.2 | Measure Thermal Parameters
| C04.2 | Administer Annual Survey and Report Results

## Step 3c-Performance Testing
Feature list that require Performance Testing
Step 3c: This tab shows the list of feature parts and the scope of performance testing required based on the types of alterations that the project has listed in the 'Step 2 - Questionnaire' tab. Testing for different parameters will either be listed as "Full," or "Reduced." Full - Testing will occur at the rate of the current Project Information and Performance Template (PIP) Tool and the criteria listed in the WELL Performance Verification Guidebook. Reduced - Testing will occur at 50% of the sampling locations determined in the Full Testing rate as described above (rounded down, minimum 1 sampling point). NOTE: Some parameters always require testing even if no changes have been documented during recertification This completed WELL v2 recertification tool should be shared with the contracted Performance Testing Agent prior to testing for recertification. This tool will help the agents assess the scope of performance testing.
|  | Amount of Sampling Required | Relevant changes (if applicable)
A01.1 | Meet Thresholds for Particulate Matter | Reduced
A01.2 | Meet Thresholds for Organic Gases | Reduced
A01.3 | Meet Thresholds for Inorganic Gases | Reduced
W01.1 | Verify Water Quality Indicators | Full
W02.1 | Meet Chemical Thresholds | Full
W02.2 | Meet Thresholds for Organics and Pesticides | Reduced
T01.1 | Provide Acceptable Thermal Environment | Reduced

## Data (hidden)
Categories | Definition | [legacy column -- not currently used] | Relevant features | Include for project? | Order
Interior Products | The products inside the building (e.g., lights, furniture, paints, IAQ sensors, shades) |  | 31 | Yes | 1
Interior Layout | The placement of walls, stairs, furniture, and furnishings |  | 6 | Yes | 2
Specialized Spaces | The presence and design of various purpose-built spaces (e.g., lactation room, showers, bike parking, gyms) |  | 2 | Yes | 3
Mechanical System | Heating, ventilation, and air conditioning systems |  | 10 | Yes | 4
Plumbing System | Water distribution and treatment systems |  | 5 | Yes | 5
Building Envelope | The windows & walls that go/face to the outside of the WELL project boundary |  | 5 | Yes | 6
Exterior Design | The design of exterior spaces (e.g., landscaping, parking spaces or structures, bike racks) |  | 1 | Yes | 7
Neighborhood | The amenities in the surrounding areas outside of the project boundary (e.g., nearby parks, transit systems, fitness centers) |  | 0 | No | 8
Building Operation | The activities necessary to operate and maintain the building (e.g., mold and leak inspections, cleaning and maintenance procedures) |  | 0 | No | 9
Food Service | The types of food provided in the project boundary and how it is packaged and displayed |  | 7 | Yes | 10
Building/Company Policy | The policies that relate to what is allowed inside and around the building and how building information is communicated to occupants (e.g., smoking ban, dress code) |  | 2 | Yes | 11
Emergency Planning | The plans put into place to respond to an emergency (e.g. emergency response resources, business continuity planning) |  | 1 | Yes | 12
Time Off & Leave | The policies and programs related to time off and leave (e.g., sick leave, paid time off) |  | 1 | Yes | 13
Benefits & Programs | Non-wage compensation provided to employees (e.g., health insurance, childcare support) |  | 0 | No | 14
Classes & Training | Educational offerings provided to employees (e.g., nutrition, physical activity, emergency preparedness, yoga) |  | 6 | Yes | 15
Staffing | Hiring practices and leadership positions |  | 0 | No | 16
Organizational | The organization's mission, goals, and values (e.g.carbon reduction, historical acknowledgement, building certification, workforce engagement) |  | 1 | Yes | 17
Community involvement | Programs offered to the wider community (e.g., tours, public programming) |  | 0 | No | 18
Legacy Products | Was the project required to undergo remediation (lead, asbestos, PCBs. CCA, and other site hazards) at the initial certification? |  | 5 | Yes | 19
TBD | Haven't yet figured it out |  | 0 | No | 20
Always | Features that always require documentation renewal (organizational assessments, innovations) -- keep as YES |  | 0 | No | 21
Never | Features that never require new documentation (e.g., WELL AP) -- keep as NO |  | 0 | No | 22
[6 empty] | Documentation for features (other than on-going) | [6 empty] | On-going Documentation for features |  | Performance Verification | [6 empty] | Features that always require documentation |  |  | Features that never require new documentation
Question Summary | Parent Category | Question Text | Relevant Features? | Include for project? | Order of parent | feature_part | Question | Pursued | Documentation Needed | Conditions | Parent Category | DupFind | Feature.part | Pursued | Feature.part | Question | Pursued | Scope when no change | Full PV triggered from this answer? | Binary answer | PV Level Req'd for part | Feature.part | Pursued | Reason | Feature.part | Pursued | Reason
Stair Design | Interior Products | Have there been any changes to the design, finish, or signage for the stairs? | 0 | No | 1 | A02.1 | Smoking | Yes | No |  | Building/Company Policy | A02.1-Smoking | A01.5 | Yes | A01.1 | Ventilation | Yes | Reduced | No | 0 | Reduced | T02.1 | No | New thermal comfort survey data required | A04.1 | No | Initial construction only
Moisture-sensitive finishes | Interior Products | Have there been any changes to finish materials in bathrooms, kitchens, janitorial rooms, or any space at or below grade? | 0 | No | 1 | A02.2 | Smoking | Yes | No |  | Building/Company Policy | A02.2-Smoking | A08.1 | No | A01.1 | Standalone Air Treatment | Yes | Reduced | No | 0 | Reduced | I01.1 | No | New review of strategy required to determine continued innovation | V01.1 | No | dependent on other features
Hard-piped fixtures and water treatment | Interior Products | Have there been any changes to hard-piped fixtures (e.g., toilets, dishwashers) or water treatment devices with drain lines? | 3 | No | 1 | A03.1 | Ventilation | Yes | No |  | Mechanical System | A03.1-Ventilation | A12.1 | No | A01.1 | Building Envelope | Yes | Reduced | No | 0 | Reduced | I01.2 | No | New review of strategy required to determine continued innovation | T09.3 | No | dependent on other features
Bathroom sinks and faucets | Interior Products | Have there been any changes to the sinks or faucets in bathrooms? | 0 | No | 1 | A03.1 | Windows | Yes | No | If project is naturally ventilated | Building Envelope | A03.1-Windows | A13.1 | No | A01.2 | Ventilation | Yes | Reduced | No | 0 | Reduced | I01.3 | No | New review of strategy required to determine continued innovation | S01.2 | No | One-time assessment
Bathroom design and supplies | Interior Products | Have there been any changes to the design, signage, or soap or other supplies provided in bathrooms? | 0 | No | 1 | A03.1 | Reprogramming | Yes | No |  | Interior Layout | A03.1-Reprogramming | A14.1 | No | A01.2 | Standalone Air Treatment | Yes | Reduced | No | 0 | Reduced | I01.4 | No | New review of strategy required to determine continued innovation | S06.2 | No | dependent on other features
Lighting | Interior Products | Have there been any changes to lighting? | 2 | No | 1 | A06.1 | Ventilation | No | No |  | Mechanical System | A06.1-Ventilation | W03.1 | Yes | A01.2 | Paint | Yes | Reduced | No | 0 | Reduced | I01.5 | No | New review of strategy required to determine continued innovation | X07.1 | No | Minimum product purchase complete
Shading | Interior Products | Have there been any changes to the window shading strategies? | 0 | No | 1 | A06.1 | Reprogramming | No | No |  | Interior Layout | A06.1-Reprogramming | W03.2 | Yes | A01.2 | Furniture | Yes | Reduced | No | 0 | Reduced | I01.6 | No | New review of strategy required to determine continued innovation | X07.2 | No | Minimum product purchase complete
Interior Walls | Interior Products | Have there been any changes to location or materials (including finishes) of interior walls (not including moveable partitions)? | 1 | No | 1 | A06.1 | Windows | No | No | If project is naturally ventilated | Building Envelope | A06.1-Windows | W07.3 | No | A01.2 | Floors and Ceilings | Yes | Reduced | No | 0 | Reduced | I01.7 | No | New review of strategy required to determine continued innovation | X07.3 | No | Minimum product purchase complete
Floors and Ceilings | Interior Products | Have there been any changes to the materials used for floors or ceilings, including underlayments and finishes? | 4 | No | 1 | A06.2 | Ventilation | No | No |  | Mechanical System | A06.2-Ventilation | W09.1 | No | A01.2 | Insulation | Yes | Reduced | No | 0 | Reduced | I01.8 | No | New review of strategy required to determine continued innovation | X08.1 | No | Minimum product purchase complete
Interior Doors | Interior Products | Have there been any changes or additions to the interior doors? | 0 | No | 1 | A07.1 | Windows | No | No |  | Building Envelope | A07.1-Windows | V09.1 | No | A01.3 | Ventilation | Yes | Reduced | No | 0 | Reduced | I01.9 | No | New review of strategy required to determine continued innovation | X08.2 | No | Minimum product purchase complete
Building Acoustic Systems | Interior Products | Have there been any changes to acoustic systems, such as sound masking, conferencing equipment, or PA systems? | 0 | No | 1 | A07.1 | Reprogramming | No | No |  | Interior Layout | A07.1-Reprogramming | T01.2 | Yes | A01.3 | Standalone Air Treatment | Yes | Reduced | No | 0 | Reduced | I01.10 | No | New review of strategy required to determine continued innovation
Insulation | Interior Products | Have there been any changes to acoustical or thermal insulation? | 2 | No | 1 | A07.2 | Air & Temperature Sensors | No | No |  | Interior Products | A07.2-Air & Temperature Sensors | C04.2 | Yes | A01.3 | Combustion Appliances | Yes | Reduced | No | 0 | Reduced
Electrical | Interior Products | Have there been any changes to building electrical equipment, such as fire alarms or load break switches? | 2 | No | 1 | A08.1 | Air & Temperature Sensors | No | No |  | Interior Products | A08.1-Air & Temperature Sensors | C05.1 | No | A05.1 | Ventilation | No | Reduced | No | 0 | Reduced
Air & Temperature Sensors | Interior Products | Have there been any changes to air quality, temperature, or humidity sensors? | 2 | No | 1 | A08.2 | IEQ Test Display | No | No |  | Building/Company Policy | A08.2-IEQ Test Display | C05.2 | No | A05.1 | Standalone Air Treatment | No | Reduced | No | 0 | Reduced
Furniture | Interior Products | Have there been any changes to furniture, millwork, or casework? | 6 | No | 1 | A09.1 | Entryway doors | No | No |  | Building Envelope | A09.1-Entryway doors | C05.3 | No | A05.1 | Building Envelope | No | Reduced | No | 0 | Reduced
Indoor Nature | Interior Products | Have there been any changes to indoor plants or water features? | 1 | No | 1 | A09.1 | Cleaning plans | No | No |  | Building Operation | A09.1-Cleaning plans | C05.4 | No | A05.2 | Ventilation | No | Reduced | No | 0 | Reduced
Personal heating and cooling | Interior Products | Have there been any changes to the availability of individually controllable fans, heaters, or other personal comfort devices? | 1 | No | 1 | A09.1 | Interior entryway flooring | No | No |  | Interior Products | A09.1-Interior entryway flooring |  |  | A05.2 | Standalone Air Treatment | No | Reduced | No | 0 | Reduced
Interior entryway flooring | Interior Products | Has there been any changes to the flooring material used at indoor entryways? | 0 | No | 1 | A09.1 | Exterior entryway flooring | No | No |  | Exterior Design | A09.1-Exterior entryway flooring |  |  | A05.2 | Paint | No | Reduced | No | 0 | Reduced
Combustion Appliances | Interior Products | Have there been any changes involving fireplaces, kitchen appliances, or space heaters? | 1 | No | 1 | A09.2 | Building Envelope | No | No |  | Building Envelope | A09.2-Building Envelope |  |  | A05.2 | Furniture | No | Reduced | No | 0 | Reduced
Standalone Air Treatment | Interior Products | Have there been any changes to standalone air treatment devices (not built into the HVAC system)? | 3 | No | 1 | A09.2 | Windows | No | No |  | Building Envelope | A09.2-Windows |  |  | A05.2 | Floors and Ceilings | No | Reduced | No | 0 | Reduced
Paint | Interior Products | Have the interior of the project been repainted? | 3 | No | 1 | A09.2 | Entryway doors | No | No |  | Building Envelope | A09.2-Entryway doors |  |  | A05.2 | Insulation | No | Reduced | No | 0 | Reduced
Drinking water location | Interior Layout | Have there been any changes related to the location of drinking water dispensers? | 0 | No | 2 | A10.1 | Combustion Appliances | No | No |  | Interior Products | A10.1-Combustion Appliances |  |  | A05.3 | Ventilation | No | Reduced | No | 0 | Reduced
Workstation locations | Interior Layout | Have there been any changes to the location of workstations? | 2 | No | 2 | A10.1 | Water heaters | No | No |  | Plumbing System | A10.1-Water heaters |  |  | A05.3 | Standalone Air Treatment | No | Reduced | No | 0 | Reduced
Reprogramming | Interior Layout | Have there been any reprogramming or other changes to the usage of space? | 4 | No | 2 | A10.1 | Building Heating | No | No |  | Mechanical System | A10.1-Building Heating |  |  | A05.3 | Combustion Appliances | No | Reduced | No | 0 | Reduced
Stair Presence | Interior Layout | Have there been any changes to the location or presence of stairs? | 0 | No | 2 | A10.1 | Idling | No | No |  | Building/Company Policy | A10.1-Idling |  |  | W01.1 | Potable plumbing | Yes | Full | No | 0 | Full
Universal design strategies | Interior Layout | Have there been any changes to the implemented universal design strategies? | 0 | No | 2 | A11.1 | Ventilation | No | No |  | Mechanical System | A11.1-Ventilation |  |  | W01.1 | Hard-piped fixtures and water treatment | Yes | Full | No | 0 | Full
Dining areas | Specialized Spaces | Have there been any changes to the dining area and/or food preparation area? | 0 | No | 3 | A11.1 | Combustion Appliances | No | No |  | Interior Products | A11.1-Combustion Appliances |  |  | W02.1 | Potable plumbing | Yes | Full | No | 0 | Full
Lactation room | Specialized Spaces | Have there been any change in the demand for or design of your project's lactation room? | 0 | No | 3 | A12.1 | Air treatment systems | No | No |  | Mechanical System | A12.1-Air treatment systems |  |  | W02.1 | Hard-piped fixtures and water treatment | Yes | Reduced | No | 0 | Reduced
Restorative space | Specialized Spaces | Have there been any changes to the restorative and/or nap spaces in your project? | 1 | No | 3 | A13.1 | Ventilation | No | No |  | Mechanical System | A13.1-Ventilation |  |  | W02.2 | Potable plumbing | Yes | Reduced | No | 0 | Reduced
Interior Bike Parking | Specialized Spaces | Have there been any changes to the interior bike parking provided within the project (e.g., bike room)? | 0 | No | 3 | A13.1 | Standalone Air Treatment | No | No |  | Interior Products | A13.1-Standalone Air Treatment |  |  | W02.2 | Hard-piped fixtures and water treatment | Yes | Reduced | No | 0 | Reduced
Showers | Specialized Spaces | Have there been any changes to the availability or quantity of showers? | 1 | No | 3 | A13.1 | Air treatment systems | No | No |  | Mechanical System | A13.1-Air treatment systems |  |  | L02.1 | Lighting | Yes | None | No | 0 | None
On-site Gyms | Specialized Spaces | Have there been any changes to the fitness spaces within the project? | 0 | No | 3 | A14.1 | Air treatment systems | No | No |  | Mechanical System | A14.1-Air treatment systems |  |  | L02.1 | Furniture | Yes | None | No | 0 | None
Legionella HVAC | Mechanical System | Have there been any changes to any components listed in your Legionella management plan? | 1 | No | 4 | W03.2 | Legionella HVAC | Yes | No |  | Mechanical System | W03.2-Legionella HVAC |  |  | L02.1 | Paint | Yes | None | No | 0 | None
Thermal Zoning | Mechanical System | Have there been any changes to the controls or zoning of the heating or cooling system? | 1 | No | 4 | W03.2 | Water heaters | Yes | No |  | Plumbing System | W03.2-Water heaters |  |  | L02.1 | Floors and Ceilings | Yes | None | No | 0 | None
Radiant conditioning | Mechanical System | Have there been any changes in the use of radiant heating and/or cooling? | 1 | No | 4 | W03.2 | Showers | Yes | No |  | Specialized Spaces | W03.2-Showers |  |  | L02.1 | Reprogramming | Yes | None | No | 0 | None
Ventilation | Mechanical System | Has there been any changes to the ventilation system (e.g., air handling unit, controls, ducts)? | 5 | No | 4 | W05.2 | IEQ Test Display | No | No |  | Building/Company Policy | W05.2-IEQ Test Display |  |  | L03.1 | Lighting | No | None | No | 0 | None
Building Heating | Mechanical System | Have there been any changes to boilers, furnaces, or other heating systems? | 1 | No | 4 | W06.1 | Drinking water location | No | No |  | Interior Layout | W06.1-Drinking water location |  |  | L03.1 | Furniture | No | None | No | 0 | None
Building cooling | Mechanical System | Have there been any chillers, air conditioners, or other cooling systems? | 1 | No | 4 | W06.1 | Cleaning plans | No | No |  | Building Operation | W06.1-Cleaning plans |  |  | L03.1 | Paint | No | None | No | 0 | None
Air treatment systems | Mechanical System | Have there been any changes to built-in air treatment systems? | 0 | No | 4 | W07.1 | Building Envelope | No | No |  | Building Envelope | W07.1-Building Envelope |  |  | L03.1 | Floors and Ceilings | No | None | No | 0 | None
Non-potable water system | Plumbing System | Have there been any changes related to the design or operation of the water capture/reuse system? | 0 | No | 5 | W07.2 | Moisture-sensitive finishes | No | No |  | Interior Products | W07.2-Moisture-sensitive finishes |  |  | L03.1 | Reprogramming | No | None | No | 0 | None
Water heaters | Plumbing System | Have there been any changes to water heaters? | 1 | No | 5 | W07.2 | Hard-piped fixtures and water treatment | No | No |  | Interior Products | W07.2-Hard-piped fixtures and water treatment |  |  | T01.1 | Building Heating | Yes | Reduced | No | 0 | Reduced
Potable plumbing | Plumbing System | Has there been any changes to types of water filters or material used for plumbing for potable water? | 4 | No | 5 | W07.3 | Moisture inspections | No | No |  | Building Operation | W07.3-Moisture inspections |  |  | T01.1 | Personal heating and cooling | Yes | Reduced | No | 0 | Reduced
Building Envelope | Building Envelope | Have there been any construction involving the building envelope? | 2 | No | 6 | W08.1 | Bathroom design and supplies | No | No |  | Interior Products | W08.1-Bathroom design and supplies |  |  | T01.1 | Ventilation | Yes | Reduced | No | 0 | Reduced
Windows | Building Envelope | Have there been any changes to materials, size, or location of the windows? | 3 | No | 6 | W08.2 | Bathroom sinks and faucets | No | No |  | Interior Products | W08.2-Bathroom sinks and faucets |  |  | T01.1 | Windows | Yes | Reduced | No | 0 | Reduced
Entryway doors | Building Envelope | Have there been any changes to the exterior doors? | 0 | No | 6 | W08.2 | Bathroom design and supplies | No | No |  | Interior Products | W08.2-Bathroom design and supplies |  |  | T01.1 | Building Envelope | Yes | Reduced | No | 0 | Reduced
Gardening | Exterior Design | Have there been any changes to the gardening space? | 0 | No | 7 | W08.3 | Bathroom sinks and faucets | No | No |  | Interior Products | W08.3-Bathroom sinks and faucets |  |  | T01.1 | Thermal Zoning | Yes | Reduced | No | 0 | Reduced
Outdoor Nature | Exterior Design | Have there been any changes to the use, layout, or landscaping of the outdoor space (within the project boundary)? | 1 | No | 7 | W08.4 | Bathroom design and supplies | No | No |  | Interior Products | W08.4-Bathroom design and supplies |  |  | T01.1 | Radiant conditioning | Yes | Reduced | No | 0 | Reduced
Parking | Exterior Design | Has there been any changes to the number of design of parking spaces or structures? | 0 | No | 7 | W09.1 | Non-potable water system | No | No |  | Plumbing System | W09.1-Non-potable water system |  |  | T01.1 | Building cooling | Yes | Reduced | No | 0 | Reduced
Exterior Bike Parking | Exterior Design | Have there been any changes to the availability of bike racks outside the building? | 0 | No | 7 | N01.1 | Food Offerings | Yes | No |  | Food Service | N01.1-Food Offerings |  |  | T07.1 | Building Heating | No | Reduced | No | 0 | Reduced
Exterior Walls | Exterior Design | Have there been any changes to the design of the exterior walls (e.g., murals, textures, windows, awnings)? | 0 | No | 7 | N01.2 | Food Layout | Yes | No |  | Food Service | N01.2-Food Layout |  |  | T07.1 | Building cooling | No | Reduced | No | 0 | Reduced
Exterior entryway flooring | Exterior Design | Have there been any changes to the flooring material used at outdoor entryways? | 0 | No | 7 | N02.1 | Food Offerings | Yes | No |  | Food Service | N02.1-Food Offerings |  |  | T07.1 | Ventilation | No | Reduced | No | 0 | Reduced
Local Food | Neighborhood | Have there been any changes to presence or frequency of farmers' markets or supermarkets? | 0 | No | 8 | N02.1 | Beverage Offerings | Yes | No |  | Food Service | N02.1-Beverage Offerings |  |  | T07.1 | Building Envelope | No | Reduced | No | 0 | Reduced
Nearby Nature | Neighborhood | Have there been any changes to availability of nearby (outside the project boundary) nature spaces? | 0 | No | 8 | N02.2 | Allergens | Yes | No |  | Food Service | N02.2-Allergens |  |  | S02.1 | Ventilation | No | Reduced | No | 0 | Reduced
Pedestrian and bike network | Neighborhood | Have there been any changes to the sidewalks or bike paths surrounding the project? | 0 | No | 8 | N02.3 | Food Offerings | Yes | No |  | Food Service | N02.3-Food Offerings |  |  | S02.1 | Building cooling | No | Reduced | No | 0 | Reduced
Transit | Neighborhood | Have there been any changes to the transit services near the project? | 0 | No | 8 | N02.3 | Beverage Offerings | Yes | No |  | Food Service | N02.3-Beverage Offerings |  |  | S02.1 | Building Heating | No | Reduced | No | 0 | Reduced
Nearby Gyms | Neighborhood | Have there been any changes in access to nearby gyms or other fitness centers? | 0 | No | 8 | N03.1 | Food Offerings | No | No |  | Food Service | N03.1-Food Offerings |  |  | S02.1 | Windows | No | Reduced | No | 0 | Reduced
Outdoor Fitness | Neighborhood | Have there been any changes in access to parks, trails, or outdoor pools? | 0 | No | 8 | N03.1 | Beverage Offerings | No | No |  | Food Service | N03.1-Beverage Offerings |  |  | S02.1 | Building Envelope | No | Reduced | No | 0 | Reduced
Cleaning plans | Building Operation | Have there been any changes to cleaning plans or products? | 0 | No | 9 | N03.2 | Food Offerings | No | No |  | Food Service | N03.2-Food Offerings |  |  | S02.1 | Workstation locations | No | Reduced | No | 0 | Reduced
Moisture inspections | Building Operation | Have there been any changes to inspections for leaks, water damage, or mold? | 0 | No | 9 | N04.1 | Food advertising | No | No |  | Food Service | N04.1-Food advertising |  |  | S02.1 | Insulation | No | Reduced | No | 0 | Reduced
Responsible Labor | Building Operation | Have there been any changes to the companies used for construction, cleaning, catering, security, or maintenance? | 0 | No | 9 | N04.1 | Food Layout | No | No |  | Food Service | N04.1-Food Layout |  |  | S02.1 | Interior Walls | No | Reduced | No | 0 | Reduced
Waste Management | Building Operation | Have there been any changes to waste management and material disposal? | 0 | No | 9 | N05.1 | Food Offerings | No | No |  | Food Service | N05.1-Food Offerings |  |  | S02.1 | Interior Doors | No | Reduced | No | 0 | Reduced
Pest Management | Building Operation | Have anything changed with the pest management plan or pesticide use? | 0 | No | 9 | N05.1 | Beverage Offerings | No | No |  | Food Service | N05.1-Beverage Offerings |  |  | S02.1 | Potable plumbing | No | Reduced | No | 0 | Reduced
Food Offerings | Food Service | Have there been any changes to the foods sold or provided or the information provided about them? | 3 | No | 10 | N06.1 | Food Offerings | No | No |  | Food Service | N06.1-Food Offerings |  |  | S03.2 | Interior Doors | No | None | No | 0 | None
Food Layout | Food Service | Have there been any changes to the way food and beverages are displayed, either in the setting or on menus? | 1 | No | 10 | N06.1 | Food Layout | No | No |  | Food Service | N06.1-Food Layout |  |  | S03.2 | Reprogramming | No | None | No | 0 | None
Beverage Offerings | Food Service | Have there been any changes to the beverages sold or provided or the information provided about them? | 2 | No | 10 | N07.1 | Nutrition education | No | No |  | Classes & Training | N07.1-Nutrition education |  |  | S03.2 | Interior Walls | No | None | No | 0 | None
Allergens | Food Service | Have there been any changes to food allergen labeling or staff training? | 1 | No | 10 | N08.1 | Dining areas | No | No |  | Specialized Spaces | N08.1-Dining areas |  |  | S04.1 | Paint | No | None | No | 0 | None
Food advertising | Food Service | Has there been any changes in the messaging to promote healthy foods? | 0 | No | 10 | N08.1 | Lunch Breaks | No | No |  | Time Off & Leave | N08.1-Lunch Breaks |  |  | S04.1 | Interior Walls | No | None | No | 0 | None
Stair Access | Building/Company Policy | Have there been any change to occupant's access to the stairs? | 0 | No | 11 | N09.1 | Food Offerings | No | No |  | Food Service | N09.1-Food Offerings |  |  | S04.1 | Furniture | No | None | No | 0 | None
Limit tobacco availability | Building/Company Policy | Have there been any changes to the sale or marketing of tobacco products in your project? | 0 | No | 11 | N09.2 | Allergens | No | No |  | Food Service | N09.2-Allergens
IEQ Test Display | Building/Company Policy | Have there been any changes in the way results from air quality monitors and/or drinking water tests are provided to building occupants? | 0 | No | 11 | N10.1 | Dining areas | No | No |  | Specialized Spaces | N10.1-Dining areas
Acoustic Policies | Building/Company Policy | Have there been any changes to the acoustic policies within the building? | 0 | No | 11 | N11.1 | Food Offerings | No | No |  | Food Service | N11.1-Food Offerings
Universal design policies | Building/Company Policy | Have there been any changes to the policies that relate to universal design? | 0 | No | 11 | N11.1 | Beverage Offerings | No | No |  | Food Service | N11.1-Beverage Offerings
Entry Rules | Building/Company Policy | Have there been any changes to requirements around vaccination or testing for building entry? | 0 | No | 11 | N12.1 | Gardening | No | No |  | Exterior Design | N12.1-Gardening
Affordable housing allocation | Building/Company Policy | Have there been any changes to the allocation of affordable housing units? | 0 | No | 11 | N13.1 | Local Food | No | No |  | Neighborhood | N13.1-Local Food
Dress code | Building/Company Policy | Have there been any changes to dress code (or the presence/absence of one)? | 0 | No | 11 | N14.1 | Food Offerings | No | No |  | Food Service | N14.1-Food Offerings
Smoking | Building/Company Policy | Has there been any changes in rules related to smoking? | 2 | No | 11 | L01.1 | Workstation locations | Yes | No |  | Interior Layout | L01.1-Workstation locations
Idling | Building/Company Policy | Have there been any change to rules or signage regarding vehicle idling? | 0 | No | 11 | L01.1 | Windows | Yes | No |  | Building Envelope | L01.1-Windows
Contact Reduction | Building/Company Policy | Have there been any changes to implemented contact reduction cues and policies during incidence of respiratory disease? | 0 | No | 11 | L02.1 | Reprogramming | Yes | No |  | Interior Layout | L02.1-Reprogramming
Emergency Support | Emergency Planning | Have there been any changes to emergency response resources, support, or personnel? | 0 | No | 12 | L04.1 | Lighting | No | No |  | Interior Products | L04.1-Lighting
Opioid support | Emergency Planning | Have there been any changes to opioid response kits and/or trainings provided? | 0 | No | 12 | L05.1 | Workstation locations | No | No |  | Interior Layout | L05.1-Workstation locations
Business continuity plan | Emergency Planning | Have there been any changes to the business continuity plan? | 0 | No | 12 | L05.1 | Windows | No | No |  | Building Envelope | L05.1-Windows
Emergency Plans | Emergency Planning | Have there been any changes to emergency response plans for the building/space? | 1 | No | 12 | L05.2 | Shading | No | No |  | Interior Products | L05.2-Shading
Lunch Breaks | Time Off & Leave | Have there been any changes to time off allotted for meal breaks? | 0 | No | 13 | L06.1 | Workstation locations | No | No |  | Interior Layout | L06.1-Workstation locations
Sick leave | Time Off & Leave | Have there been any changes to your sick leave policy? | 0 | No | 13 | L06.1 | Windows | No | No |  | Building Envelope | L06.1-Windows
Parental leave | Time Off & Leave | Have there been any changes to your parental leave/support policies? | 0 | No | 13 | L07.1 | Lighting | No | No |  | Interior Products | L07.1-Lighting
Family leave | Time Off & Leave | Have there been any changes to your leave policy for care of family (separate from new parent leave) or bereavement? | 0 | No | 13 | L08.1 | Lighting | No | No |  | Interior Products | L08.1-Lighting
Volunteer Time Off | Time Off & Leave | Have there been any changes to paid time off for volunteer activities? | 0 | No | 13 | L08.2 | Lighting | No | No |  | Interior Products | L08.2-Lighting
Healthy working hours | Time Off & Leave | Have there been any changes toward paid time off (vacation) or expectations around work hours? | 1 | No | 13 | L09.1 | Lighting | No | No |  | Interior Products | L09.1-Lighting
Health Benefits | Benefits & Programs | Have there been any changes to your health benefits policy (e.g., health insurance)? | 0 | No | 14 | L09.2 | Lighting | No | No |  | Interior Products | L09.2-Lighting
Immunizations | Benefits & Programs | Have there been any changes to your immunization offerings? | 0 | No | 14 | V02.1 | Furniture | Yes | No |  | Interior Products | V02.1-Furniture
Breastfeeding support | Benefits & Programs | Have there been any changes to your organization's policies regarding breastfeeding for new mothers? | 0 | No | 14 | V02.2 | Furniture | Yes | No |  | Interior Products | V02.2-Furniture
Childcare support | Benefits & Programs | Have there been any changes to your childcare support policies? | 0 | No | 14 | V02.3 | Furniture | Yes | No |  | Interior Products | V02.3-Furniture
Tobacco cessaion resources | Benefits & Programs | Have there been changes to the tobacco cessation resources offered? | 0 | No | 14 | V02.4 | Furniture | Yes | No |  | Interior Products | V02.4-Furniture
Substance use and addiction services | Benefits & Programs | Have there been any changes to substance use and addiction services or benefits? | 0 | No | 14 | V02.4 | Floors and Ceilings | Yes | No |  | Interior Products | V02.4-Floors and Ceilings
Domestic violence support | Benefits & Programs | Have there been any changes to the support for victims of domestic violence? | 0 | No | 14 | V02.5 | Ergonomics Policy | Yes | No |  | Classes & Training | V02.5-Ergonomics Policy
Mental Health Services | Benefits & Programs | Have there been any changes to the mental health services or support programs offered? | 0 | No | 14 | V03.1 | Stair Presence | No | No |  | Interior Layout | V03.1-Stair Presence
Stress Management Plan | Benefits & Programs | Have you made any changes on your plan to reduce stress for your employees? | 0 | No | 14 | V03.1 | Stair Design | No | No |  | Interior Products | V03.1-Stair Design
Self-Monitoring | Benefits & Programs | Have there been any changes to the availability/subsidy for self-monitoring devices (e.g. wearable fitness trackers)? | 0 | No | 14 | V03.1 | Stair Access | No | No |  | Building/Company Policy | V03.1-Stair Access
Tuition and Mentorship program | Benefits & Programs | Have there been any changes to the tuition or mentorship program provided to eligible employees? | 0 | No | 14 | V03.2 | Stair Presence | No | No |  | Interior Layout | V03.2-Stair Presence
WELL Communications | Classes & Training | Have there been any changes information about the offerings and benefits are being communicated in the project and/or to new employees? | 3 | No | 15 | V03.2 | Stair Design | No | No |  | Interior Products | V03.2-Stair Design
Ergonomics Policy | Classes & Training | Have there been any changes to ergonomic orientation, training, or consultation? | 1 | No | 15 | V03.3 | Stair Presence | No | No |  | Interior Layout | V03.3-Stair Presence
Nutrition education | Classes & Training | Have there been any changes to cooking, gardening, or nutrition classes offered? | 0 | No | 15 | V03.2 | Stair Access | No | No |  | Building/Company Policy | V03.2-Stair Access
Restorative programming | Classes & Training | Have there been any changes to your restorative programming? | 1 | No | 15 | V03.3 | Stair Design | No | No |  | Interior Products | V03.3-Stair Design
Substance use education | Classes & Training | Have there been any changes to education on personal substance use and/or addiction? | 0 | No | 15 | V03.3 | Stair Access | No | No |  | Building/Company Policy | V03.3-Stair Access
Bias & discrimination training | Classes & Training | Have there been any changes to training on bias and discrimination? | 0 | No | 15 | V04.1 | Interior Bike Parking | No | No |  | Specialized Spaces | V04.1-Interior Bike Parking
Emergency Training | Classes & Training | Have there been any changes to training on emergency preparedness or first aid? | 0 | No | 15 | V04.1 | Exterior Bike Parking | No | No |  | Exterior Design | V04.1-Exterior Bike Parking
Mental health education | Classes & Training | Have there been any changes to the mental health education offered? | 1 | No | 15 | V04.1 | Nearby Nature | No | No |  | Neighborhood | V04.1-Nearby Nature
Modern slavery training | Classes & Training | Have there been any changes to training on modern slavery? | 0 | No | 15 | V04.1 | Local Food | No | No |  | Neighborhood | V04.1-Local Food
Physical Activity Programs | Classes & Training | Have there been any changes to the physical activity programs offered to occupants? | 0 | No | 15 | V04.1 | Nearby Gyms | No | No |  | Neighborhood | V04.1-Nearby Gyms
Health & well-being leadership | Staffing | Have there been any changes to staffing related to health promotion (e.g., health promotion coordinator, chief wellness officer)? | 0 | No | 16 | V04.1 | Pedestrian and bike network | No | No |  | Neighborhood | V04.1-Pedestrian and bike network
Discrimination | Staffing | Have there been any changes to hiring or non-discrimination practices? | 0 | No | 16 | V04.2 | Showers | No | No |  | Specialized Spaces | V04.2-Showers
Awards | Organizational | Have there been any changes to the third party certifications/awards for your project and/or organization? | 0 | No | 17 | V05.1 | Nearby Nature | No | No |  | Neighborhood | V05.1-Nearby Nature
Historical acknowledgement program | Organizational | Have there been any changes to the organization's historical acknowledgement program? | 0 | No | 17 | V05.1 | Local Food | No | No |  | Neighborhood | V05.1-Local Food
Mission | Organizational | Have there been any changes to the organization's health-oriented mission? | 1 | No | 17 | V05.1 | Nearby Gyms | No | No |  | Neighborhood | V05.1-Nearby Gyms
Carbon Goals | Organizational | Have there been any changes in the way you complete your annual assessment of carbon emissions, set your carbon reduction goals, or make this information publicly available? | 0 | No | 17 | V05.1 | Pedestrian and bike network | No | No |  | Neighborhood | V05.1-Pedestrian and bike network
Engagement and Belonging Goals | Organizational | Have there been any changes in the way you annually track your progress on implementing strategies to help all employees feel accepted, valued and included, and summarize these results publicly? | 0 | No | 17 | V05.1 | Exterior Walls | No | No |  | Exterior Design | V05.1-Exterior Walls
Community Engagement | Community involvement | Have there been any changes to community engagement offerings (e.g., public programming, space availability, donation matching)? | 0 | No | 18 | V05.2 | Transit | No | No |  | Neighborhood | V05.2-Transit
Tours | Community involvement | Have there been any changes to the WELL tours offered in the certified space? | 0 | No | 18 | V06.1 | Physical Activity Programs | No | No |  | Classes & Training | V06.1-Physical Activity Programs
Legacy Lead | Legacy Products | Did any lead remain on-site to be managed as part of remediation? | 1 | No | 19 | V07.1 | Furniture | No | No |  | Interior Products | V07.1-Furniture
Legacy Asbestos | Legacy Products | Did any asbestos remain on-site to be managed as part of remediation? | 1 | No | 19 | V08.1 | Nearby Gyms | No | No |  | Neighborhood | V08.1-Nearby Gyms
Legacy PCBs | Legacy Products | Did any PCBs remain on-site to be managed as part of remediation? | 1 | No | 19 | V08.1 | On-site Gyms | No | No |  | Specialized Spaces | V08.1-On-site Gyms
Legacy Outdoors | Legacy Products | Did any legacy materials (e.g., lead, CCA) remain on-site to be managed as part of remediation? | 2 | No | 19 | V08.2 | Outdoor Fitness | No | No |  | Neighborhood | V08.2-Outdoor Fitness
[6 empty] | V10.1 | Self-Monitoring | No | No |  | Benefits & Programs | V10.1-Self-Monitoring
[6 empty] | V11.1 | Ergonomics Policy | No | No |  | Classes & Training | V11.1-Ergonomics Policy
| All Parts |  |  |  |  | V11.2 | Ergonomics Policy | No | No |  | Classes & Training | V11.2-Ergonomics Policy
| Feature.Part | Verification Methods |  |  |  | V11.3 | Ergonomics Policy | No | No |  | Classes & Training | V11.3-Ergonomics Policy
| A01.1 | Performance Test OR Sensor Data, Technical Document (Shareable) |  |  |  | T03.1 | Reprogramming | No | No |  | Interior Layout | T03.1-Reprogramming
| A01.2 | Performance Test, Sensor Data |  |  |  | T03.1 | Thermal Zoning | No | No |  | Mechanical System | T03.1-Thermal Zoning
| A01.3 | Performance Test OR Sensor Data |  |  |  | T04.1 | Thermal Zoning | No | No |  | Mechanical System | T04.1-Thermal Zoning
| A01.4 | Sensor Data, Technical Document (Individual), Letter of Assurance – Engineer, Letter of Assurance – Owner |  |  |  | T04.1 | Personal heating and cooling | No | No |  | Interior Products | T04.1-Personal heating and cooling
| A01.5 | On-going Data Report |  |  |  | T04.2 | Thermal Zoning | No | No |  | Mechanical System | T04.2-Thermal Zoning
| A02.1 | Policy and/or Operations Schedule |  |  |  | T04.2 | Personal heating and cooling | No | No |  | Interior Products | T04.2-Personal heating and cooling
| A02.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | T04.3 | Dress code | No | No |  | Building/Company Policy | T04.3-Dress code
| A03.1 | Letter of Assurance – Engineer, Technical Document (Shareable), Sensor Data |  |  |  | T05.1 | Radiant conditioning | No | No |  | Mechanical System | T05.1-Radiant conditioning
| A04.1 | Letter of Assurance – Contractor, Letter of Assurance – Owner |  |  |  | T05.2 | Radiant conditioning | No | No |  | Mechanical System | T05.2-Radiant conditioning
| A05.1 | Performance Test OR Sensor Data |  |  |  | T06.1 | Air & Temperature Sensors | No | No |  | Interior Products | T06.1-Air & Temperature Sensors
| A05.2 | Performance Test |  |  |  | T06.1 | IEQ Test Display | No | No |  | Building/Company Policy | T06.1-IEQ Test Display
| A05.3 | Performance Test OR Sensor Data |  |  |  | T08.1 | Windows | No | No |  | Building Envelope | T08.1-Windows
| A06.1 | Letter of Assurance – Engineer, Technical Document (Audited), Sensor Data |  |  |  | T09.1 | Outdoor Nature | No | No |  | Exterior Design | T09.1-Outdoor Nature
| A06.2 | Letter of Assurance – Engineer |  |  |  | T09.1 | Entryway doors | No | No |  | Building Envelope | T09.1-Entryway doors
| A07.1 | On-site Photographs, Letter of Assurance – Designer |  |  |  | T09.1 | Parking | No | No |  | Exterior Design | T09.1-Parking
| A07.2 | Professional Narrative, On-site Photographs, Letter of Assurance – Engineer |  |  |  | T09.2 | Outdoor Nature | No | No |  | Exterior Design | T09.2-Outdoor Nature
| A08.1 | On-site Photographs, Letter of Assurance – Engineer, On-going Maintenance Report |  |  |  | S01.1 | Reprogramming | Yes | No |  | Interior Layout | S01.1-Reprogramming
| A08.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | S01.1 | Workstation locations | Yes | No |  | Interior Layout | S01.1-Workstation locations
| A09.1 | On-site Photographs, Letter of Assurance – Designer, Policy and/or Operations Schedule |  |  |  | S03.1 | Reprogramming | No | No |  | Interior Layout | S03.1-Reprogramming
| A09.2 | Technical Document (Audited) |  |  |  | S03.1 | Interior Walls | No | No |  | Interior Products | S03.1-Interior Walls
| A10.1 | On-site Photographs, Letter of Assurance – Owner, Letter of Assurance – Engineer |  |  |  | S04.1 | Interior Walls | No | No |  | Interior Products | S04.1-Interior Walls
| A11.1 | Technical Document (Audited), On-site Photographs, Letter of Assurance – Engineer |  |  |  | S04.1 | Floors and Ceilings | No | No |  | Interior Products | S04.1-Floors and Ceilings
| A12.1 | On-site Photographs, Letter of Assurance – Engineer, On-going Maintenance Report |  |  |  | S05.1 | Interior Walls | No | No |  | Interior Products | S05.1-Interior Walls
| A13.1 | Technical Document (Audited), On-site Photographs, Letter of Assurance – Engineer, On-going Maintenance Report |  |  |  | S06.1 | Building Acoustic Systems | No | No |  | Interior Products | S06.1-Building Acoustic Systems
| A13.2 | Technical Document (Audited), Beta Feature Feedback Form, Policy and/or Operations Schedule |  |  |  | S06.1 | Reprogramming | No | No |  | Interior Layout | S06.1-Reprogramming
| A14.1 | On-site Photographs, Letter of Assurance – Engineer, On-going Maintenance Report |  |  |  | S07.1 | Reprogramming | No | No |  | Interior Layout | S07.1-Reprogramming
| W01.1 | Performance Test |  |  |  | S07.1 | Floors and Ceilings | No | No |  | Interior Products | S07.1-Floors and Ceilings
| W02.1 | Performance Test |  |  |  | S07.2 | Floors and Ceilings | No | No |  | Interior Products | S07.2-Floors and Ceilings
| W02.2 | Technical Document (Individual), Performance Test |  |  |  | S08.1 | Building Acoustic Systems | No | No |  | Interior Products | S08.1-Building Acoustic Systems
| W03.1 | On-going Data Report |  |  |  | S08.2 | Acoustic Policies | No | No |  | Building/Company Policy | S08.2-Acoustic Policies
| W03.2 | Technical Document (Audited), On-going Maintenance Report |  |  |  | S09.1 | Acoustic Policies | No | No |  | Building/Company Policy | S09.1-Acoustic Policies
| W04.1 | Performance Test |  |  |  | X01.1 | Floors and Ceilings | Yes | No |  | Interior Products | X01.1-Floors and Ceilings
| W05.1 | Technical Document (Individual), On-going Data Report |  |  |  | X01.1 | Interior Walls | Yes | No |  | Interior Products | X01.1-Interior Walls
| W05.2 | Policy and/or Operations Schedule |  |  |  | X01.1 | Insulation | Yes | No |  | Interior Products | X01.1-Insulation
| W06.1 | Technical Document (Audited), Policy and/or Operations Schedule |  |  |  | X01.2 | Lighting | Yes | No |  | Interior Products | X01.2-Lighting
| W07.1 | Professional Narrative |  |  |  | X01.2 | Air & Temperature Sensors | Yes | No |  | Interior Products | X01.2-Air & Temperature Sensors
| W07.2 | Professional Narrative, On-site Photographs, Letter of Assurance – Engineer |  |  |  | X01.2 | Electrical | Yes | No |  | Interior Products | X01.2-Electrical
| W07.3 | Policy and/or Operations Schedule, On-going Maintenance Report |  |  |  | X01.3 | Air & Temperature Sensors | Yes | No |  | Interior Products | X01.3-Air & Temperature Sensors
| W08.1 | On-site Photographs, Letter of Assurance – Designer |  |  |  | X01.3 | Electrical | Yes | No |  | Interior Products | X01.3-Electrical
| W08.2 | On-site Photographs, Letter of Assurance – Designer |  |  |  | X01.3 | Paint | Yes | No |  | Interior Products | X01.3-Paint
| W08.3 | On-site Photographs, Letter of Assurance – Designer |  |  |  | X01.3 | Potable plumbing | Yes | No |  | Plumbing System | X01.3-Potable plumbing
| W08.4 | Policy and/or Operations Schedule, On-site Photographs, Letter of Assurance – Owner |  |  |  | X02.1 | Legacy Asbestos | Yes | No |  | Legacy Products | X02.1-Legacy Asbestos
| W09.1 | Professional Narrative, Beta Feature Feedback Form, On-going Maintenance Report, On-site Photographs |  |  |  | X02.2 | Legacy Lead | Yes | No |  | Legacy Products | X02.2-Legacy Lead
| N01.1 | Policy and/or Operations Schedule, Letter of Assurance – Owner |  |  |  | X02.3 | Legacy PCBs | Yes | No |  | Legacy Products | X02.3-Legacy PCBs
| N01.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X03.1 | Legacy Outdoors | Yes | No |  | Legacy Products | X03.1-Legacy Outdoors
| N02.1 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X03.2 | Legacy Outdoors | Yes | No |  | Legacy Products | X03.2-Legacy Outdoors
| N02.2 | Policy and/or Operations Schedule, On-site Photographs, Letter of Assurance – Owner |  |  |  | X04.1 | Legacy Outdoors | No | No |  | Legacy Products | X04.1-Legacy Outdoors
| N02.3 | Policy and/or Operations Schedule, On-site Photographs, Letter of Assurance – Owner |  |  |  | X05.1 | Furniture | No | No |  | Interior Products | X05.1-Furniture
| N03.1 | Policy and/or Operations Schedule |  |  |  | X05.1 | Air & Temperature Sensors | No | No |  | Interior Products | X05.1-Air & Temperature Sensors
| N03.2 | Policy and/or Operations Schedule |  |  |  | X05.1 | Electrical | No | No |  | Interior Products | X05.1-Electrical
| N04.1 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X05.2 | Floors and Ceilings | No | No |  | Interior Products | X05.2-Floors and Ceilings
| N05.1 | Policy and/or Operations Schedule |  |  |  | X05.2 | Insulation | No | No |  | Interior Products | X05.2-Insulation
| N06.1 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X05.2 | Potable plumbing | No | No |  | Plumbing System | X05.2-Potable plumbing
| N07.1 | Policy and/or Operations Schedule |  |  |  | X06.1 | Paint | No | No |  | Interior Products | X06.1-Paint
| N08.1 | Technical Document (Audited), Policy and/or Operations Schedule |  |  |  | X06.2 | Furniture | No | No |  | Interior Products | X06.2-Furniture
| N09.1 | Policy and/or Operations Schedule |  |  |  | X06.2 | Floors and Ceilings | No | No |  | Interior Products | X06.2-Floors and Ceilings
| N09.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X06.2 | Insulation | No | No |  | Interior Products | X06.2-Insulation
| N10.1 | On-site Photographs, Letter of Assurance – Owner |  |  |  | X09.1 | Waste Management | No | No |  | Building Operation | X09.1-Waste Management
| N11.1 | Policy and/or Operations Schedule, On-site Photographs, Letter of Assurance – Owner |  |  |  | X10.1 | Pest Management | No | No |  | Building Operation | X10.1-Pest Management
| N12.1 | Technical Document (Audited) |  |  |  | X11.1 | Cleaning plans | No | No |  | Building Operation | X11.1-Cleaning plans
| N13.1 | Technical Document (Audited), Policy and/or Operations Schedule |  |  |  | X11.2 | Cleaning plans | No | No |  | Building Operation | X11.2-Cleaning plans
| N14.1 | Policy and/or Operations Schedule |  |  |  | X12.1 | Contact Reduction | No | No |  | Building/Company Policy | X12.1-Contact Reduction
| L01.1 | Technical Document (Audited), Performance Test |  |  |  | X12.2 | Contact Reduction | No | No |  | Building/Company Policy | X12.2-Contact Reduction
| L02.1 | Performance Test, Technical Document (Individual) |  |  |  | M01.1 | WELL Communications | Yes | No |  | Classes & Training | M01.1-WELL Communications
| L03.1 | Performance Test |  |  |  | M01.1 | Restorative programming | Yes | No |  | Classes & Training | M01.1-Restorative programming
| L04.1 | Technical Document (Audited) |  |  |  | M01.1 | Restorative space | Yes | No |  | Specialized Spaces | M01.1-Restorative space
| L05.1 | Technical Document (Audited) |  |  |  | M01.1 | Mental health education | Yes | No |  | Classes & Training | M01.1-Mental health education
| L05.2 | On-site Photographs, Policy and/or Operations Schedule, Letter of Assurance – Designer |  |  |  | M01.1 | Healthy working hours | Yes | No |  | Time Off & Leave | M01.1-Healthy working hours
| L06.1 | Technical Document (Audited) |  |  |  | M02.1 | Indoor Nature | Yes | No |  | Interior Products | M02.1-Indoor Nature
| L07.1 | Professional Narrative |  |  |  | M02.2 | Outdoor Nature | Yes | No |  | Exterior Design | M02.2-Outdoor Nature
| L08.1 | Technical Document (Audited) |  |  |  | M03.1 | Mental Health Services | No | No |  | Benefits & Programs | M03.1-Mental Health Services
| L08.2 | Technical Document (Audited) |  |  |  | M03.2 | Mental Health Services | No | No |  | Benefits & Programs | M03.2-Mental Health Services
| L09.1 | Technical Document (Audited), Professional Narrative |  |  |  | M03.3 | Mental Health Services | No | No |  | Benefits & Programs | M03.3-Mental Health Services
| L09.2 | Policy and/or Operations Schedule, Technical Document (Audited) |  |  |  | M03.4 | Mental Health Services | No | No |  | Benefits & Programs | M03.4-Mental Health Services
| V01.1 | WELL Strategy |  |  |  | M04.1 | Mental health education | No | No |  | Classes & Training | M04.1-Mental health education
| V02.1 | On-site Photographs, Letter of Assurance – Owner |  |  |  | M04.2 | Mental health education | No | No |  | Classes & Training | M04.2-Mental health education
| V02.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | M05.1 | Stress Management Plan | No | No |  | Benefits & Programs | M05.1-Stress Management Plan
| V02.3 | On-site Photographs, Letter of Assurance – Owner |  |  |  | M06.1 | Healthy working hours | No | No |  | Time Off & Leave | M06.1-Healthy working hours
| V02.4 | On-site Photographs, Letter of Assurance – Owner |  |  |  | M06.2 | Restorative programming | No | No |  | Classes & Training | M06.2-Restorative programming
| V02.5 | Policy and/or Operations Schedule |  |  |  | M07.1 | Restorative space | No | No |  | Specialized Spaces | M07.1-Restorative space
| V03.1 | Technical Document (Audited) |  |  |  | M08.1 | Restorative programming | No | No |  | Classes & Training | M08.1-Restorative programming
| V03.2 | On-site Photographs, Letter of Assurance – Owner |  |  |  | M09.1 | Workstation locations | No | No |  | Interior Layout | M09.1-Workstation locations
| V03.3 | Technical Document (Audited) |  |  |  | M09.1 | Indoor Nature | No | No |  | Interior Products | M09.1-Indoor Nature
| V04.1 | Technical Document (Audited), On-site Photographs, Letter of Assurance – Designer |  |  |  | M09.2 | Outdoor Nature | No | No |  | Exterior Design | M09.2-Outdoor Nature
| V04.2 | Technical Document (Audited) |  |  |  | M09.2 | Nearby Nature | No | No |  | Neighborhood | M09.2-Nearby Nature
| V05.1 | Technical Document (Audited) |  |  |  | M10.1 | Tobacco cessaion resources | No | No |  | Benefits & Programs | M10.1-Tobacco cessaion resources
| V05.2 | Technical Document (Audited) |  |  |  | M10.2 | Limit tobacco availability | No | No |  | Building/Company Policy | M10.2-Limit tobacco availability
| V06.1 | Policy and/or Operations Schedule |  |  |  | M11.1 | Substance use education | No | No |  | Classes & Training | M11.1-Substance use education
| V07.1 | Letter of Assurance – Owner, On-site Photographs |  |  |  | M11.2 | Substance use and addiction services | No | No |  | Benefits & Programs | M11.2-Substance use and addiction services
| V08.1 | Technical Document (Audited), Policy and/or Operations Schedule |  |  |  | C01.1 | WELL Communications | Yes | No |  | Classes & Training | C01.1-WELL Communications
| V08.2 | Technical Document (Audited) |  |  |  | C02.1 | WELL Communications | Yes | No |  | Classes & Training | C02.1-WELL Communications
| V09.1 | Policy and/or Operations Schedule, On-going Data Report, Professional Narrative |  |  |  | C02.2 | Mission | Yes | No |  | Organizational | C02.2-Mission
| V10.1 | Policy and/or Operations Schedule |  |  |  | C03.1 | Emergency Plans | Yes | No |  | Emergency Planning | C03.1-Emergency Plans
| V11.1 | Policy and/or Operations Schedule |  |  |  | C06.1 | Health Benefits | No | No |  | Benefits & Programs | C06.1-Health Benefits
| V11.2 | Professional Narrative, Policy and/or Operations Schedule |  |  |  | C06.2 | Health Benefits | No | No |  | Benefits & Programs | C06.2-Health Benefits
| V11.3 | Policy and/or Operations Schedule, Beta Feature Feedback Form |  |  |  | C06.3 | Sick leave | No | No |  | Time Off & Leave | C06.3-Sick leave
| T01.1 | Letter of Assurance – Engineer, Performance Test, Technical Document (Shareable), Sensor Data, Performance Test OR Sensor Data |  |  |  | C06.4 | Immunizations | No | No |  | Benefits & Programs | C06.4-Immunizations
| T01.2 | On-going Data Report |  |  |  | C06.5 | Health Benefits | No | No |  | Benefits & Programs | C06.5-Health Benefits
| T02.1 | Technical Document (Individual) |  |  |  | C07.1 | Mental health education | No | No |  | Classes & Training | C07.1-Mental health education
| T03.1 | Technical Document (Audited) |  |  |  | C07.1 | Bias & discrimination training | No | No |  | Classes & Training | C07.1-Bias & discrimination training
| T04.1 | On-site Photographs, Letter of Assurance – Engineer |  |  |  | C07.1 | Substance use education | No | No |  | Classes & Training | C07.1-Substance use education
| T04.2 | On-site Photographs, Letter of Assurance – Engineer |  |  |  | C07.1 | Restorative programming | No | No |  | Classes & Training | C07.1-Restorative programming
| T04.3 | Policy and/or Operations Schedule |  |  |  | C07.1 | Nutrition education | No | No |  | Classes & Training | C07.1-Nutrition education
| T05.1 | Technical Document (Audited) |  |  |  | C07.1 | Health & well-being leadership | No | No |  | Staffing | C07.1-Health & well-being leadership
| T05.2 | Technical Document (Audited) |  |  |  | C07.2 | Health & well-being leadership | No | No |  | Staffing | C07.2-Health & well-being leadership
| T06.1 | On-site Photographs, Letter of Assurance – Engineer |  |  |  | C08.1 | Parental leave | No | No |  | Time Off & Leave | C08.1-Parental leave
| T07.1 | Letter of Assurance – Engineer, Performance Test, Technical Document (Audited), Sensor Data |  |  |  | C09.1 | Breastfeeding support | No | No |  | Benefits & Programs | C09.1-Breastfeeding support
| T08.1 | Letter of Assurance – Designer, On-site Photographs, Beta Feature Feedback Form, Professional Narrative |  |  |  | C09.2 | Lactation room | No | No |  | Specialized Spaces | C09.2-Lactation room
| T09.1 | Technical Document (Audited), Beta Feature Feedback Form |  |  |  | C10.1 | Childcare support | No | No |  | Benefits & Programs | C10.1-Childcare support
| T09.2 | Technical Document (Audited), Beta Feature Feedback Form |  |  |  | C10.2 | Family leave | No | No |  | Time Off & Leave | C10.2-Family leave
| T09.3 | Beta Feature Feedback Form |  |  |  | C10.3 | Family leave | No | No |  | Time Off & Leave | C10.3-Family leave
| S01.1 | Technical Document (Audited) |  |  |  | C11.1 | Volunteer Time Off | No | No |  | Time Off & Leave | C11.1-Volunteer Time Off
| S01.2 | Professional Narrative |  |  |  | C11.1 | Community Engagement | No | No |  | Community involvement | C11.1-Community Engagement
| S02.1 | Performance Test |  |  |  | C11.2 | Community Engagement | No | No |  | Community involvement | C11.2-Community Engagement
| S03.1 | Technical Document (Audited) |  |  |  | C12.1 | Engagement and Belonging Goals | No | No |  | Organizational | C12.1-Engagement and Belonging Goals
| S03.2 | Performance Test |  |  |  | C12.2 | Bias & discrimination training | No | No |  | Classes & Training | C12.2-Bias & discrimination training
| S04.1 | Technical Document (Audited), Performance Test, Technical Document (Individual) |  |  |  | C12.2 | Health & well-being leadership | No | No |  | Staffing | C12.2-Health & well-being leadership
| S05.1 | Technical Document (Audited) |  |  |  | C12.2 | Discrimination | No | No |  | Staffing | C12.2-Discrimination
| S06.1 | Technical Document (Audited) |  |  |  | C12.3 | Discrimination | No | No |  | Staffing | C12.3-Discrimination
| S07.1 | Technical Document (Audited), Beta Feature Feedback Form |  |  |  | C13.1 | Universal design strategies | No | No |  | Interior Layout | C13.1-Universal design strategies
| S07.2 | Technical Document (Individual), Beta Feature Feedback Form |  |  |  | C13.1 | Universal design policies | No | No |  | Building/Company Policy | C13.1-Universal design policies
| S08.1 | Technical Document (Individual) |  |  |  | C14.1 | Emergency Training | No | No |  | Classes & Training | C14.1-Emergency Training
| S08.2 | Policy and/or Operations Schedule |  |  |  | C14.1 | Emergency Support | No | No |  | Emergency Planning | C14.1-Emergency Support
| S09.1 | Policy and/or Operations Schedule, Beta Feature Feedback Form |  |  |  | C14.2 | Opioid support | No | No |  | Emergency Planning | C14.2-Opioid support
| X01.1 | Technical Document (Audited), Letter of Assurance – Contractor |  |  |  | C15.1 | Business continuity plan | No | No |  | Emergency Planning | C15.1-Business continuity plan
| X01.2 | Technical Document (Audited), Letter of Assurance – Designer |  |  |  | C15.2 | Emergency Support | No | No |  | Emergency Planning | C15.2-Emergency Support
| X01.3 | Technical Document (Audited), Letter of Assurance – Contractor, Letter of Assurance – Engineer |  |  |  | C15.3 | Emergency Plans | No | No |  | Emergency Planning | C15.3-Emergency Plans
| X02.1 | Technical Document (Audited), Letter of Assurance – Owner, Professional Narrative |  |  |  | C15.4 | Entry Rules | No | No |  | Building/Company Policy | C15.4-Entry Rules
| X02.2 | Technical Document (Audited), Letter of Assurance – Owner, Professional Narrative |  |  |  | C16.1 | Affordable housing allocation | No | No |  | Building/Company Policy | C16.1-Affordable housing allocation
| X02.3 | Technical Document (Audited), Letter of Assurance – Owner |  |  |  | C17.1 | Responsible Labor | No | No |  | Building Operation | C17.1-Responsible Labor
| X03.1 | Professional Narrative, Letter of Assurance – Owner |  |  |  | C17.2 | Responsible Labor | No | No |  | Building Operation | C17.2-Responsible Labor
| X03.2 | Professional Narrative, Letter of Assurance – Owner |  |  |  | C17.2 | Modern slavery training | No | No |  | Classes & Training | C17.2-Modern slavery training
| X04.1 | Technical Document (Audited) |  |  |  | C18.1 | Domestic violence support | No | No |  | Benefits & Programs | C18.1-Domestic violence support
| X05.1 | Technical Document (Audited), Letter of Assurance – Designer, Letter of Assurance – Contractor |  |  |  | C19.1 | Tuition and Mentorship program | No | No |  | Benefits & Programs | C19.1-Tuition and Mentorship program
| X05.2 | Technical Document (Audited), Letter of Assurance – Contractor |  |  |  | C20.1 | Historical acknowledgement program | No | No |  | Organizational | C20.1-Historical acknowledgement program
| X06.1 | Letter of Assurance – Contractor |  |  |  | I03.1 | Tours | No | No |  | Community involvement | I03.1-Tours
| X06.2 | Letter of Assurance – Contractor |  |  |  | I04.1 | Awards | No | No |  | Organizational | I04.1-Awards
| X07.1 | Technical Document (Audited), Letter of Assurance – Contractor |  |  |  | I05.1 | Awards | No | No |  | Organizational | I05.1-Awards
| X07.2 | Technical Document (Audited), Letter of Assurance – Contractor |  |  |  | I06.1 | Carbon Goals | No | No |  | Organizational | I06.1-Carbon Goals
| X07.3 | Technical Document (Audited), Letter of Assurance – Contractor |  |  |  | I06.2 | Carbon Goals | No | No |  | Organizational | I06.2-Carbon Goals
| X08.1 | Technical Document (Audited), Policy and/or Operations Schedule, On-going Data Report |  |  |  | I06.3 | Carbon Goals | No | No |  | Organizational | I06.3-Carbon Goals
| X08.2 | Technical Document (Audited) |  |  |  | I06.4 | Carbon Goals | No | No |  | Organizational | I06.4-Carbon Goals
| X09.1 | Policy and/or Operations Schedule
| X10.1 | Policy and/or Operations Schedule
| X11.1 | Policy and/or Operations Schedule
| X11.2 | Policy and/or Operations Schedule
| X12.1 | On-site Photographs, Beta Feature Feedback Form, Policy and/or Operations Schedule
| X12.2 | Professional Narrative
| X13.1 | Technical Document (Audited), Beta Feature Feedback Form
| X13.2 | Technical Document (Audited), Beta Feature Feedback Form
| X13.3 | Technical Document (Audited), Beta Feature Feedback Form
| M01.1 | Policy and/or Operations Schedule
| M02.1 | Professional Narrative
| M02.2 | Professional Narrative
| M03.1 | Policy and/or Operations Schedule
| M03.2 | Policy and/or Operations Schedule
| M03.3 | Policy and/or Operations Schedule
| M03.4 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| M04.1 | Policy and/or Operations Schedule
| M04.2 | Policy and/or Operations Schedule
| M05.1 | Professional Narrative
| M06.1 | Policy and/or Operations Schedule
| M06.2 | Policy and/or Operations Schedule, Technical Document (Audited)
| M07.1 | Technical Document (Audited), Policy and/or Operations Schedule
| M08.1 | Policy and/or Operations Schedule
| M09.1 | Technical Document (Audited)
| M09.2 | Technical Document (Audited), Professional Narrative
| M10.1 | Policy and/or Operations Schedule
| M10.2 | Letter of Assurance – Owner
| M11.1 | Policy and/or Operations Schedule
| M11.2 | Policy and/or Operations Schedule
| C01.1 | Policy and/or Operations Schedule
| C02.1 | Professional Narrative
| C02.2 | Policy and/or Operations Schedule
| C03.1 | Policy and/or Operations Schedule
| C04.1 | Policy and/or Operations Schedule, Technical Document (Shareable), Letter of Assurance – Owner
| C04.2 | Technical Document (Shareable), On-going Data Report
| C05.1 | Technical Document (Shareable), On-going Data Report
| C05.2 | Technical Document (Shareable), On-going Data Report
| C05.3 | Technical Document (Shareable), On-going Data Report
| C05.4 | Technical Document (Shareable), On-going Data Report
| C06.1 | Policy and/or Operations Schedule
| C06.2 | Policy and/or Operations Schedule, Technical Document (Audited)
| C06.3 | Policy and/or Operations Schedule
| C06.4 | Policy and/or Operations Schedule
| C06.5 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C07.1 | Policy and/or Operations Schedule
| C07.2 | Policy and/or Operations Schedule
| C08.1 | Policy and/or Operations Schedule
| C09.1 | Policy and/or Operations Schedule
| C09.2 | Technical Document (Audited)
| C10.1 | Policy and/or Operations Schedule
| C10.2 | Policy and/or Operations Schedule
| C10.3 | Policy and/or Operations Schedule
| C11.1 | Policy and/or Operations Schedule
| C11.2 | Technical Document (Audited), Professional Narrative
| C12.1 | Policy and/or Operations Schedule
| C12.2 | Policy and/or Operations Schedule
| C12.3 | Policy and/or Operations Schedule
| C13.1 | Professional Narrative
| C13.2 | Beta Feature Feedback Form, Technical Document (Audited)
| C13.3 | On-site Photographs, Letter of Assurance – Owner, Beta Feature Feedback Form
| C14.1 | Policy and/or Operations Schedule
| C14.2 | Policy and/or Operations Schedule
| C15.1 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C15.2 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C15.3 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C15.4 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C16.1 | Technical Document (Audited), Beta Feature Feedback Form
| C17.1 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C17.2 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C18.1 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C19.1 | Policy and/or Operations Schedule, Beta Feature Feedback Form
| C20.1 | Technical Document (Shareable), Beta Feature Feedback Form
| C21.1 | Professional Narrative, Beta Feature Feedback Form, Technical Document (Audited)
| C21.2 | Professional Narrative, Beta Feature Feedback Form, Technical Document (Audited), Policy and/or Operations Schedule
| C21.3 | Technical Document (Audited), Beta Feature Feedback Form, Policy and/or Operations Schedule
| I01.1 | Innovation Form
| I01.10 | Innovation Form
| I01.2 | Innovation Form
| I01.3 | Innovation Form
| I01.4 | Innovation Form
| I01.5 | Innovation Form
| I01.6 | Innovation Form
| I01.7 | Innovation Form
| I01.8 | Innovation Form
| I01.9 | Innovation Form
| I02.1 | Technical Document (Shareable)
| I03.1 | Technical Document (Audited)
| I04.1 | Technical Document (Audited)
| I05.1 | Technical Document (Audited)
| I06.1 | Policy and/or Operations Schedule
| I06.2 | Policy and/or Operations Schedule
| I06.3 | Policy and/or Operations Schedule
| I06.4 | Policy and/or Operations Schedule

## Sheet1 (hidden)
Row Labels | Count of Question Text
Always | 2
Benefits & Programs | 10
Building Envelope | 3
Building Operation | 5
Building/Company Policy | 11
Classes & Training | 10
Community involvement | 2
Emergency Planning | 4
Exterior Design | 6
Food Service | 5
Interior Layout | 4
Interior Products | 21
Legacy Products | 4
Mechanical System | 7
Neighborhood | 6
Never | 1
Organizational | 3
Plumbing System | 3
Specialized Spaces | 6
Staffing | 3
TBD | 1
Time Off & Leave | 6
Grand Total | 123

## Sheet2 (hidden)
Row Labels | Count of Question
A02.1 | 1
A02.2 | 1
A03.1 | 3
A04.1 | 1
A06.1 | 3
A06.2 | 1
A07.1 | 1
A07.2 | 1
A08.1 | 1
A08.2 | 1
A09.1 | 4
A09.2 | 2
A10.1 | 4
A11.1 | 1
A12.1 | 2
A13.1 | 4
A14.1 | 2
C01.1 | 1
C02.1 | 1
C02.2 | 1
C03.1 | 1
C04.1 | 1
C04.2 | 1
C05.1 | 1
C05.2 | 1
C05.3 | 1
C05.4 | 1
C06.1 | 1
C06.2 | 1
C06.3 | 1
C06.4 | 1
C06.5 | 1
C07.1 | 6
C07.2 | 1
C08.1 | 1
C09.1 | 1
C09.2 | 1
C10.1 | 1
C10.2 | 1
C10.3 | 1
C11.1 | 2
C11.2 | 1
C12.1 | 1
C12.2 | 3
C12.3 | 1
C13.1 | 2
C14.1 | 2
C14.2 | 1
C15.1 | 1
C15.2 | 1
C15.3 | 1
C15.4 | 1
C16.1 | 1
C17.1 | 1
C17.2 | 1
C18.1 | 1
C19.1 | 1
C20.1 | 1
I01.1 | 1
I01.10 | 1
I01.2 | 1
I01.3 | 1
I01.4 | 1
I01.5 | 1
I01.6 | 1
I01.7 | 1
I01.8 | 1
I01.9 | 1
I02.1 | 1
I03.1 | 1
I04.1 | 1
I05.1 | 1
I06.1 | 1
I06.2 | 1
I06.3 | 1
I06.4 | 1
L01.1 | 2
L04.1 | 1
L05.1 | 2
L05.2 | 1
L06.1 | 2
L07.1 | 1
L08.1 | 1
L08.2 | 1
L09.1 | 1
L09.2 | 1
M01.1 | 5
M02.1 | 1
M02.2 | 1
M03.1 | 1
M03.2 | 1
M03.3 | 1
M03.4 | 1
M04.1 | 1
M04.2 | 1
M05.1 | 1
M06.1 | 1
M06.2 | 1
M07.1 | 1
M08.1 | 1
M09.1 | 2
M09.2 | 2
M10.1 | 1
M10.2 | 1
M11.1 | 1
M11.2 | 1
N01.1 | 1
N01.2 | 1
N02.1 | 2
N02.2 | 1
N02.3 | 2
N03.1 | 2
N03.2 | 1
N04.1 | 2
N05.1 | 2
N06.1 | 2
N07.1 | 1
N08.1 | 2
N09.1 | 1
N09.2 | 1
N10.1 | 1
N11.1 | 2
N12.1 | 1
N13.1 | 1
N14.1 | 1
S01.1 | 2
S01.2 | 1
S02.1
S03.1 | 2
S03.2
S04.1 | 2
S05.1 | 1
S06.1 | 2
S06.2 | 1
S07.1 | 2
S07.2
S08.1 | 1
S08.2 | 1
S09.1 | 1
T01.1
T01.2 | 1
T02.1 | 1
T03.1 | 2
T04.1 | 2
T04.2 | 2
T04.3 | 1
T05.1 | 1
T05.2 | 1
T06.1 | 1
T07.1
T08.1 | 1
T09.1 | 2
T09.2 | 1
T09.3 | 1
V01.1 | 1
V02.1 | 1
V02.2 | 1
V02.3 | 1
V02.4 | 2
V02.5 | 1
V03.1 | 2
V03.2 | 2
V03.3 | 2
V04.1 | 6
V04.2 | 1
V05.1 | 5
V05.2 | 1
V06.1 | 1
V07.1 | 1
V08.1 | 2
V08.2 | 1
V09.1 | 1
V10.1 | 1
V11.1 | 1
V11.2 | 1
V11.3 | 1
W03.2 | 3
W05.2 | 1
W06.1 | 2
W07.1 | 1
W07.2 | 2
W07.3 | 1
W08.1 | 1
W08.2 | 2
W08.3 | 1
W08.4 | 1
W09.1 | 1
X01.1 | 3
X01.2 | 3
X01.3 | 4
X02.1 | 1
X02.2 | 1
X02.3 | 1
X03.1 | 1
X03.2 | 1
X04.1 | 1
X05.1 | 3
X05.2 | 3
X06.1 | 1
X06.2 | 3
X07.1 | 1
X07.2 | 1
X07.3 | 1
X08.1 | 1
X08.2 | 1
X09.1 | 1
X10.1 | 1
X11.1 | 1
X11.2 | 1
X12.1 | 1
X12.2 | 1
(blank)
Grand Total | 290