## Scorecard
THE WELL HEALTH-SAFETY RATINGTM Q2 2025
Concept | Feature | Requirements | Verification Method | Points Attempted | Pursuing | Notes | Documents
CLEANING AND SANITIZATION PROCEDURES | SC1 Support Handwashing | For All Spaces except Dwelling UnitsGuest Rooms For all sinks where handwashing is expected (e.g., bathrooms, break rooms, food prep and wellness rooms), the following are present within the room: a) Fragrance-free liquid hand soap dispensed through one of the following: • Sealed dispensers equipped with disposable soap cartridges. • Dispensers with detachable and closed containers for soap refill. Soap containers must be washed and disinfected when emptied, before refilling. b) One of the following methods for hand drying: • Fabric hand towel rolls with dispensers, with rolls replaced before reaching their end of service. • Paper towels. • Hand dryers equipped with a HEPA filter. Filter replacement and equipment maintenance are carried out per manufacturer&rsquo;s instructions. (NOTE: This method is not available for healthcare projects.) • Washable fabric hand towels accompanied by a used towel container placed nearby. Towels are washed before reuse. c) Signage displaying steps for proper hand washing. For Commercial Kitchen SpacesCommercial Dining Spaces The following requirement is met: a) Clear signage directing toward the nearest handwashing location is present at the entrance to all areas intended for food preparation or consumption. For Guest Rooms The following are provided in each bathroom: a) Fragrance-free hand soap via one of the following: • Individually wrapped bar soap, replaced during room turnover, and drainable soap bar racks. • Sealed dispensers of liquid soap equipped with disposable soap cartridges. • Liquid soap dispensers with detachable and closed containers for soap refill. Soap containers must be washed and disinfected when emptied, before refilling. b) One of the following methods for hand drying: • Reusable cloth towels, replaced and washed at least during room changeover. • Paper towels. • Hand dryers equipped with a HEPA filter. Filter replacement and equipment maintenance are carried out per manufacturer&rsquo;s instructions. • Fabric hand towel rolls with dispensers, with rolls replaced before reaching their end of service. | => Policy and/or Operations Schedule => On-site Photographs => Letter of Assurance – Owner
| SC2 Reduce Surface Contact | For All Spaces except Dwelling UnitsGuest Rooms Project provides the following: a) An inventory of: • All high-touch surfaces (e.g., doorknobs/handles, telephones, elevator buttons, faucet handles, soap dispensers, security equipment). • All person-person contact points (e.g., security check-points). b) Potential temporary and/or permanent measures to reduce or eliminate frequency of contact with high-touch surfaces and person-person contact, if possible (e.g., doors opened by an attendant, touch-free faucets, voice-activated elevators, ticketless entry, transparent partitions). c) Circumstances and/or timeline in which measures will be implemented. ----------OR---------- The following requirements are met: a) Project offers hands-free operation (through foot, voice, sensor or personal electronic device) or implements other design strategies to avoid hand operation for at least three of the following: • Regularly used pedestrian entry doors to the project, during regularly occupied hours. • Elevators. • All water bottle fillers, water faucets, soap and paper towel dispensers. • Window blinds and indoor lighting switches and/or controllers. • Lids of trash, recycling and reuse bins. b) Project supports occupants in maintaining hand hygiene near the following high-touch surfaces: • Handrails, handlebars and other structures that support mobility and accessibility. • Surfaces designed to help individuals with physical and/or visual disabilities to fully utilize a space (e.g., push to open door buttons, wheelchair lift controls, tactile maps or signage). c) Project establishes and communicates rules and expectations for the usage and cleaning of shared tools and devices (e.g., photocopiers, gym equipment, communal kitchen appliances, utensils) for all regular occupants. | => Professional Narrative
| SC3 Improve Cleaning Practices | For All Spaces except Dwelling Units The project develops and implements a cleaning plan that meets the following requirements: a) Details the following: • Extent and frequency of cleaning. • Cleaning responsibilities of building occupants (if any) and cleaning staff. • Cleaning supplies and where they can be accessed. • Process to evaluate and document adherence to the cleaning plan. b) Identifies the following: • Surfaces that require disinfection (e.g., high-touch surfaces). • Frequency and/or other thresholds (e.g., number of hours, number users of a space, results from a swab test) for disinfection. • Applicable governmental registration and directions of use (e.g., contact time and dilution rates) for disinfectants. • Other non-chemical tools used for disinfection, if any. c) States the following documentation procedures: • Record keeping practices for cleaning and disinfection activities. • The chain of communications with building occupants. • A system to log feedback from occupants and cleaning staff. d) Specifies the following for cleaning materials and personal protection equipment (PPE): • PPE requirements for general cleaning and specialized tasks (e.g., disinfection or dilution or chemicals). • Color-coding for reusable and disposable cleaning cloths. • Separate cleaning of reusable cleaning materials from other clothing or products. e) Includes the following precautions for storage of cleaning products: • An identifiable, fit-for-purpose storage space in accordance with the manufacturers&rsquo; directions; bleach stored away from other products. • Color-coding and labeling of any bleach-based and ammonia-based products, indicating they are not to be mixed with one another. f) Specifies the following for cleaning tools and equipment: • HEPA rated filters for vacuum cleaners. • If carpet and woven upholstery are present, the cleaning methodology (based on manufacturer&rsquo;s recommendations), favoring hot water extraction if technically feasible. • Protocols for cleaning, maintenance and handling of waste accumulated in equipment (e.g., used vacuum cleaner bags). g) Includes the following operational aspects: • Use of cleaning and disinfection products, including dilutions (when needed) and ventilation requirements. • On-site availability of current Safety Data Sheets (SDS) of cleaning and disinfection products, in languages spoken by the cleaning staff. • Precautions to avoid slip hazards during and after floor cleaning. • Safe disposal of waste, including soiled cleaning materials and PPE. h) Outlines a training program that meets the following: • Training covers cross-contamination prevention via hand hygiene, PPE, cleaning cloth replacement, cloth handling techniques and carrying systems to separate clean tools from dirty ones. • Training is delivered to all relevant personnel including building management, building operators and contracted cleaning staff, on an annual basis. ----------OR---------- The project retains a cleaning provider organization certified under one of the following standards: a) Green Seal&reg; Standard for Commercial and Institutional Cleaning Services, GS-42, operated by Green Seal Inc. b) Cleaning Industry Management Standard (CIMS) - GB criteria, operated by ISSA. c) Nordic Swan Ecolabelling for Cleaning Services criteria, operated by Nordic Ecolabelling. d) British Institute of Cleaning Science (BISc) accredited training. | => Policy and/or Operations Schedule
| SC4 Select Preferred Cleaning Products | For All Spaces except Dwelling Units The project or organization has a cleaning policy that lists all surface cleaning and disinfection products and specifies that they meet the following requirements: a) Cleaning products as-sold meet one of the following: • Are labeled as &lsquo;low-hazard&rsquo; or &lsquo;safer&rsquo; by an ISO 14024-compliant (Type 1) Ecolabel, or by a third-party certification recognized by the local government where the project is located. Hazard criteria must be specific for the product classes within the scope of this feature. • Have ingredients disclosed through a Safety Data Sheet (SDS) that meets EU Regulation 2015/830 (CLP),15 or through a disclosure document that meets California State Bill No. 258, and there are no ingredients listed in the disclosure document present at 100 ppm (0.01%) or above that are classified with the following codes and hazard statements as defined by the Globally Harmonized System (GHS): H311, H312, H317, H334, H340, H350, H360, H372. • Meet Feature X08 Materials Optimization in WELL v2. b) Products labeled as disinfectants meet the following: • Have all antimicrobial efficacy claims registered by a governmental office and stated in their label. • Utilize only active ingredients only from the following list: citric acid, hydrogen peroxide, L-lactic acid, ethanol, isopropanol, peroxyacetic acid, sodium bisulfate, chitosan • Section 2 of the SDS does not contain the following GHS codes: H311, H312, H317, H334, H340, H350, H360, H372. | => Policy and/or Operations Schedule
| SC5 Reduce Respiratory Particle Exposure | For All Spaces except Dwelling Units The following requirements are implemented during periods when higher incidence of respiratory disease is likely: a) At least one of the following distancing strategies: • Queuing marks to increase distance between people while waiting in line (e.g., in elevator lobbies, at check-out counters) and while using moving sidewalks and escalators, as applicable. • Screens, protective furnishings or other engineering controls to reduce particle exchange at security check-ins, reception areas, check-out counters and other places with frequent interaction between occupants and a stationary worker. • Self-service systems to control ingress or egress to the project (e.g., at reception desks or checkout counters). b) At least one of the following circulation strategies: • One-way hallways and corridors. • Separate entry and exit doors at pedestrian building entrances. • Separate entry and exit for restrooms except single-user bathrooms. For All Spaces except Dwelling Units The following requirements are implemented during periods when higher incidence of respiratory disease is likely: a) All of the following in any shared spaces (e.g., meeting rooms, workspaces, communal kitchens): • Strategies to increase distance among occupants. • Expectations and requirements for usage of face coverings or personal protective equipment. • Clearly communicated rules for occupancy to reduce respiratory particle exposure and rationale for their use. b) The project or organization implements at least one of the follow communication strategies to educate occupants about the practices implemented by the project to reduce respiratory particle exposure: • Monthly communication (e.g., email, webcast) to all regular occupants. • Prominent signage (physical or digital) at all building entrances and in shared spaces. | => On-site Photographs => Policy and/or Operations Schedule => Beta Feature Feedback Form
Concept Total: 0
EMERGENCY PREPAREDNESS PROGRAMS | SE1 Develop Emergency Preparedness Plan | For All Spaces The following requirements are met: a) A risk assessment is undertaken to address at minimum the following: • Identify project assets (e.g., employees, facilities). • Establish a process for vulnerable occupants or groups (e.g., older adults, people with disabilities, pregnant women, children) to confidentially identify their specific needs for an emergency. • Evaluate potential impacts of relevant hazards and identify high-risk hazards. • Determine emergency management planning priorities. b) An emergency management plan is in place outlining response in the case of emergency situations within the building or surrounding community, addressing at minimum the following hazards: • Natural (e.g., flood, tsunami, wildfire, earthquake, heatwave). • Fire. • Health (e.g., acute medical emergency, infectious disease pandemic). • Technological (e.g., power loss, chemical spill, explosion). • Human-caused (e.g., civil unrest, active shooter, terrorism). c) The emergency management plan meets the following requirements: • Incorporates annual (at minimum) inventory and maintenance of building emergency response resources (e.g., first aid kits, automated external defibrillators (AEDs), emergency notification system, personal protective equipment) and operations capabilities (e.g., backup power, remote management systems). • Includes a list of specialized personnel that is updated annually (at minimum) and includes roles and contact information of the emergency response team. • Plan is reviewed and updated (as needed) on an annual basis and is easily accessible to all regular occupants. d) Regular occupants are provided education and training on emergency preparedness and response, including the following: • Communications about the emergency management plan and related resources, including guidance by relevant local-, state-, regional- or global-level emergency response agencies (e.g., WHO, FEMA or equivalent), annually (at minimum), to employees during new employee onboarding and during an emergency event. • Practice drills or other operations-based or discussion-based exercises conducted annually (at minimum) for each high-risk hazard identified in the risk assessment, and conducted every two years (at minimum) for other hazards covered under the emergency management plan. | => Policy and/or Operations Schedule
| SE2 Create Business Continuity Plan | For All Spaces Projects implement a business continuity plan (BCP) that addresses at minimum the following: a) Determines critical business functions, processes, supporting resources and dependencies (e.g., email, internet connectivity, third-party suppliers or service providers, interdependent departments). b) Includes a list of the roles and responsibilities of the business continuity team and convenes the team annually (at minimum) to review, test and update (as needed) the plan. c) Implements a business impact analysis to evaluate the likely effects resulting from disruption of normal business functioning due to a disaster and identifies which critical business functions should be prioritized for recovery. d) Conducts a remote work readiness assessment, including at minimum the following: • Evaluates which employees and/or positions (if any) are able to work remotely. • Evaluates which employees and/or positions (if any) have the necessary support infrastructure to work productively in a remote situation. • Evaluates whether organizational technology (e.g., company laptops, virtual private network (VPN)) is set up to support enterprise-wide remote work. • Implements the strategies necessary to support remote work readiness as determined by the evaluation, including (as applicable) methods of communication to employees during remote work and provision for alternate work locations. e) Outlines strategies to support short- and long-term continuity in various disasters (e.g., blizzard, pandemic), restore and maintain business operations following disruption and re-mobilize to address recurring disasters. | => Policy and/or Operations Schedule => Beta Feature Feedback Form
| SE3 Plan for Healthy Re-Entry | For All Spaces Projects establish a plan for re-entry into the project after or during an emergency (e.g., natural disaster, public health emergency) addressing at minimum the following: a) Consultation with regular occupants before and after re-entry to understand their needs and concerns related to re-entry. b) Safety, compliance and risk inspections of water, mechanical, electrical, ventilation and life safety systems, including necessary actions to restart building and facility systems after prolonged shutdown and approval or clearance for safe re-entry. c) A list of roles for those who will be responsible for overseeing the re-entry plan. While roles and contact information should be made available to an organization's personnel, it is not necessary to include this information in the plan submitted for purposes of verifying this feature. d) Re-evaluation and adjustment (as needed) of human resources, workplace wellness and employee support policies and amenities (e.g., use of common areas and shared spaces like wellness rooms, food provision, physical activity programs) to support a safer and healthier re-entry. e) Policy to support phased re-entry (as needed) offering part-time options, work from home flexibility and/or flexible schedules for all employees (as feasible), particularly for parents and caregivers who may have specific dependencies (e.g., due to childcare closures or a sick family member) and vulnerable groups (e.g., people with disabilities or who may be particularly vulnerable to infectious disease). f) Re-evaluation and adjustment of facilities management policies and organizational protocols to support a safer and healthier re-entry, including but not limited to: • Crowd management and spacing and physical distancing of individuals. • Heightened security measures (e.g., screening, security personnel). • Access to personal protective equipment (PPE). • Additional sanitization supplies and other cleaning or maintenance protocols. g) Contingency planning and re-closure measures should the same hazard that forced initial closure re-occur. h) Frequent communications through multiple methods (e.g., emails, signage, trainings) to all relevant stakeholders, including (as applicable) employees, occupants, residents, facilities management team, contractors and community members, on: the re-entry plan; new or altered policies; operations and procedures; relevant local-, state-, national- or global-level re-entry guidelines and how the project will address occupant health and safety concerns. i) Evaluation and incorporation of re-entry guidelines (as available) provided by a relevant local-, regional- or global-level emergency response agency (e.g., WHO, government emergency management agency or equivalent) into the plan, and adherence to instructions provided by that agency during re-entry. | => Policy and/or Operations Schedule => Beta Feature Feedback Form
| SE4 Promote Emergency Resources | For All Spaces Resources are in place that support emergency response, including at least three of the following: a) Information indicating emergency procedures (e.g., containment and response strategies for infectious disease outbreaks, evacuation during fire or earthquake, shelter-in-place during active shooter) available to all guests upon entrance to the building. b) Building emergency notification system with auditory and visual indicators of emergency (e.g., public address systems, flashing lights). c) At least one first aid kit per floor. d) AEDs accessible to any occupant within 100 meters and adoption of routine maintenance and testing schedule. The locations of building AEDs are identified through posters, signs or other forms of communication other than on the AED itself. e) Undesignated epinephrine auto-injectors for food allergy emergencies. f) Rides for employees subsidized or reimbursed by at least 50% to destination of need for emergency situations (e.g., urgent medical needs, personal or family emergency), including from home to work as needed (e.g., during public transit shutdown). For All Spaces At least two of the following are in place: a) Emergency response team for medical emergencies, including at least one certified medical professional, first responder or other qualified personnel who has received emergency medical training (e.g., Emergency Medical Technician, paramedic, police, fire service, individuals certified in advanced first aid) present within the building during regular business hours. b) Security or crisis response team for human-caused disruptions (e.g., civil unrest, active shooter). c) Annual availability to regular occupants of a certified training course on CPR, first aid and AED usage. d) Trainings to promote emergency preparedness available to regular occupants that address at least the following topics: • Creating evacuation or sheltering plans. • Building emergency kits, supplies and go-bags. • Planning communications with family or primary contacts in case of emergency. | => Policy and/or Operations Schedule
| SE5 Bolster Emergency Resilience | For All Spaces Projects implement at least one of the following: a) Designated outdoor or indoor space is made available to emergency responders, relief organizations or other equivalent institutions at no cost for alternative use in case of emergency (e.g., shelter during a natural disaster, treatment area during a pandemic). b) Funding or other resources (e.g., in partnership with local agencies providing relevant services or resources such as vouchers, shelter, clothing, food, transportation) are provided by the employer for emergency use by employees in at least two of the following critical scenarios: • Sheltering from domestic violence or abuse. • Quarantine due to infectious disease exposure. • Damage to employee housing from a disaster. c) Shelter-in-place plan for emergencies in which occupants cannot leave the project (e.g., hurricane, chemical spill) that includes the following: • A shelter-in-place kit with resources to help occupants shelter in place within the project for at least 24 hours (e.g., water, food supplies, blankets, flashlights, first aid kit). • A process for occupants or groups who may be more vulnerable (e.g., older adults, people with disabilities, pregnant women, children) to confidentially identify specific needs they may have during a shelter-in-place emergency. • Procedures for communicating to occupants the decision to evacuate or shelter-in-place during an emergency. • A commitment to incorporate shelter-in-place guidelines provided by a relevant local-, regional- or global-level emergency response agency (e.g., WHO, FEMA or equivalent) into the plan, and to adhere to instructions provided by that agency during a shelter-in-place emergency. • Annual (at minimum) occupant trainings on the shelter-in-place plan. | => Policy and/or Operations Schedule => Beta Feature Feedback Form
| SE6 Establish Health Entry Requirements | For All Spaces except Dwelling Units Projects located in a region with heightened risk of infectious respiratory disease transmission defined by a public health authority (e.g., World Health Organization, local public health agency) require at least one of the following for regular occupants to enter the space: a) Proof of vaccination, or documented exception (e.g., a medical or religious example), including necessary boosters as applicable, for the disease of heightened risk, b) Both of the following: • Proof of negative diagnostic testing for the disease of heightened risk and, for eligible employees (as applicable), access to diagnostic testing at no cost. • Face masks worn indoors by, at minimum, unvaccinated occupants. Face masks are available for all occupants.104 | => Beta Feature Feedback Form => Policy and/or Operations Schedule
Concept Total: 0
HEALTH SERVICE RESOURCES | SH1 Provide Sick Leave | For All Spaces A sick leave policy that meets the following requirements is available to all eligible employees: a) Leave is offered up front or accrued for use during any 12-month period for any health condition and meets one of the following requirements: • Short-term sick leave for all eligible employees, distinct from paid time off and family leave, at least 10 days of which are paid at 50% or higher of the employee&#39;s full salary or wages. • At least 20 days of combined paid time off and sick leave which are paid at 50% or higher of the employee&#39;s full salary or wages. b) Statement that discourages employees from coming into work when they feel sick, and from doing work while on sick leave. c) At least one of the following: • At least 12 weeks of sick leave (which may be unpaid) during any 12-month period for a chronic or serious health condition that involves inpatient care in a hospice or residential healthcare facility (e.g., stroke, infectious disease, surgery) or health condition that requires continuing treatment and/or supervision by a healthcare provider (e.g., diabetes, asthma, cancer). • Part-time options, flexible schedules or permission to work from home when recovering from serious health conditions. | => Policy and/or Operations Schedule
| SH2 Provide Health Benefits | For All Spaces The following requirements are met: a) A health benefits plan is available to all eligible employees and their designated dependents (e.g., spouse, domestic partner, child, parent, parent-in-law, grandparent, grandchild, sibling) at no cost or subsidized that includes the following services: • Medical care. • Dental care. • Vision care. • Sexual and reproductive health services, including obstetrics and gynecology (OB-GYN) services and sexually transmitted infection (STI) testing and treatment. • Medication/prescription coverage. • Essential immunizations based on region. • Preventive screenings and biometric assessments. • Tobacco cessation programs. • Infectious disease testing (e.g., tuberculosis, malaria, COVID-19) during a regional or global infectious disease outbreak, epidemic or pandemic as declared by a regional or global public health agency (e.g., WHO, disease control and prevention centers or equivalent institution) b) Confidential benefits consultations are available with clearly identified and qualified support staff (e.g., benefits counselor, human resources representative). | => Policy and/or Operations Schedule
| SH3 Support Mental Health Recovery | For All Spaces Projects offer mental health services to support recovery from a traumatic event, to all employees at no cost or subsidized, either on-site, in-person within 0.25 mi of the project boundary, or virtually, including at least three of the following: a) Crisis counseling or trauma-focused psychotherapy with qualified mental health professionals. b) Psychological first aid (PFA) training offered to all employees and/or required for manager-level employees. c) Bereavement counseling and materials on coping with grief, including resources for returning to work after a loss. d) Information on benefits coverage and how to access additional mental health services, made conveniently and confidentially accessible&zwj; to employees. | => Policy and/or Operations Schedule => Beta Feature Feedback Form
| SH4 Support Community Immunity | For All Spaces The project identifies an immunization relevant to the target population and implements an immunization program which includes the following: a) Makes the immunization available to regular occupants on at least an annual basis at no cost through either: • An on-site clinic or program. • An off-site clinic or program (e.g., free community clinic, access through health care providers) and, for employees (as applicable), paid time during the workday to receive the immunization. b) For employees, as applicable, at least one day of paid leave for recovery following immunization. c) A campaign that addresses the following: • Provides regular occupants information on how the project facilitates immunization availability. • Encourages or incentivizes, through monetary or non-monetary methods, regular occupants to receive the immunization. • Educates regular occupants on the health reasons to receive the immunization. | => Policy and/or Operations Schedule
| SH5 Promote a Smoke-Free Environment | For All Spaces The following requirement is met: a) Smoking and the use of e-cigarettes is prohibited in interior spaces within the project boundary.12 | => Policy and/or Operations Schedule
|  | For All Spaces The following requirements are met: a) Clear and visible permanent signage prohibiting smoking and vaping is located within 3 m of all functional building entrances, operable windows and building air intakes that open to any occupiable outdoor area. b) Clear and visible permanent signage describing the hazards of smoking is located in all outdoor areas designated for smoking and vaping. | => On-site Photographs => Letter of Assurance – Owner
|  | For Retail Spaces The following requirements are met for projects where retail products are sold on a daily basis: a) Sale of tobacco products (including e-cigarettes) is prohibited.11 b) Tobacco products (including e-cigarettes) are not marketed or promoted.12 | => Letter of Assurance – Owner
Concept Total: 0
AIR AND WATER QUALITY MANAGEMENT | SA1 Assess Ventilation | For All Spaces A qualified engineer provides the project with an assessment of the following: a) The extent to which the current mechanical system can operate without recirculating air b) How and if any of the potential HVAC system modifications would affect the following: • Energy consumption. • The ability to manage thermal comfort conditions (e.g., higher ventilation leading to draft, recirculation elimination straining conditioning capacity). • Maintenance processes. c) The highest supply rate of outdoor air the current mechanical system can provide. d) Potential modifications to system controls to increase supply of outdoor air (e.g., ventilating for longer hours, changing the setpoint for demand-controlled ventilation systems). | => Professional Narrative
| SA2 Assess and Maintain Air Treatment Systems | For All Spaces Project provides an inventory of all filters and UVGI equipment currently used to treat the air in the following locations (if any): a) Ducts and air handling units. b) Fan coil units. c) Standalone air cleaning devices. For All Spaces The following requirements are met: a) A qualified engineer provides the project with an assessment of at least one of the following for occupiable areas. • The highest efficiency of media or other particle filters (particularly for recirculated air, if any) that can be installed with the current mechanical system. • The capacity of the current mechanical system to utilize UVGI equipment. • The quantity of standalone air purifiers required to serve the space. b) Project provides one of the following: • Conditions under which project will install at least one of the types of treatment systems assessed. • A timeline for the installation of at least one of the types of treatment systems assessed. For All Spaces For devices identified in the System Inventory, the following requirement is met: a) Evidence that the filters and/or UV lamps have been replaced according to the manufacturer&#39;s recommendation is submitted annually through the WELL digital platform. | => Professional Narrative => On-going Maintenance Report
| SA3 Develop Legionella Management Plan | For All Spaces The project provides a Legionella management plan that meets the following requirements: a) Addresses hot water systems, cooling towers, decorative fountains and any other devices or spaces under control of the project where water is recirculated and aerosolized. b) Includes the items listed below: • Determination of roles for Legionella management in the building, distinguishing those under project control from those that may be the responsibility of building management or other parties. • Water system inventory and process flow diagrams of systems within the project boundary. • Hazard analysis of water assets within the project boundary. If the project does not operate the building hot water supply system (e.g., boilers, heaters, pumps or hot water risers), then an explanation of the building-wide Legionella management policies (if any) and how they influence risk is included. • A list of monitoring actions for relevant variables (e.g., temperature or residual chlorine), performance limits associated with these variables and corrective actions when variables exceed such limits. • A list of critical control points (locations where actions to maintain relevant variables listed in (4) within performance limits are applied) within the project boundary. • Verification and validation procedures for evaluating the suitability and proper implementation of the management plan. A Legionella sampling schedule is included if projects have operational control over cooling towers and spas. • Protocols for documenting results of monitoring activities and corrective actions. If sampling for Legionella is planned, results are included. For All Spaces The following requirement is met: a) Documentation of monitoring results, corrective actions and Legionella sample results as stated in the Legionella management plan are submitted annually through the WELL digital platform. | => Technical Document (Audited) => On-going Maintenance Report
| SA4 Monitor Air and Water Quality | For All Spaces except Dwelling Units The following pollutants are monitored in occupiable spaces (with a quantity and location of sampling points complying with the requirements outlined in the Performance Verification Guidebook) at intervals no longer than once per year, and results are submitted annually through the WELL digital platform: a) Ozone. b) Carbon Monoxide. c) PM2.5 and/or PM10. d) Total VOCs and/or Formaldehyde. For All Spaces except Dwelling Units The following requirements are met: a) The following parameters are sampled at drinking water dispensers in occupiable spaces at intervals of no less than once per year. 1. Turbidity. 2. pH. 3. Residual (free) chlorine. 4. Total coliforms, only if residual chlorine is below detection limits. b) Tests are required at 5% of drinking water dispensers, up to a maximum of four tests. c) The water quality results are submitted annually through the WELL digital platform. | => On-going Data Report
| SA5 Manage Mold and Moisture | For All Spaces The project implements a moisture management plan for building operations that contains the following: a) A system for occupants and tenants to notify building management about mold or water damage. b) A schedule of periodic inspections for signs and potential sources of water damage or pooling, discoloration and mold on ceilings, walls, floors and HVAC equipment. c) A system or inspection protocol to periodically assess water pipe leaks. For All Spaces The following requirement is met: a) Results of inspections for mold and leaks (including any mold test results) are submitted annually through the WELL digital platform. | => Policy and/or Operations Schedule => On-going Maintenance Report
Concept Total: 0
STAKEHOLDER ENGAGEMENT AND COMMUNICATION | SS1 Promote Health and Well-Being | For All Spaces The project or organization establishes a health-oriented mission that meets the following requirements: a) Connects supporting and improving occupant health to the organizational objectives or mission statement. b) Outlines the project&rsquo;s or organization&#39;s objectives for health promotion. | => Policy and/or Operations Schedule
|  | For All Spaces A physical or digital WELL feature guide, such as the WELL report, will be prominently displayed and/or made widely available to all occupants upon certification achievement or completion of a review cycle, meeting the following requirements: a) Describes the WELL features achieved by the project or organization. For All Spaces The following requirement is met: a) Quarterly communications (e.g., emails, modules, trainings) are sent to regular occupants, and onboarding communications are given to new employees (as applicable), about health resources, programs, amenities and policies available to them addressed by the WELL features achieved by the project or organization. | => Policy and/or Operations Schedule
| SS2 Share Food Inspection Information | For All Spaces All food service establishments within project boundary have at least one of the following prominently displayed on-premises and clearly visible to customers entering the establishment: a) Publicly available food hygiene or sanitary inspection report by the local health department or other third-party inspection agency. b) Scoring or letter grading system issued by the local health department or other third-party inspection agency. | => On-site Photographs => Letter of Assurance – Owner => Beta Feature Feedback Form
Concept Total: 0
INNOVATION | SI1 Innovation I | For All Spaces The project submits a proposal that meets the following requirements: a) Positively impacts project occupants by relating to acute health and safety in a novel way that is not covered in the WELL Health-Safety Rating. b) Substantiated by existing scientific, medical and/or industry research. c) Consistent with applicable laws and regulations and leading practices in building design and operations. ----------OR---------- At least one member of the project team: a) Has achieved the WELL Accredited Professional credential. b) Maintains accreditation until project’s initial rating is achieved. ----------OR---------- Project completes the requirements listed in any one of the following features, and submits the corresponding verification method document(s): a) One of the following Air features: WELL v2 feature WELL v2 pilot feature A01 Air Quality, Parts 1,2,3,4 OR A01 Fundamental Air Quality Parts 1, 2 ,3, 4 A06 Enhanced Ventilation Part 1, Option 1 or 3 &ndash; 2 points OR A06 Enhanced Ventilation Part 1 - 2 points A06 Enhanced Ventilation Part 1, Option 2 OR A06 Enhanced Ventilation Part 2 - 2 points A06 Enhanced Ventilation Part 2, Option 1 OR A06 Enhanced Ventilation Part 3 A06 Enhanced Ventilation Part 2, Option 2 OR A06 Enhanced Ventilation Part 4 - 2 points A07 Operable Windows Part 1 OR A07 Operable Windows Part 1 A08 Air Quality Monitoring and Awareness Part 1 OR A08 Air Quality Monitoring and Awareness Part 1 A11 Source Separation Part 1 OR A11 Source Separation Part 1 A12 Air Filtration Part 1 OR A12 Air Filtration Part 1 A13 Enhanced Supply Air - A14 Microbe and Mold Control Part 1 OR A14 Microbe and Mold Control Part 1 b) One of the following Water features: WELL v2 feature WELL v2 pilot feature W01 Water Quality Indicators Part 1 and W02 Drinking Water Quality Parts 1, 2 OR W01 Fundamental Water Quality Parts 1, 2 and W02 Water Contaminants Parts 1, 2, 3, 4, 5, 6 (must do both to achieve 1 Innovation) W07 Moisture Management Part 1 OR W07 Moisture Management Part 1 W07 Moisture Management Parts 2 OR W07 Moisture Management Parts 2, 3 W08 Hygiene Support Part 3 OR W08 Handwashing Part 1 W09&szlig; Onsite Non-Potable Water Reuse Part 1 OR W09&szlig; Onsite Non-Potable Water Reuse Part 1 c) One of the following Movement features: WELL v2 feature WELL v2 pilot feature V03 Circulation Network Parts 1, 2 OR 3 OR V03 Movement Network and Circulation Parts 1, 2 OR 3 V04 Facilities for Active Occupants Parts 1 AND 2 OR V04 Active Commuter and Occupant Support Parts 1 AND 2 d) The following Thermal Comfort feature: WELL v2 feature WELL v2 pilot feature T07 Humidity Control Part 1 OR T07 Humidity Control Part 1 e) The following Community feature: WELL v2 feature WELL v2 pilot feature C13 Accessibility and Universal Design Part 1 OR C13 Accessibility and Universal Design Part 2 ----------OR---------- One of the following requirements are met: a) The project is WELL Precertified. This strategy may be used for one Innovation feature. b) The project is WELL Certified. This strategy may be used for all three Innovation features. c) The project is WELL Performance Rated. This strategy may be used for one Innovation feature. | => Innovation Form => Technical Document (Audited)
| SI2 Innovation II | For All Spaces The project submits a proposal that meets the following requirements: a) Positively impacts project occupants by relating to acute health and safety in a novel way that is not covered in the WELL Health-Safety Rating. b) Substantiated by existing scientific, medical and/or industry research. c) Consistent with applicable laws and regulations and leading practices in building design and operations. ----------OR---------- At least one member of the project team: a) Has achieved the WELL Accredited Professional credential. b) Maintains accreditation until project’s initial rating is achieved. ----------OR---------- Project completes the requirements listed in any one of the following features, and submits the corresponding verification method document(s): a) One of the following Air features: WELL v2 feature WELL v2 pilot feature A01 Air Quality, Parts 1,2,3,4 OR A01 Fundamental Air Quality Parts 1, 2 ,3, 4 A06 Enhanced Ventilation Part 1, Option 1 or 3 &ndash; 2 points OR A06 Enhanced Ventilation Part 1 - 2 points A06 Enhanced Ventilation Part 1, Option 2 OR A06 Enhanced Ventilation Part 2 - 2 points A06 Enhanced Ventilation Part 2, Option 1 OR A06 Enhanced Ventilation Part 3 A06 Enhanced Ventilation Part 2, Option 2 OR A06 Enhanced Ventilation Part 4 - 2 points A07 Operable Windows Part 1 OR A07 Operable Windows Part 1 A08 Air Quality Monitoring and Awareness Part 1 OR A08 Air Quality Monitoring and Awareness Part 1 A11 Source Separation Part 1 OR A11 Source Separation Part 1 A12 Air Filtration Part 1 OR A12 Air Filtration Part 1 A13 Enhanced Supply Air - A14 Microbe and Mold Control Part 1 OR A14 Microbe and Mold Control Part 1 b) One of the following Water features: WELL v2 feature WELL v2 pilot feature W01 Water Quality Indicators Part 1 and W02 Drinking Water Quality Parts 1, 2 OR W01 Fundamental Water Quality Parts 1, 2 and W02 Water Contaminants Parts 1, 2, 3, 4, 5, 6 (must do both to achieve 1 Innovation) W07 Moisture Management Part 1 OR W07 Moisture Management Part 1 W07 Moisture Management Parts 2 OR W07 Moisture Management Parts 2, 3 W08 Hygiene Support Part 3 OR W08 Handwashing Part 1 W09&szlig; Onsite Non-Potable Water Reuse Part 1 OR W09&szlig; Onsite Non-Potable Water Reuse Part 1 c) One of the following Movement features: WELL v2 feature WELL v2 pilot feature V03 Circulation Network Parts 1, 2 OR 3 OR V03 Movement Network and Circulation Parts 1, 2 OR 3 V04 Facilities for Active Occupants Parts 1, 2 OR V04 Active Commuter and Occupant Support Parts 1, 2 d) The following Thermal Comfort feature: WELL v2 feature WELL v2 pilot feature T07 Humidity Control Part 1 OR T07 Humidity Control Part 1 e) The following Community feature: WELL v2 feature WELL v2 pilot feature C13 Accessibility and Universal Design Part 1 OR C13 Accessibility and Universal Design Part 2 ----------OR---------- One of the following requirements are met: a) The project is WELL Precertified. This strategy may be used for one Innovation feature. b) The project is WELL Certified. This strategy may be used for all three Innovation features. c) The project is WELL Performance Rated. This strategy may be used for one Innovation feature. | => Innovation Form => Technical Document (Audited)
| SI3 Innovation III | For All Spaces The project submits a proposal that meets the following requirements: a) Positively impacts project occupants by relating to acute health and safety in a novel way that is not covered in the WELL Health-Safety Rating. b) Substantiated by existing scientific, medical and/or industry research. c) Consistent with applicable laws and regulations and leading practices in building design and operations. ----------OR---------- At least one member of the project team: a) Has achieved the WELL Accredited Professional credential. b) Maintains accreditation until project’s initial rating is achieved. ----------OR---------- Project completes the requirements listed in any one of the following features, and submits the corresponding verification method document(s): a) One of the following Air features: WELL v2 feature WELL v2 pilot feature A01 Air Quality, Parts 1,2,3,4 OR A01 Fundamental Air Quality Parts 1, 2 ,3, 4 A06 Enhanced Ventilation Part 1, Option 1 or 3 &ndash; 2 points OR A06 Enhanced Ventilation Part 1 - 2 points A06 Enhanced Ventilation Part 1, Option 2 OR A06 Enhanced Ventilation Part 2 - 2 points A06 Enhanced Ventilation Part 2, Option 1 OR A06 Enhanced Ventilation Part 3 A06 Enhanced Ventilation Part 2, Option 2 OR A06 Enhanced Ventilation Part 4 - 2 points A07 Operable Windows Part 1 OR A07 Operable Windows Part 1 A08 Air Quality Monitoring and Awareness Part 1 OR A08 Air Quality Monitoring and Awareness Part 1 A11 Source Separation Part 1 OR A11 Source Separation Part 1 A12 Air Filtration Part 1 OR A12 Air Filtration Part 1 A13 Enhanced Supply Air - A14 Microbe and Mold Control Part 1 OR A14 Microbe and Mold Control Part 1 b) One of the following Water features: WELL v2 feature WELL v2 pilot feature W01 Water Quality Indicators Part 1 and W02 Drinking Water Quality Parts 1, 2 OR W01 Fundamental Water Quality Parts 1, 2 and W02 Water Contaminants Parts 1, 2, 3, 4, 5, 6 (must do both to achieve 1 Innovation) W07 Moisture Management Part 1 OR W07 Moisture Management Part 1 W07 Moisture Management Parts 2 OR W07 Moisture Management Parts 2, 3 W08 Hygiene Support Part 3 OR W08 Handwashing Part 1 W09&szlig; Onsite Non-Potable Water Reuse Part 1 OR W09&szlig; Onsite Non-Potable Water Reuse Part 1 c) One of the following Movement features: WELL v2 feature WELL v2 pilot feature V03 Circulation Network Parts 1, 2 OR 3 OR V03 Movement Network and Circulation Parts 1, 2 OR 3 V04 Facilities for Active Occupants Parts 1, 2 OR V04 Active Commuter and Occupant Support Parts 1, 2 d) The following Thermal Comfort feature: WELL v2 feature WELL v2 pilot feature T07 Humidity Control Part 1 OR T07 Humidity Control Part 1 e) The following Community feature: WELL v2 feature WELL v2 pilot feature C13 Accessibility and Universal Design Part 1 OR C13 Accessibility and Universal Design Part 2 ----------OR---------- One of the following requirements are met: a) The project is WELL Precertified. This strategy may be used for one Innovation feature. b) The project is WELL Certified. This strategy may be used for all three Innovation features. c) The project is WELL Performance Rated. This strategy may be used for one Innovation feature. | => Innovation Form => Technical Document (Audited)
| SI4 Innovation IV | For All Spaces The project submits a proposal that meets the following requirements: a) Positively impacts project occupants by relating to acute health and safety in a novel way that is not covered in the WELL Health-Safety Rating. b) Substantiated by existing scientific, medical and/or industry research. c) Consistent with applicable laws and regulations and leading practices in building design and operations. ----------OR---------- At least one member of the project team: a) Has achieved the WELL Accredited Professional credential. b) Maintains accreditation until project&rsquo;s initial rating is achieved. ----------OR---------- Project completes the requirements listed in any one of the following features, and submits the corresponding verification method document(s): a) One of the following Air features: WELL v2 feature WELL v2 pilot feature A01 Air Quality, Parts 1,2,3,4 OR A01 Fundamental Air Quality Parts 1, 2 ,3, 4 A06 Enhanced Ventilation Part 1, Option 1 or 3 &ndash; 2 points OR A06 Enhanced Ventilation Part 1 - 2 points A06 Enhanced Ventilation Part 1, Option 2 OR A06 Enhanced Ventilation Part 2 - 2 points A06 Enhanced Ventilation Part 2, Option 1 OR A06 Enhanced Ventilation Part 3 A06 Enhanced Ventilation Part 2, Option 2 OR A06 Enhanced Ventilation Part 4 - 2 points A07 Operable Windows Part 1 OR A07 Operable Windows Part 1 A08 Air Quality Monitoring and Awareness Part 1 OR A08 Air Quality Monitoring and Awareness Part 1 A11 Source Separation Part 1 OR A11 Source Separation Part 1 A12 Air Filtration Part 1 OR A12 Air Filtration Part 1 A13 Enhanced Supply Air - A14 Microbe and Mold Control Part 1 OR A14 Microbe and Mold Control Part 1 b) One of the following Water features: WELL v2 feature WELL v2 pilot feature W01 Water Quality Indicators Part 1 and W02 Drinking Water Quality Parts 1, 2 OR W01 Fundamental Water Quality Parts 1, 2 and W02 Water Contaminants Parts 1, 2, 3, 4, 5, 6 (must do both to achieve 1 Innovation) W07 Moisture Management Part 1 OR W07 Moisture Management Part 1 W07 Moisture Management Parts 2 OR W07 Moisture Management Parts 2, 3 W08 Hygiene Support Part 3 OR W08 Handwashing Part 1 W09&szlig; Onsite Non-Potable Water Reuse Part 1 OR W09&szlig; Onsite Non-Potable Water Reuse Part 1 c) One of the following Movement features: WELL v2 feature WELL v2 pilot feature V03 Circulation Network Parts 1, 2 OR 3 OR V03 Movement Network and Circulation Parts 1, 2 OR 3 V04 Facilities for Active Occupants Parts 1, 2 OR V04 Active Commuter and Occupant Support Parts 1, 2 d) The following Thermal Comfort feature: WELL v2 feature WELL v2 pilot feature T07 Humidity Control Part 1 OR T07 Humidity Control Part 1 e) The following Community feature: WELL v2 feature WELL v2 pilot feature C13 Accessibility and Universal Design Part 1 OR C13 Accessibility and Universal Design Part 2 ----------OR---------- One of the following requirements are met: a) The project is WELL Precertified. This strategy may be used for one Innovation feature. b) The project is WELL Certified. This strategy may be used for all three Innovation features. c) The project is WELL Performance Rated. This strategy may be used for one Innovation feature. | => Innovation Form => Technical Document (Audited)
| SI5 Innovation V | For All Spaces The project submits a proposal that meets the following requirements: a) Positively impacts project occupants by relating to acute health and safety in a novel way that is not covered in the WELL Health-Safety Rating. b) Substantiated by existing scientific, medical and/or industry research. c) Consistent with applicable laws and regulations and leading practices in building design and operations. ----------OR---------- At least one member of the project team: a) Has achieved the WELL Accredited Professional credential. b) Maintains accreditation until project&rsquo;s initial rating is achieved. ----------OR---------- Project completes the requirements listed in any one of the following features, and submits the corresponding verification method document(s): a) One of the following Air features: WELL v2 feature WELL v2 pilot feature A01 Air Quality, Parts 1,2,3,4 OR A01 Fundamental Air Quality Parts 1, 2 ,3, 4 A06 Enhanced Ventilation Part 1, Option 1 or 3 &ndash; 2 points OR A06 Enhanced Ventilation Part 1 - 2 points A06 Enhanced Ventilation Part 1, Option 2 OR A06 Enhanced Ventilation Part 2 - 2 points A06 Enhanced Ventilation Part 2, Option 1 OR A06 Enhanced Ventilation Part 3 A06 Enhanced Ventilation Part 2, Option 2 OR A06 Enhanced Ventilation Part 4 - 2 points A07 Operable Windows Part 1 OR A07 Operable Windows Part 1 A08 Air Quality Monitoring and Awareness Part 1 OR A08 Air Quality Monitoring and Awareness Part 1 A11 Source Separation Part 1 OR A11 Source Separation Part 1 A12 Air Filtration Part 1 OR A12 Air Filtration Part 1 A13 Enhanced Supply Air - A14 Microbe and Mold Control Part 1 OR A14 Microbe and Mold Control Part 1 b) One of the following Water features: WELL v2 feature WELL v2 pilot feature W01 Water Quality Indicators Part 1 and W02 Drinking Water Quality Parts 1, 2 OR W01 Fundamental Water Quality Parts 1, 2 and W02 Water Contaminants Parts 1, 2, 3, 4, 5, 6 (must do both to achieve 1 Innovation) W07 Moisture Management Part 1 OR W07 Moisture Management Part 1 W07 Moisture Management Parts 2 OR W07 Moisture Management Parts 2, 3 W08 Hygiene Support Part 3 OR W08 Handwashing Part 1 W09&szlig; Onsite Non-Potable Water Reuse Part 1 OR W09&szlig; Onsite Non-Potable Water Reuse Part 1 c) One of the following Movement features: WELL v2 feature WELL v2 pilot feature V03 Circulation Network Parts 1, 2 OR 3 OR V03 Movement Network and Circulation Parts 1, 2 OR 3 V04 Facilities for Active Occupants Parts 1, 2 OR V04 Active Commuter and Occupant Support Parts 1, 2 d) The following Thermal Comfort feature: WELL v2 feature WELL v2 pilot feature T07 Humidity Control Part 1 OR T07 Humidity Control Part 1 e) The following Community feature: WELL v2 feature WELL v2 pilot feature C13 Accessibility and Universal Design Part 1 OR C13 Accessibility and Universal Design Part 2 ----------OR---------- One of the following requirements are met: a) The project is WELL Precertified. This strategy may be used for one Innovation feature. b) The project is WELL Certified. This strategy may be used for all three Innovation features. c) The project is WELL Performance Rated. This strategy may be used for one Innovation feature. | => Innovation Form => Technical Document (Audited)
| SI6 Gateways to Health-Safety | For All Spaces The following requirement is met: a) The project is certified in a third-party rating system approved by IWBI for the WELL Health-Safety Rating and listed on IWBI’s website (https://v2.wellcertified.com/resources/preapproved-programs). | => Technical Document (Audited)
Concept Total: 0