Cleaning and Sanitization Procedures

Improve Cleaning Practices

WELL Health-Safety Rating™

HOW TO USE THIS DOCUMENT:

This document is intended to serve as a guide on how to create a project policy/ops schedule to provide effective cleaning by establishing adequate cleaning protocols and practices.

This document is meant to demonstrate an acceptable degree of detail for a documentation submission. The Feature cannot be demonstrated solely through a confirmation that the requirements have been or will be implemented. The level of detail is up to the discretion of the project team, but the documents must include specific details demonstrating that the actual policies/protocols have been enacted in the project boundary.

This document and similar tools are intended to assist projects in their pursuit of the WELL Health-Safety Rating but use

of this document and/or similar tools are in no way a guarantee of achievement of any rating or designation, and no representation or warranty is made regarding the likelihood of achieving any rating or designation.

The below sample documentation is intended to provide guidance in creating an effective Cleaning Practices policy.

It is not a template. You may note included components that are not required to demonstrate compliance with this Feature.

EXAMPLE DOCUMENT

Example for Section a

[Company] Cleaning Plan and Practices

This cleaning plan applies to all cleaning protocols and procedures that occur inside the [Company] facility. The goal of the plan is to provide cleaning and disinfection requirements while reducing the exposure of the occupants and maintenance personnel to pathogens, allergens, and harmful cleaning chemicals; which adversely impact air quality, health, finishes, building systems and the environment.

Responsible Parties

The [facility maintenance staff] are responsible for ensuring that this plan is executed and that any contracted cleaning vendors under management’s control are aware of and fully trained on the procedures outlined in this policy. All inquiries regarding this policy and cleaning procedures should be directed to the following maintenance staff personnel:

REDACTED

| NAME | TITLE | PHONE NUMBER(S) | EMAIL |
| --- | --- | --- | --- |

a1. Extent and Frequency of Cleaning

The cleaning and disinfecting extent and frequency of cleaning are determined by the amount of surface usage. High touch surfaces present increased risk for contamination, particularly in high transit areas, and may require more frequent disinfection and thorough sanitization (e.g., daily and/or multiple times per day). Whereas, unnecessary disinfection and sanitization for low-touch surfaces can negatively impact immune health.

| HIGH-TOUCH SURFACES |  |  |  |
| --- | --- | --- | --- |
| Surface Type | Location | Cleaning Strategy | Frequency |
| [e.g., doorknobs, handles and fixtures, light switches, countertops, etc.] | [e.g., bathrooms, even-numbered workstations, etc.] | [e.g., wipe and use all-purpose cleaner, vacuum clean, disinfect, etc.] | [e.g., weekly vacuum cleaning and monthly wet carpet cleaning, etc.] |

a2. Cleaning Responsibilities

[Maintenance staff] are responsible for cleaning all public areas of the project space as outlined in the Cleaning Plan for the project. Building occupants are requested to use the unscented spray provided under the break room sink to clean the surfaces within their individual workstation and report any areas that require attention to the cleaning staff or the receptionist on duty.

a3. Location of Cleaning Supplies Available

The approved cleaning products purchased for use by the cleaning staff are in the janitor’s closets outside of the restrooms on the [X, Y, Z] floor(s). Additionally, approved products for use by the building occupants are located under each of the break room sinks.

a4. Cleaning Plan Adherence

To ensure that the plan is being followed cleaning logs must be maintained to document daily cleaning processes. Additionally, monthly meetings between the [Facilities Manager (Employee Name)] and [Housekeeping Manager (Employee Name)] will be held to go over the cleaning logs, discuss cleaning staffing, and evaluate adherence to the cleaning plan. Adherence to plan will be also verified by monthly ATP testing conducted by a third-party provider [XYZ].

EXAMPLE DOCUMENT

Example for Section b

| SURFACES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Surface Type | Cleaning Technique | Product and applicable Governmental Registration | Directions for Use | Cleaning Frequency |
| [Entrance Door Handle] | [Disinfectant spray and a clean microfiber towel + UV cleaning device] | [Best Disinfecting Spray, EPA Registration Number 5555-5-5555] | [Wet Clean: Do not dilute the product. Allow to let rest on the surface for 1 minute, as directed by the manufacturer, to ensure disinfection] | [Wet clean 3 x daily (mid-morning, mid-afternoon, and after hours) Mon – Friday. UV Wand daily for 30 seconds per handle once per hour during events or once daily, Monday – Friday, for normal business operating hours.] |

EXAMPLE DOCUMENT

Example for Section c

Cleaning Plan Documentation Procedures

To ensure effective documentation and communication of this cleaning plan, a [name the system in place for the project] has been implemented.

Recordkeeping

[Insert recordkeeping procedures (e.g., Routine recordkeeping of cleaning and disinfecting practices performed is an important process for ensuring the cleaning procedures are properly implemented and carried out in a consistent manner. This [system] includes recordkeeping forms for cleaning staff to log daily when the cleaning and disinfection activities outlined in this plan have been completed, and to allow for the cleaning staff to submit any feedback.)]

Chain of Communications

[Insert chain of communications procedures (e.g., (e.g., A formal communication chain is the foundation for maintaining effective cleaning practices in our facility. This [system] includes procedures for communicating with building occupants. Clearly communicating our cleaning procedures and policies with building occupants and visitors is essential in ensuring a safe environment for our employees and visitors. An outline of our cleaning protocols shall be emailed to all employees, as well as printed copies visually communicating our cleaning practices posted in all public areas.)]

System Feedback

[Insert system feedback procedures (e.g., Building occupants have access to this [system] to note any cleaning related concerns or requests to the appropriate parties. This [system] will be monitored by the [Facilities Manager (Employee Name)] and [Housekeeping Manager (Employee Name)] and communications will be automatically routed to the responsible parties for appropriate follow-up. All data logged by the [system] will be stored in the building maintenance files and all concerns and requests must be responded to within [48 hours]. The [system] streamlines feedback from building occupants and cleaning staff so that issues identified can be tracked and resolved in an expedited manner.

EXAMPLE DOCUMENT

Example for Section d

Cleaning Materials and Personal Protection Equipment (PPE)

| Color Code for Cleaning Cloths | Cleaning Activity | Storage/Disposal Instructions |
| --- | --- | --- |
| BLUE | [General Cleaning] | [Reusable cleaning cloths which must be washed and sanitized separately] |
| RED | [Restroom Cleaning (e.g., toilets/urinals and floors)] | [Disposable cleaning cloths, and mops which must be washed and sanitized separately] |
| GREEN | [Kitchen Surfaces (e.g., sinks, countertops, soap dispensers)] |  |
| YELLOW |  |  |

| Cleaning Activity | Cleaning Technique | Cleaning Materials | PPE Requirements |
| --- | --- | --- | --- |
| [General Cleaning] | [Dust/Vacuum/spot clean] | [Reusable cleaning cloths which must be washed and sanitized separately] | [Type 2 gloves and a Type 2 mask must be worn at all times.] |
| [Restroom Cleaning (e.g., toilets/urinals and floors)] | [Disinfectant spray and dilution of chemicals] | [Disposable cleaning cloths, and mops must be washed and sanitized separately] | [Type 1 gloves and a Type 1 mask must be worn at all times.] |
| [Kitchen Surfaces (e.g., sinks, countertops, soap dispensers)] | [Wipe down with disinfectant spray] |  |  |

EXAMPLE DOCUMENT

Example for Section e

Storage of Cleaning Products

Note that this building has in place a designated chemical storage area that has been designed to store all materials needed to carry out this Cleaning Plan. The designated chemical storage area is located [e.g. in the janitor’s closet near the restrooms on the third floor]. All products containing bleach are stored [e.g. in the lower cabinet in the designated area]. Additional instructions for the maintenance of this zone can be found posted in the space.

Bleach and ammonia are toxic when mixed. Therefore, all materials containing bleach are marked with [e.g. a black label that says do not mix with blue label products] and products containing ammonia are identified with [e.g. a blue label that says do not mix black label products] to communicate that these items are not to be mixed with one another.

EXAMPLE DOCUMENT

Example for Section  f

Cleaning Tools and Equipment

- All vacuum cleaners used in the project must use HEPA rated filters.

- Carpet and upholstery cleaning (e.g., furniture) must follow the manufacturer’s cleaning recommendations and utilize hot water extraction when feasible. It is our policy that this is the only carpet cleaning equipment that is permitted to be used in this space.

Protocols for Equipment Cleaning and Maintenance

- [Type of equipment, e.g. Vacuum cleaners] must be cleaned and maintained [cleaning frequency, e.g. weekly or after each use] by [describe the cleaning protocol, e.g. removing all loose debris from the floor brushes, emptying the basin, and rinsing the front filter].

- Waste from cleaning equipment (such as the debris collected by the vacuum cleaners and hard surface floor cleaning equipment) [describe the disposal protocol, e.g. disposed of in sealed plastic trash bags in the exterior dumpsters].

EXAMPLE DOCUMENT

Example for Section g

Operational Aspects

- Ensure caution is used when using the [name the product]. This solution must be diluted [state the dilution instructions, as applicable, e.g. in a ratio of 1-part concentrate to 3-parts water]. [State the ventilation requirements for product use, based on the manufacturer’s recommendations and the design of the project space, e.g. At all times when handling this product ensure that the space is actively exhausted.] [Repeat, as necessary, to ensure that all cleaning and disinfection products are addressed.]

- A [state the format that the SDS sheets will be available in, e.g. binder] containing the current Safety Data Sheets (SDS) of the cleaning and disinfection products approved for use in the project will be stored [state the location, e.g. in the cleaning products storage cabinet in the janitor’s closet]. This material will be provided in [state the applicable languages].

.

- Describe the precautions are taken <temporary caution signs, etc.> to avoid slip hazards during and after floor cleaning

- [Describe the materials covered by the policy, e.g. All cleaning waste, including paper towels and used PPE,] must be disposed of in the [state the desired location e.g. the covered trash cans provided in the basement waste storage area and designated for this purpose].

EXAMPLE DOCUMENT

Example for Section h

Cleaning Training Program

The intent of this policy is to ensure that all stakeholders are actively engaged in limiting cross-contamination via the strategies outlined in this document and the [state the frequency (minimum annually)] training that must be completed by building management and building operators [define all relevant personnel that the policy applies to (e.g. including contracted cleaning staff, as applicable)].

Training Program Summary

Hand hygiene:

[Insert Strategy (e.g., Encourage hand hygiene among building users)

[Insert Strategy]

PPE:

[Insert Strategy – (e.g., Ensure PPE is properly put on and taken off to prevent self and environmental contamination)]

[Insert Strategy]

Cleaning cloth replacement:

[Insert Strategy (e.g., follow manufacturer’s instructions for cloth care, cleaning and replacement]

[Insert Strategy]

Cloth handling techniques:

[Insert Strategy (e.g., use a color-coded cloth system for different areas/surface types to avoid cross-contamination]

[Insert Strategy]

Carrying systems to separate clean tools from dirty ones:

[Insert Strategy – (e.g., used cleaning tools must be kept in a separate bag that ties]

[Insert Strategy]

TIPS FOR MULTIPLE LOCATIONS

- For organizations participating in WELL Portfolio or the multiple projects pathway, this Policy and/or Operations Schedule is categorized as Shareable. It may be shared across multiple projects, as long as they all meet the strategies that are outlined in the document.

  - If you have projects pursuing the rating together that have different cleaning practices, distinct documentation should be developed for each.  Identify each of the specific projects by name (must match project names in WELL Online).