## HVAC Maintenance (F5, F6)
HVAC Maintenance
The below operations schedule addresses the requirements of precondition Feature 05, Part 3 and precondition Feature 06, Part 1b in the WELL Building Standard v1.
FEATURE 05: AIR FILTRATION |  |  |  | FEATURE 06: MICROBE AND MOLD CONTROL
PART 3: AIR FILTRATION MAINTENANCE |  |  |  | PART 1b: COOLING COIL MOLD REDUCTION
To verify that the filtration system continues to operate as designed, projects must annually provide IWBI with: |  |  |  | In buildings that rely on a mechanical system for cooling, one of the following requirements is met:
a. Records of air filtration maintenance, including evidence that filters have been properly maintained as per |  |  |  | a. Ultraviolet lamps (using a wavelength of 254 nm so as not to generate ozone) are employed on the cooling coils and drain pans
the manufacturer's recommendations. |  |  |  | of the mechanical system supplies. Irradiance reaching the cooling coil and drain pan, including the plenum corners, is modeled.
b. Building policy states that all cooling coils are inspected on a quarterly basis for mold growth and cleaned if necessary.
Dated photos demonstrating adherence are provided to the IWBI on an annual basis.
PROVIDE FOR EVERY FILTER IN THE PROJECT:
Filter model: _____________________________________________ |  | Filter location: _____________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
Filter model: _____________________________ |  | Filter location: _____________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
DATE | LOCATION | PRODUCT NAME | ACTION | ACTION FREQUENCY | RESPONSIBLE PARTY
Example: 04/25/17 | Mechanical room A | MERV 13 Filter | MERV 13 filters replaced | << e.g. MONTHLY >> | John Smith, Company A
Example: 04/25/17 | Mechanical room A | Cooling Coils | Cooling coils were cleaned and photos were captured. | QUARTERLY | John Smith, Company A

## Air Quality Data (F18)
Air Quality Data
The below date sheet addresses the requirements of optimization Feature 18, Part 1 in the WELL Building Standard v1.
FEATURE 18: AIR QUALITY MONITORING AND FEEDBACK
PART 1: INDOOR AIR MONITORING
Monitors measure 2 of the following pollutants in a regularly occupied or common space (minimum one per floor) within the building, at intervals no longer than once an hour (measured at 1.2-1.8 m [4-6 ft] above the floor),
and results are annually transmitted to the IWBI:
a. Particle count (resolution 35,000 counts per m³ [1,000 counts per ft³] or finer) or particle mass (resolution 10 μg/m³ or finer).
b. Carbon dioxide (resolution 25 ppm or finer).
c. Ozone (resolution 10 ppb or finer).
NOTE: To give you an example of what this data MIGHT look like, this template provides one acceptable format. Your project does NOT need to fill out this sheet. If your project collects and tracks data in a different manner, simply submit that data as annual documentation.
Day | Hour | January |  |  | February |  |  | March |  |  | April |  |  | May |  |  | June |  |  | July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
|  | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone | Particle Count/Mass | CO2 | Ozone
1 | 0:00
1 | 1:00
1 | 2:00
1 | 3:00
1 | 4:00
1 | 5:00
1 | 6:00
1 | 7:00
1 | 8:00
1 | 9:00
1 | 10:00
1 | 11:00
1 | 12:00
1 | 13:00
1 | 14:00
1 | 15:00
1 | 16:00
1 | 17:00
1 | 18:00
1 | 19:00
1 | 20:00
1 | 21:00
1 | 22:00
1 | 23:00
2 | 24:00
2 | 25:00
2 | 26:00
2 | 27:00
2 | 28:00
2 | 29:00
2 | 30:00
2 | 31:00
2 | 32:00
2 | 33:00
2 | 34:00
2 | 35:00
2 | 36:00
2 | 37:00
2 | 38:00
2 | 39:00
2 | 40:00
2 | 41:00
2 | 42:00
2 | 43:00
2 | 44:00
2 | 45:00
2 | 46:00
2 | 47:00
3 | 48:00
3 | 49:00
3 | 50:00
3 | 51:00
3 | 52:00
3 | 53:00
3 | 54:00
3 | 55:00
3 | 56:00
3 | 57:00
3 | 58:00
3 | 59:00
3 | 60:00
3 | 61:00
3 | 62:00
3 | 63:00
3 | 64:00
3 | 65:00
3 | 66:00
3 | 67:00
3 | 68:00
3 | 69:00
3 | 70:00
3 | 71:00
4 | 72:00
4 | 73:00
4 | 74:00
4 | 75:00
4 | 76:00
4 | 77:00
4 | 78:00
4 | 79:00
4 | 80:00
4 | 81:00
4 | 82:00
4 | 83:00
4 | 84:00
4 | 85:00
4 | 86:00
4 | 87:00
4 | 88:00
4 | 89:00
4 | 90:00
4 | 91:00
4 | 92:00
4 | 93:00
4 | 94:00
4 | 95:00
5 | 96:00
5 | 97:00
5 | 98:00
5 | 99:00
5 | 100:00
5 | 101:00
5 | 102:00
5 | 103:00
5 | 104:00
5 | 105:00
5 | 106:00
5 | 107:00
5 | 108:00
5 | 109:00
5 | 110:00
5 | 111:00
5 | 112:00
5 | 113:00
5 | 114:00
5 | 115:00
5 | 116:00
5 | 117:00
5 | 118:00
5 | 119:00
6 | 120:00
6 | 121:00
6 | 122:00
6 | 123:00
6 | 124:00
6 | 125:00
6 | 126:00
6 | 127:00
6 | 128:00
6 | 129:00
6 | 130:00
6 | 131:00
6 | 132:00
6 | 133:00
6 | 134:00
6 | 135:00
6 | 136:00
6 | 137:00
6 | 138:00
6 | 139:00
6 | 140:00
6 | 141:00
6 | 142:00
6 | 143:00
7 | 144:00
7 | 145:00
7 | 146:00
7 | 147:00
7 | 148:00
7 | 149:00
7 | 150:00
7 | 151:00
7 | 152:00
7 | 153:00
7 | 154:00
7 | 155:00
7 | 156:00
7 | 157:00
7 | 158:00
7 | 159:00
7 | 160:00
7 | 161:00
7 | 162:00
7 | 163:00
7 | 164:00
7 | 165:00
7 | 166:00
7 | 167:00
8 | 168:00
8 | 169:00
8 | 170:00
8 | 171:00
8 | 172:00
8 | 173:00
8 | 174:00
8 | 175:00
8 | 176:00
8 | 177:00
8 | 178:00
8 | 179:00
8 | 180:00
8 | 181:00
8 | 182:00
8 | 183:00
8 | 184:00
8 | 185:00
8 | 186:00
8 | 187:00
8 | 188:00
8 | 189:00
8 | 190:00
8 | 191:00
9 | 192:00
9 | 193:00
9 | 194:00
9 | 195:00
9 | 196:00
9 | 197:00
9 | 198:00
9 | 199:00
9 | 200:00
9 | 201:00
9 | 202:00
9 | 203:00
9 | 204:00
9 | 205:00
9 | 206:00
9 | 207:00
9 | 208:00
9 | 209:00
9 | 210:00
9 | 211:00
9 | 212:00
9 | 213:00
9 | 214:00
9 | 215:00
10 | 216:00
10 | 217:00
10 | 218:00
10 | 219:00
10 | 220:00
10 | 221:00
10 | 222:00
10 | 223:00
10 | 224:00
10 | 225:00
10 | 226:00
10 | 227:00
10 | 228:00
10 | 229:00
10 | 230:00
10 | 231:00
10 | 232:00
10 | 233:00
10 | 234:00
10 | 235:00
10 | 236:00
10 | 237:00
10 | 238:00
10 | 239:00
11 | 240:00
11 | 241:00
11 | 242:00
11 | 243:00
11 | 244:00
11 | 245:00
11 | 246:00
11 | 247:00
11 | 248:00
11 | 249:00
11 | 250:00
11 | 251:00
11 | 252:00
11 | 253:00
11 | 254:00
11 | 255:00
11 | 256:00
11 | 257:00
11 | 258:00
11 | 259:00
11 | 260:00
11 | 261:00
11 | 262:00
11 | 263:00
12 | 264:00
12 | 265:00
12 | 266:00
12 | 267:00
12 | 268:00
12 | 269:00
12 | 270:00
12 | 271:00
12 | 272:00
12 | 273:00
12 | 274:00
12 | 275:00
12 | 276:00
12 | 277:00
12 | 278:00
12 | 279:00
12 | 280:00
12 | 281:00
12 | 282:00
12 | 283:00
12 | 284:00
12 | 285:00
12 | 286:00
12 | 287:00
13 | 288:00
13 | 289:00
13 | 290:00
13 | 291:00
13 | 292:00
13 | 293:00
13 | 294:00
13 | 295:00
13 | 296:00
13 | 297:00
13 | 298:00
13 | 299:00
13 | 300:00
13 | 301:00
13 | 302:00
13 | 303:00
13 | 304:00
13 | 305:00
13 | 306:00
13 | 307:00
13 | 308:00
13 | 309:00
13 | 310:00
13 | 311:00
14 | 312:00
14 | 313:00
14 | 314:00
14 | 315:00
14 | 316:00
14 | 317:00
14 | 318:00
14 | 319:00
14 | 320:00
14 | 321:00
14 | 322:00
14 | 323:00
14 | 324:00
14 | 325:00
14 | 326:00
14 | 327:00
14 | 328:00
14 | 329:00
14 | 330:00
14 | 331:00
14 | 332:00
14 | 333:00
14 | 334:00
14 | 335:00
15 | 336:00
15 | 337:00
15 | 338:00
15 | 339:00
15 | 340:00
15 | 341:00
15 | 342:00
15 | 343:00
15 | 344:00
15 | 345:00
15 | 346:00
15 | 347:00
15 | 348:00
15 | 349:00
15 | 350:00
15 | 351:00
15 | 352:00
15 | 353:00
15 | 354:00
15 | 355:00
15 | 356:00
15 | 357:00
15 | 358:00
15 | 359:00
16 | 360:00
16 | 361:00
16 | 362:00
16 | 363:00
16 | 364:00
16 | 365:00
16 | 366:00
16 | 367:00
16 | 368:00
16 | 369:00
16 | 370:00
16 | 371:00
16 | 372:00
16 | 373:00
16 | 374:00
16 | 375:00
16 | 376:00
16 | 377:00
16 | 378:00
16 | 379:00
16 | 380:00
16 | 381:00
16 | 382:00
16 | 383:00
17 | 384:00
17 | 385:00
17 | 386:00
17 | 387:00
17 | 388:00
17 | 389:00
17 | 390:00
17 | 391:00
17 | 392:00
17 | 393:00
17 | 394:00
17 | 395:00
17 | 396:00
17 | 397:00
17 | 398:00
17 | 399:00
17 | 400:00
17 | 401:00
17 | 402:00
17 | 403:00
17 | 404:00
17 | 405:00
17 | 406:00
17 | 407:00
18 | 408:00
18 | 409:00
18 | 410:00
18 | 411:00
18 | 412:00
18 | 413:00
18 | 414:00
18 | 415:00
18 | 416:00
18 | 417:00
18 | 418:00
18 | 419:00
18 | 420:00
18 | 421:00
18 | 422:00
18 | 423:00
18 | 424:00
18 | 425:00
18 | 426:00
18 | 427:00
18 | 428:00
18 | 429:00
18 | 430:00
18 | 431:00
19 | 432:00
19 | 433:00
19 | 434:00
19 | 435:00
19 | 436:00
19 | 437:00
19 | 438:00
19 | 439:00
19 | 440:00
19 | 441:00
19 | 442:00
19 | 443:00
19 | 444:00
19 | 445:00
19 | 446:00
19 | 447:00
19 | 448:00
19 | 449:00
19 | 450:00
19 | 451:00
19 | 452:00
19 | 453:00
19 | 454:00
19 | 455:00
20 | 456:00
20 | 457:00
20 | 458:00
20 | 459:00
20 | 460:00
20 | 461:00
20 | 462:00
20 | 463:00
20 | 464:00
20 | 465:00
20 | 466:00
20 | 467:00
20 | 468:00
20 | 469:00
20 | 470:00
20 | 471:00
20 | 472:00
20 | 473:00
20 | 474:00
20 | 475:00
20 | 476:00
20 | 477:00
20 | 478:00
20 | 479:00
21 | 480:00
22 | 481:00
22 | 482:00
22 | 483:00
22 | 484:00
22 | 485:00
22 | 486:00
22 | 487:00
22 | 488:00
22 | 489:00
22 | 490:00
22 | 491:00
22 | 492:00
22 | 493:00
22 | 494:00
22 | 495:00
22 | 496:00
22 | 497:00
22 | 498:00
22 | 499:00
22 | 500:00
22 | 501:00
22 | 502:00
22 | 503:00
23 | 504:00
23 | 505:00
23 | 506:00
23 | 507:00
23 | 508:00
23 | 509:00
23 | 510:00
23 | 511:00
23 | 512:00
23 | 513:00
23 | 514:00
23 | 515:00
23 | 516:00
23 | 517:00
23 | 518:00
23 | 519:00
23 | 520:00
23 | 521:00
23 | 522:00
23 | 523:00
23 | 524:00
23 | 525:00
23 | 526:00
23 | 527:00
24 | 528:00
24 | 529:00
24 | 530:00
24 | 531:00
24 | 532:00
24 | 533:00
24 | 534:00
24 | 535:00
24 | 536:00
24 | 537:00
24 | 538:00
24 | 539:00
24 | 540:00
24 | 541:00
24 | 542:00
24 | 543:00
24 | 544:00
24 | 545:00
24 | 546:00
24 | 547:00
24 | 548:00
24 | 549:00
24 | 550:00
24 | 551:00
25 | 552:00
25 | 553:00
25 | 554:00
25 | 555:00
25 | 556:00
25 | 557:00
25 | 558:00
25 | 559:00
25 | 560:00
25 | 561:00
25 | 562:00
25 | 563:00
25 | 564:00
25 | 565:00
25 | 566:00
25 | 567:00
25 | 568:00
25 | 569:00
25 | 570:00
25 | 571:00
25 | 572:00
25 | 573:00
25 | 574:00
25 | 575:00
26 | 576:00
26 | 577:00
26 | 578:00
26 | 579:00
26 | 580:00
26 | 581:00
26 | 582:00
26 | 583:00
26 | 584:00
26 | 585:00
26 | 586:00
26 | 587:00
26 | 588:00
26 | 589:00
26 | 590:00
26 | 591:00
26 | 592:00
26 | 593:00
26 | 594:00
26 | 595:00
26 | 596:00
26 | 597:00
26 | 598:00
26 | 599:00
27 | 600:00
27 | 601:00
27 | 602:00
27 | 603:00
27 | 604:00
27 | 605:00
27 | 606:00
27 | 607:00
27 | 608:00
27 | 609:00
27 | 610:00
27 | 611:00
27 | 612:00
27 | 613:00
27 | 614:00
27 | 615:00
27 | 616:00
27 | 617:00
27 | 618:00
27 | 619:00
27 | 620:00
27 | 621:00
27 | 622:00
27 | 623:00
28 | 624:00
28 | 625:00
28 | 626:00
28 | 627:00
28 | 628:00
28 | 629:00
28 | 630:00
28 | 631:00
28 | 632:00
28 | 633:00
28 | 634:00
28 | 635:00
28 | 636:00
28 | 637:00
28 | 638:00
28 | 639:00
28 | 640:00
28 | 641:00
28 | 642:00
28 | 643:00
28 | 644:00
28 | 645:00
28 | 646:00
28 | 647:00
29 | 648:00
29 | 649:00
29 | 650:00
29 | 651:00
29 | 652:00
29 | 653:00
29 | 654:00
29 | 655:00
29 | 656:00
29 | 657:00
29 | 658:00
29 | 659:00
29 | 660:00
29 | 661:00
29 | 662:00
29 | 663:00
29 | 664:00
29 | 665:00
29 | 666:00
29 | 667:00
29 | 668:00
29 | 669:00
29 | 670:00
29 | 671:00
30 | 672:00
30 | 673:00
30 | 674:00
30 | 675:00
30 | 676:00
30 | 677:00
30 | 678:00
30 | 679:00
30 | 680:00
30 | 681:00
30 | 682:00
30 | 683:00
30 | 684:00
30 | 685:00
30 | 686:00
30 | 687:00
30 | 688:00
30 | 689:00
30 | 690:00
30 | 691:00
30 | 692:00
30 | 693:00
30 | 694:00
30 | 695:00
31 | 696:00
31 | 697:00
31 | 698:00
31 | 699:00
31 | 700:00
31 | 701:00
31 | 702:00
31 | 703:00
31 | 704:00
31 | 705:00
31 | 706:00
31 | 707:00
31 | 708:00
31 | 709:00
31 | 710:00
31 | 711:00
31 | 712:00
31 | 713:00
31 | 714:00
31 | 715:00
31 | 716:00
31 | 717:00
31 | 718:00
31 | 719:00

## Advanced Air Purification (F23)
Advanced Air Purification
The below operations schedule addresses the requirements of optimization Feature 23, Part 3 in the WELL Building Standard v1. If more convenient for your project team, this operations schedule may also be incorporated into the general HVAC Maintenance schedule.
FEATURE 23: ADVANCED AIR PURIFICATION
PART 3: AIR QUALITY MAINTENANCE
As evidence that the selected filtration/sanitation system chosen continues to be fully operational, projects must annually provide IWBI with:
a. Records of air filtration/sanitization maintenance, including evidence that the filter and/or sanitizer has been properly maintained as per the manufacturer's recommendations.
PROVIDE FOR EVERY FILTER (PART 1) AND SANITIZATION METHOD (PART 2) IN THE PROJECT BOUNDARY:
Filter model: _____________________________________________ |  | Filter location: _____________________________ |  | Sanitization Method: __________________________________ |  | Location: _____________________________
Manufacturer Maintenance Recommendations: |  |  |  | Manufacturer Maintenance Recommendations:
__________________________________________________________________________________ |  |  |  | __________________________________________________________________________________________________
__________________________________________________________________________________ |  |  |  | __________________________________________________________________________________________________
DATE | LOCATION | PRODUCT NAME | ACTION | ACTION FREQUENCY | RESPONSIBLE PARTY | EVIDENCE OF COMPLIANCE | DATE OF ANNUAL SUBMISSION TO IWBI
Example: 04/25/17 | Mechanical room A | XXX Carbon Filter | Inspected and filters replaced | << e.g. MONTHLY >> | John Smith, Company A | Signature from facilities manager | Example: 12/25/17

## Quarterly Water Testing (F35)
Quarterly Water Testing
The below schedule addresses the requirements of optimization Feature 35, Part 1 in the WELL Building Standard v1.
FEATURE 35: PERIODIC WATER QUALITY TESTING
PART 1: QUARTERLY TESTING
All water being delivered to the project area for human consumption is tested quarterly (with reports submitted annually to the IWBI) for the presence of the following dissolved metals or metalloids:
a. Lead.
b. Arsenic.
c. Mercury.
d. Copper.
DATE | LOCATION | Lead | Arsenic | Mercury | Copper | TESTING PERFORMED BY
Example: 01/5/18 | Floor 1 fixture | 0.001 | 0.001 | 0.001 | 0.1 | Water Quality Co., John Smith
| Floor 2 fixture | 0.002 | 0.002 | 0.001 | 0.2
| Floor 3 fixture | 0.001 | 0.002 | 0.001 | 0.1
| Café | 0.002 | 0.001 | 0.0005 | 0.1

## Water Filtration (F36)
Water Filtration Maintenance
The below schedule addresses the requirements of optimization Feature 36, Part 4 in the WELL Building Standard v1.
FEATURE 36: WATER TREATMENT
PART 4: WATER QUALITY MAINTENANCE
To verify that the selected filtration/sanitation system chosen continues to operate as designed, projects must annually provide the IWBI with:
a. Record-keeping for a minimum of 3 years, including evidence that the filter and/or sanitizer has been properly maintained as per the manufacturer's recommendation.
PROVIDE FOR EVERY FILTER AND/OR SANITIZER IN THE PROJECT:
Organic chemical removal (part 1) model: _____________________________________________ |  |  | Location: ______________________________
Manufacturer Maintenance Recommendations:
________________________________________________________________________________________________________________
________________________________________________________________________________________________________________
Sediment filter (part 2) model: _____________________________________________ |  |  | Location: ______________________________
Manufacturer Maintenance Recommendations:
________________________________________________________________________________________________________________
________________________________________________________________________________________________________________
Microbial elimination (part 3) product: _____________________________________________ |  |  | Location: ________________________________
Manufacturer Maintenance Recommendations:
________________________________________________________________________________________________________________
________________________________________________________________________________________________________________
DATE | LOCATION | PRODUCT NAME | ACTION | ACTION FREQUENCY | RESPONSIBLE PARTY | EVIDENCE OF COMPLIANCE
Example: 04/25/17 | First floor kitchen | XXX Carbon Filter | Carbon filters replaced | MONTHLY | John Smith, Company A | Signature from facilities manager.

## Post-occupancy surveys (86)
Post-Occupancy Surveys
The below survey and data addresses the requirements of precondition Feature 86, Part 1 and Part 2 in the WELL Building Standard v1.
Note, Feature 86 is not applicable to Core & Shell, Commercial Kitchen, nor Multifamily Residential projects. Feature 86 is an optimization for Restaurant and Retail Pilot projects.
FEATURE 86: POST-OCCUPANCY SURVEYS
PART 1: OCCUPANT SURVEY CONTENT
In buildings with 10 or more occupants, the Occupant Indoor Environmental Quality (IEQ) Survey™ from the Center for the Built Environment at UC Berkeley (or approved alternative) is completed by a
representative sample of at least 30% of occupants at least once per year. The survey covers the following topics of occupant satisfaction:
a. Acoustics.
b. Thermal comfort, including humidity and air flow (administered once during the cooling season and once during the heating season).
c. Furnishings.
d. Workspace light levels and quality.
e. Odors, stuffiness and other air quality concerns.
f. Cleanliness and maintenance.
g. Layout.
PART 2: INFORMATION REPORTING
Aggregate results from surveys are reported within 30 days to the following groups:
a. Building owners and managers.
b.
b. Building occupants (upon request).
c. The International WELL Building Institute.
NOTE: To give you an example of what this data MIGHT look like, this template provides one acceptable format. Your project does NOT need to fill out this sheet. If your project collects and tracks data in a different manner, simply submit that data as annual documentation.
Data from << MONTH / DAY / YEAR >> :
Background Information |  | Acoustics |  | Thermal Comfort |  | Furnishings |  | Lighting |  | Air Quality (odors & stuffiness) |  | Cleanliness / Maintenance |  | Layout
EXAMPLE: How long have you been working at the organization? |  | EXAMPLE: How satisfied are you with the acoustic privacy in your workspace? |  | EXAMPLE: Does your thermal comfort in your office environment enhance or interfere with your ability to be productive at work? |  | EXAMPLE: How satisfied are you with the ability to adjust your furniture to meet your needs? |  | EXAMPLE: How satisfied are you with the visual comfort (glare, daylight access, etc) within your workspace? |  | EXAMPLE: Do odors within the workplace ever detract from your productivity? |  | EXAMPLE: How satisfied are you with the general cleanliness of the office? |  | EXAMPLE: Does the layout of the office enhance collaboration with coworkers?
a Less than 1 year | % | a Extremely satisfied | % | a Enhances | % | a Extremely satisfied | % | a Extremely satisfied | % | a Yes | % | a Extremely satisfied | % | a Yes | %
b 1-2 years | % | b Moderately satisfied | % | b Neutral | % | b Moderately satisfied | % | b Moderately satisfied | % | b No | % | b Moderately satisfied | % | b No | %
c 3-7 years | % | c Moderately dissatisfied | % | c Interferes | % | c Moderately dissatisfied | % | c Moderately dissatisfied | % | c Sometimes | % | c Moderately dissatisfied | % | c Sometimes | %
d 7+ years | % | d Extremely dissatisfied | % |  |  | d Extremely dissatisfied | % | d Extremely dissatisfied | % |  |  | d Extremely dissatisfied | %
EXAMPLE: What department do you work for? |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2……
a Marketing | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b Legal | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c Customer Service | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d Sales | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %
Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3……
a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %
Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4……
a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %
Data from cooling OR heating season << MONTH / DAY / YEAR >> :
Background Information |  | Thermal Comfort
EXAMPLE: How long have you been working at the organization? |  | EXAMPLE: Does your thermal comfort in your office environment enhance or interfere with your ability to be productive at work?
a Less than 1 year | % | a Enhances | %
b 1-2 years | % | b Neutral | %
c 3-7 years | % | c Interferes | %
d 7+ years | %
EXAMPLE: What department do you work for? |  | EXAMPLE: Does your thermal comfort in your office environment change significantly from winter to summer months?
a Marketing | % | a Yes, noticably so | %
b Legal | % | b Not significantly | %
c Customer Service | % | c Not at all | %
d Sales | %
Q3…… |  | Q3……
a | % | a | %
b | % | b | %
c | % | c | %
d | % | d | %
Q4…… |  | Q4……
a | % | a | %
b | % | b | %
c | % | c | %
d | % | d | %