## Instructions
Ongoing Reporting Tool
To confirm your building or space continues to meet WELL features designed to support human heath and well-being, the International WELL Building Institute™ (IWBI™) requires ongoing reporting for several WELL v2, WELL Performance Rating, WELL Health-Safety Rating, and WELL Equity Rating features. This tool provides templates for creating documentation that project teams are required to submit annually. These ongoing reporting documents must be uploaded to the project's WELL account within the Documents tab. When uploading these files, project teams will select "Ongoing Data Report" as the document type.
WELL Certification Documents tab |  | WELL Ratings Documents Library tab
How to use this tool:
Ongoing reporting is required for the following WELL features; this tool provides templates for each:
WELL v2 Feature | WELL Performance Rating Feature | WELL Health-Safety Rating | WELL Equity Rating
A01 Air Quality, Part 5 Measure Air Parameters | PM1 Measure Air Parameters | SA4: Monitor Air and Water Quality, Section 1 Monitor Air Parameters | -
A08 Air Quality Monitoring and Awareness, Part 1 Install Indoor Air Monitors | PM2 Install Indoor Air Monitors | - | -
A12 Air Filtration, Part 1 Implement Particle Filtration | - | - | -
A13 Enhanced Air Supply, Part 1 Improve Supply Air | - | - | -
A14 Microbe and Mold Control, Part 1 Implement Ultraviolet Treatment for HVAC Surfaces | - | - | -
W03 Basic Water Management, Part 1 Monitor Chemical and Biological Water Quality | - | SA4: Monitor Air and Water Quality, Section 2 Assess Chemical and Biological Water Quality | -
W05 Drinking Water Quality Management, Part 1 Assess and Maintain Drinking Water Quality | PM6 Assess and Maintain Drinking Water Quality | SA3: Develop Legionella Management Plan | -
W07 Moisture Management, Part 3 Implement Mold and Moisture Management Plan | - | SA5: Manage Mold and Moisture | -
W09 Onsite Non-Potable Water Reuse, Part 1 Implement Safety Plan For Non-Potable Water Capture And Reuse | - | EE4: Utilize Enhanced Survey | -
V09 Physical Activity Promotion: Part 1 Offer Physical Activity Incentives | - | - | -
T01 Thermal Performance, Part 2 Measure Thermal Parameters | - | - | -
X08 Materials Optimization, Part 1 Select Materials with Enhanced Chemical Restrictions | - | - | -
C04 Occupant Survey, Part 2 Administer Annual Survey and Report Results | PX1 Occupant Survey, Part 2 Administer Survey and Report Results | - | EE3: Administer Basic Survey, Part 2 Administer Annual Survey And Report Results
C05 Enhanced Occupant Survey, Part 1 Utilize Enhanced Survey | PX2 Utilize Enhanced Survey | - | EE4: Utilize Enhanced Survey
C05 Enhanced Occupant Survey, Part 2 Utilize Pre- and Post-Occupancy Survey | PX3 Utilize Pre- and Post-Occupancy Survey | - | EE6: Administer Baseline and Annual Surveys, Part 1 Conduct Baseline Surveys
C05 Enhanced Occupant Survey, Part 3 Implement Action Plan | - | - | EE6: Administer Baseline and Annual Surveys, Part 2 Implement Action Plan
C05 Enhanced Occupant Survey, Part 4: Facilitate Interviews, Focus Groups and/or Observations | PX4 Facilitate Interviews, Focus Groups and/or Observation | - | EE5 Facilitate Interviews, Focus Groups, and/or Observations
The templates contain the basic framework for operations schedules involving ongoing maintenance and/or ongoing data collection, which may help your project team track compliance over time. Projects can use the templates in a few ways:
1. Add WELL-related criteria into existing policy documents and operations schedules.
2. Use them to create new manuals and operations schedules as needed to meet WELL requirements.
3. Prepare logs for annual submission to IWBI.
While one example is provided for each feature, other formats and approaches are also acceptable. Ultimately, the level of detail provided by teams when creating documentation is at their discretion.
The templates reflect the Q2 2025 addenda version of the WELL Building Standard. Please note that this might differ from the addenda version that your project was certified/rated under. However, these examples are still applicable to your project for ongoing reporting purposes. It is recommended that the project team use the final WELL report and project checklist as reference to confirm the feature requirements that were met during the initial WELL Certification/Rating and should be maintained through each ongoing reporting submission.
©2021 International WELL Building Institute pbc. All rights reserved.

## A01.5, PM1 & SA4
Measure Air Parameters
The below schedule addresses the requirements of precondition Feature A01, Part 5 in WELL v2 AND Feature PM1 in the WELL Performance Rating AND Feature SA4 in the WELL Health Safety Rating
WELL v2 - FEATURE A01: AIR QUALITY
PART 5: MEASURE AIR PARAMETERS
WELL Performance Rating - FEATURE PM1 MEASURE AIR PARAMETERS
WELL Health-Safety Rating - FEATURE SA4 MONITOR AIR AND WATER QUALITY
Section 1: MONITOR AIR PARAMETERS
The following pollutants are monitored in occupiable spaces at intervals no longer than once per year, and the results are submitted annually through
the WELL digital platform. To determine the required sample locations and quantity, refer to the WELL Performance Verification Guidebook.
a. PM2.5.
b. PM10.
c. One of the following:
1. Total VOC.
2. Benzene, Formaldehyde, Toluene.
g. Carbon monoxide.
h. Ozone.
Note: Projects are not required to follow the device requirements or test methods described in the Performance Verification Guidebook.
Teams are encouraged to use the sensor data compliance calclator, fill in the rows below OR submit the output directly from the sensors.
Note: The rows below include columns for Total VOC as well as Benzene/Formaldehyde/Toulene, but only one pathway is required as indicated in requirement c.
DATE | LOCATION | PM2.5 (μg/m3) | PM10 (μg/m3) | Total VOC (μg/m3) | Benzene (μg/m3) | Formaldehyde (μg/m3) | Toluene (μg/m3) | Carbon monoxide (ppm) | Ozone (ppb) | TESTING PERFORMED BY | DATE OF ANNUAL SUBMISSION TO IWBI
Example: 01/5/20 | Floor 1 - Office Space | [8 empty] | Water Quality Co., John Smith | Example: 12/5/20
Floor 2 - Conference Room
Floor 3
Floor 4

## A08.1 & PM2
Install Indoor Air Monitors
The below operations schedule addresses the requirements of optimization Feature A08, Part 1 in WELL v2 AND Feature PM2 in the WELL Performance Rating
WELL v2 - FEATURE A08: AIR QUALITY MONITORING AND AWARENESS
PART 1: INSTALL INDOOR AIR MONITORS
WELL Performance Rating - FEATURE PM2 INSTALL INDOOR AIR MONITORS
1. The project deploys monitors with sensors that measure at least three of the following parameters in occupiable spaces in compliance with the requirements outlined in the Continuous Monitoring Protocols of the Performance Verification Guidebook:
a. PM2.5 or PM10
b. Carbon dioxide
c. Carbon monoxide
d. Ozone
e. Nitrogen dioxide
f. Total VOCs.
g. Formaldehyde
2. Reporting & Maintenance
a. Proof of calibration or replacement is submitted every three years in accordance with the requirements of the WELL Performance Verification Guidebook.
2. PROVIDE FOR EVERY AIR MONITOR IN THE PROJECT:
Monitor model: _____________________________________________ |  | Location: _____________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
DATE | LOCATION | PRODUCT NAME | ACTION | ACTION FREQUENCY | RESPONSIBLE PARTY
Example: 01/25/20 | Conference Space A | X Monitor | X monitor recalibrated | << e.g. MONTHLY >> | John Smith, Company A

## A12
Implement Particle Filtration
The below operations schedule addresses the requirements of optimization Feature A12, Part 1 in WELL v2
WELL v2 - FEATURE A12: AIR FILTRATION
PART 1: IMPLEMENT PARTICLE FILTRATION
The following requirement is met:
a. Evidence that the filter has been replaced according to the manufacturer's
recommendation, submitted annually through the WELL digital platform.
PROVIDE FOR EVERY FILTER IN THE PROJECT:
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
*If your project has multiple models, add the additional model information below the table
DATE | LOCATION | FILTER MODEL | ACTION | RESPONSIBLE PARTY
Example: 01/25/20 | Mechanical room A | MERV 13 Filter | MERV 13 filters replaced | John Smith, Company A
If your project has multiple models:
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________

## A13
Improve Supply Air
The below operations schedule addresses the requirements of optimization Feature A13, Part 1 in WELL v2
WELL v2 - FEATURE A13: ENHANCED AIR SUPPLY
PART 1: IMPROVE SUPPLY AIR
To verify that the purification/cleaning system, either in the HVAC system or standalone device continues to operate as designed, the systems:
a. Are maintained according to the manufacturer’s recommendations.
Documentation of maintenance is submitted annually through the WELL
digital platform.
PROVIDE FOR EVERY FILTER IN THE PROJECT:
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
*If your project has multiple models, add the additional model information below the table
DATE | LOCATION | FILTER MODEL | ACTION | RESPONSIBLE PARTY
Example: 01/25/20 | Mechanical room A | Carbon Filter | Carbon filter replaced | John Smith, Company A
If your project has multiple models:
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________
Filter model: _____________________________________________
Manufacturer Maintenance Recommendations:
__________________________________________________________________________________
__________________________________________________________________________________

## A14
Implement Ultraviolet Treatment For HVAC Surfaces
The below operations schedule addresses the requirements of optimization Feature A14, Part 1 in WELL v2
WELL v2 - FEATURE A14: MICROBE AND MOLD CONTROL
PART 1: IMPLEMENT ULTRAVIOLET TREATMENT FOR HVAC SURFACES
To verify that the ultraviolet air treatment system continues to operate as designed, projects must
provide:
a. Evidence that the ultraviolet lamps have been replaced or maintained, according to
manufacturer's recommendation, submitted annually through the WELL digital platform.
b. Dated photos, submitted annually through the WELL digital platform, demontrating that all cooling
coils without ultraviolet lamps (if applicable) are inspected on a quarterly basis for mold growth
and cleaned if necessary.
PROVIDE FOR EVERY COOLING COIL IN THE PROJECT:
DATE | LOCATION | COOLING COIL INSTALLED IN: | Treated by UV? | ACTION | RESPONSIBLE PARTY
Example: 01/25/20 | Mechanical room A | Fan Coil Unit | no | Cooling coils were cleaned and photos were captured. | John Smith, Company A
|  | Air handling unit | yes | UV lamp replaced

## W03.1 & SA4
Monitor Chemical And Biological Water Quality
The below schedule addresses the requirements of precondition Feature W03, Part 1 in WELL v2 AND Feature SA4 in the WELL Health Safety Rating
WELL v2 - FEATURE W03: BASIC WATER MANAGEMENT
PART 1: MONITOR CHEMICAL AND BIOLOGICAL WATER QUALITY
WELL Health-Safety Rating - FEATURE SA4 MONITOR AIR AND WATER QUALITY
Section 2: ASSESS CHEMICAL AND BIOLOGICAL WATER QUALITY
1. To reduce risk of water quality loss and Legionella colonization:
the following water parameters are sampled at drinking water dispensers in occupiable spaces at intervals of no less than once per year:
a. Turbidity
b. pH.
c. Residual (free) Chlorine
d. Total Coliforms (only if residual Chlorine is below detection limits)
2. Tests are required at 5% of drinking water dispensers, up to a maximum of four tests.
3. The water quality results are submitted annually through the WELL digital platform.
As referenced in requirement e., list any water parameters found at 80% or above its threhold listed in W02 Part 1: _____________________________________________
SAMPLING DATE | LOCATION | a. Turbidity | b. pH | c. Residual Chlorine | d. Total Coliforms (if needed) | e. Other Parameter (Ex. Lead) | e. Other Parameter: Value (mg/L)
Example: 01/5/23 | Floor 1 fixture | [5 empty] | Example: 0.005
Example: 01/5/23 | Floor 2 fixture
Example: 01/5/23 | Floor 3 fixture
Example: 01/5/23 | Café

## W03.2 & SA3
Implement Legionella Management Plan
The below schedule addresses the requirements of precondition Feature W03, Part 2 in WELL v2 AND Feature SA3 in the WELL Health Safety Rating
WELL v2 - FEATURE W03: BASIC WATER MANAGEMENT
PART 2: IMPLEMENT LEGIONELLA MANAGEMENT PLAN
WELL Health-Safety Rating - FEATURE SA3: DEVELOP LEGIONELLA MANAGEMENT PLAN
The following requirement is met:
a. Project submits annually through the WELL digital platform documentation of monitoring results, corrective actions
and Legionella sample results (if any) as stated in the Legionella management plan.
The following monitoring actions are conducted/tested for on a quarterly basis for relevant variables, performance limits associated with these variables and corrective actions when variables exceed limits:.
RELEVANT VARIABLE CONTROL | LOCATION | PERFORMANCE LIMITS | FREQUENCY | CORRECTIVE ACTION(S)
Example : Time that water takes to reach maximum temperature* | Example : All fixtures | Example : ≤ 20 seconds | Example : Bimonthly | Example : • Check thermostatic valve • Inform building manager • Check building records for hot water temperature delivery
Example : Maximum temperature delivered by fixture* | Example : All fixtures | Example : 110 ± 5 ºF | Example : Bimonthly | Example : • Check thermostatic valve • Inform building manager • Check building records for hot water temperature delivery
Example : Total and combined chlorine (after 30 second flush) | Example : Kitchen, one sink faucet and one shower per bathroom | Example : Total Chlorine ≤ 4 mg/L Residual Chlorine ≥ 0.2 mg/L | Example : Monthly | Example : • Review flushing frequency and fixture usage rates • Inform building manager
Points where actions are taken to keep the control variables within desired ranges:
IDENTIFICATION OF CRITICAL CONTROL POINTS
Example : Bathroom and kitchen faucets
Example : Showerheads
Verification and validation procedures
ACTION | FREQUENCY
Example : Flush all fixtures (showers, bathroom and kitchen faucets): • Open the valve to full flow and set it to its maximum temperature • Wait until reaches its maximum temperature. Check temperature with hand contact (no thermometer needed) • Flush for [X] minutes. | Example : Weekly, before the beginning of the first workweek day (e.g., Monday morning before the first occupant arrives)
Example : Clean aerators of bathrooms and kitchen faucets: • Unscrew aerators and immerse them in a [X]% bleach solution for [X] minutes. Rinse in cold water when done. • Examine fixtures with the aerator removed for presence of slime and residue. Corrective action: If slime is found, use a scouring pad or a pipe scrub brush dipped in a [X]% bleach solution to clean the pipe. When done, open the valve to full flow, set at cold water, for [X] minutes. • Replace aerator and run the tap for [X] seconds in cold water | Example : Monthly
Example : Clean showerheads: • Unscrew aerators and immerse them in a [X]% bleach solution for [X] minutes. Clean any visible trace of slime or residue and rinse in cold water. • Examine pipes with the aerator removed for presence of slime and residue. Corrective Action: if slime is found, use a scouring pad or a pipe scrub brush dipped in a [X]% bleach solution to clean the pipe. When done, open the valve to full flow, set at cold water, for [X] minutes. • Screw back aerators and run the shower with cold water for [X] seconds | Example : Monthly
Ex: In addition to these control measures, monthly review of the building’s cooling tower operational records is scheduled to ensure its appropriate management.
Protocols for Documenting Results
Monitoring, control and corrective actions must be documented in the log below, along with all monitoring results, relevant plumbing repairs, and other service disruptions. Documentation of all work orders are copied and attached to this plan.
Monitoring, control and corrective actions log
DATE | TIME | LOCATION | PARAMETER | VALUE | TAKEN BY (Initials) | NOTES
|  | Example : Kitchen faucet | Example : Maximum temperature | Example : [X]ºC |  | Example : Within range
|  | Example : Kitchen faucet | Example : Maximum temperature | Example : [X] minutes |  | Example : Called office space manager to contact plumber

## W05.1 & PM6
Assess And Maintain Drinking Water Quality
The below schedule addresses the requirements of optimization Feature W05, Part 1 in WELL v2 AND Feature PM6 in the WELL Performance Rating
WELL v2 - FEATURE W05: DRINKING WATER QUALITY MANAGEMENT - Water Quality Monitoring
PART 1: ASSESS AND MAINTAIN DRINKING WATER QUALITY - WATER QUALITY MONITORING
WELL Performance Rating - FEATURE PM6 ASSESS AND MAINTAIN DRINKING WATER QUALITY
1. To maintain consistent high quality of drinking water, water is tested quarterly in drinking water dispensers
and meets the following thresholds. If any sample exceeds these thresholds, remediation and re-testing occur
within a month:
a. Turbidity: 1.0 NTU, FTU or FNU or less.
b. pH: between 6.5 and 9.0 (between 5.5 and 9 if a reverse osmosis system is installed at the point of use)
c. Total Dissolved Solids (TDS): 500 mg/L or less.
d. Total Chlorine: 5 mg/L or less.
e. Residual (free) Chlorine: 5 mg/L or less.
f. Total Coliforms are not detected in a 100 ml sample. Testing is required only if residual chlorine is not detected.
g. Lead is 10 µg/L or less. Sampling frequency can be reduced to once per year if results are below detection
limits in two consecutive samples.
h. Copper is 2 mg/L or less. Sampling frequency can be reduced to twice a year if results are below 0.1 mg/L
in two consecutive samples; testing is no longer required if four consecutive samples are below this threshold.
2. The number and location of sampling points for on-going monitoring complies with the requirements outlined
in the Performance Verification Guidebook. For pH, use sampling locations and frequency set for residual chlorine.
3. All test results are submitted annually through the WELL digital platform.
Teams are encouraged to use the sensor data compliance calclator, fill in the rows below OR submit the output directly from the sensors.
SAMPLING DATE | LOCATION | a. Turbidity | b. pH | c. Total Dissolved Solids (TDS) | d. Total Chlorine | e. Residual (free) chlorine | f. Total Coliforms | g.Lead | h. Copper | Are all parameters within compliance thresholds (Yes/No)? | Corrective Actions planned to address non-compliant parameters
Example: 01/5/23 | Floor 1 fixture | [9 empty] | Example: Check filter
Example: 01/5/23 | Floor 2 fixture | [9 empty] | Example: Check aerator, flush tap as it was not in use for prolonged time
Example: 01/5/23 | Floor 3 fixture
Example: 01/5/23 | Café

## W07.3 & SA5
Implement Mold and Moisture Management Plan
The below schedule addresses the requirements of optimization Feature W07, Part 3 in WELL v2 AND Feature SA5 in the WELL Health Safety Rating
WELL v2 Feature W07 Moisture Management
PART 3: IMPLEMENT MOLD AND MOISTURE MANAGEMENT PLAN
WELL Health-Safety Rating Feature SA5 Manage Mold and Moisture
Section 2: INSPECT FOR LEAKS AND MOLD
2. The following requirement is met:
a. Results of inspections for mold and leaks (including any mold test results) are submitted annually through the WELL
digital platform
Location | Date of Inspection | Inspection completed By | Moisture or mold? (Y/N) | Leaking pipes? (Y/N) | If yes - mold test completed? (Y/N) | Notes
Ex: Mechanical Room 405 |  |  | Ex: N | Ex: N | Ex: NA
Ex: Lobby |  |  | Ex: Y - water damaged ceiling tile | Ex: N | Ex: Y | Ex: Mold test came back negative. Roof was repaired.
Ex: Basement storage B013 |  |  | Ex: N | Ex: Y - leak in cold water pipe (pinhole leak) | Ex: Y | Ex: Mold test came back negative. Water pipe was repaired on (date).

## W09
Conserve water through onsite non-potable water reuse
The below schedule addresses the requirements of beta Feature W09, Part 1 in WELL v2
Use one row per event. Copy as many rows as needed.
WELL v2 - FEATURE W09: ONSITE NON-POTABLE WATER REUSE
PART 1: IMPLEMENT SAFETY PLAN FOR NON-POTABLE WATER CAPTURE AND REUSE
To verify that the implementation of a safety plan for non-potable water capture and release continues to operate as designed,
documentation of the following are submitted annually through the WELL digital platform:
a. Startup procedure.
b. Maintenance logs.
c. Results from verification tests (when applicable).
d. Third-party inspections.
TYPE OF PROCEDURE | DATE PERFORMED | NAME OF PERFORMING ORGANIZATION | DESCRIPTION OF ACTIVITIES | RESULTS, CONCLUSIONS, AND/OR RECOMMENDATIONS

## V09
Offer Physical Activity Incentives
The below schedule addresses the requirements of optimization Feature V09, Part 1 in WELL v2
WELL v2 - FEATURE V09: PHYSICAL ACTIVITY PROMOTION
PART 1: OFFER PHYSICAL ACTIVITY INCENTIVES
To verify the engagement in physical activity incentive programs, one of the
following is met:
a. The project or organization monitors utilization of incentive programs and
demonstrates an annual utilization rate of 50% (i.e., at least 50% of eligible employees
have utilized at least one incentive over the past year). Projects may report combined
utilization rates across multiple incentives, as appropriate.
b. The project or organization demonstrates an annual improvement in utilization of at
least 10 percentage points. Projects may report combined utilization rates across
multiple incentives, as appropriate.
a. | INCENTIVE PROGRAM | # OF EMPLOYEES THAT HAVE USED AN INCENTIVE PROGRAM FOR THE FIRST TIME IN THE YEAR |  | TOTAL NUMBER OF EMPLOYEES THAT HAVE USED AT LEAST ONCE INCENTIVE PROGRAM
| Example: Reward for physical activity engagement | 45 |  | TOTAL NUMBER OF EMPLOYEES
UTILIZATION RATE
b. | INCENTIVE PROGRAM UTILIZATION RATE [YEAR] | INCENTIVE PROGRAM UTILIZATION RATE [YEAR] | PERCENTAGE POINT INCREASE FROM YEAR - YEAR
| Example: 2022 - 30% | 2023 - 40% | 2022 - 2023: 10%

## T01.2
Measure Thermal Parameters
The below schedule addresses the requirements of precondition Feature T01, Part 2 in WELL v2
WELL v2 - FEATURE T01: THERMAL PERFORMANCE
PART 2: MEASURE THERMAL PARAMETERS
To verify thermal performance, the following requirements are met:
a. The dry-bulb temperature, relative humidity, air speed (only for projects that use elevated air speed method) and mean
radiant temperature are measured in regularly occupied spaces at intervals no longer than twice per year (including once in
June, July or August and once in December, January or February), and the results are submitted annually through the WELL
digital platform.
b. The number and location of sampling points comply with the requirements outlined in the Performance Verification Guidebook.
Projects are not required to follow the device requirements or test methods described in the Performance Verification Guidebook.
Permanently installed monitors may be located on interior walls rather than a minimum distance away.
DATE | LOCATION | Dry-bulb Temperature | Relative Humidity | Air Speed (if necessary) | Mean Radiant Temperature | TESTING PERFORMED BY | DATE OF ANNUAL SUBMISSION TO IWBI
Example: 01/5/19 | L2 Library | [5 empty] | Example: 12/5/19
L2 Workshop
L3 Meeting Room
L4 Office
Example: 08/5/19 | L2 Library | [5 empty] | Example: 12/5/19
L2 Workshop
L3 Meeting Room
L4 Office

## X08
Select Materials With Enhanced Chemical Restrictions
The below table addresses the requirements of optimization Feature X08 Materials, Part 1 in WELL v2
WELL v2 - FEATURE X08: MATERIALS OPTIMIZATION
PART 1: SELECT MATERIALS WITH ENHANCED CHEMICAL RESTRICTIONS - OPTION 2: FUTURE PURCHASE
OF COMPLIANT PRODUCTS
To verify that hazardous materials are restricted, projects with less than 25 distinct permanently installed
products (including flooring, insulation, wet-applied products, ceiling and wall assemblies and systems), furniture and
task and floor lamps, must meet the following:
a. Products purchased for future repair, renovation or replacement of building materials comply with chemical restrictions
of Option 1 ‘Materials Selection’.
PROVIDE FOR EVERY PERMANENTLY INSTALLED PRODUCT, PIECE OF FURNITURE OR TABLE/FLOOR LAMP PURCHASED IN THE PREVIOUS YEAR:
Brand | Product name | Link to cutsheet | Pathway from Part 1 the Product has Met

## Sheet1 (hidden)
Product is free of compounds listed in the Living Building Challenge’s Red List v.4.0
Product meets the chemical thresholds in the Cradle to Cradle Basic Level Restricted Substances List, version 4
Product does not contain compounds listed in REACH Restriction, Authorization and SHVC lists
Product meets an optimization path listed under ‘Advanced Inventory & Assessment’ in Option 2 of LEED v4.1 credit ‘Building Product Disclosure and Optimization - Material Ingredients’

## C04.2, PX1.2 & EE3.2
Administer Survey and Report Results
The below addresses the requirements of precondition Feature C04, Part 2 in the WELL v2 AND Feature PX1, Part 2 in the WELL Performance Rating AND Feature EE3, Part 2 in the WELL Equity Rating
WELL v2 - FEATURE C04: OCCUPANT SURVEY
PART 2: ADMINISTER ANNUAL SURVEY AND REPORT RESULTS
WELL Performance Rating - FEATURE PX1: OCCUPANT SURVEY
PART 2: ADMINISTER SURVEY AND REPORT RESULTS
WELL Equity Rating - FEATURE EE3: ADMINISTER BASIC SURVEY
Part 2: ADMINISTER ANNUAL SURVEY AND REPORT RESULTS
Anually, the project submits the following through the WELL digital platform:
a. Project and survey data, including:
1. Total number of employees invited to complete the survey and number of employees who completed the survey.
2. Date survey started and finished.
3. Project location.
4. Project type.
5. Level of WELL achievement, if applicable (e.g., WELL Health-Safety Rated).
b. Aggregated, anonymized survey results.
NOTE: To give you an example of what this data MIGHT look like, this template provides one acceptable format. Your project does NOT need to fill out this sheet. If your project collects and tracks data in a different manner, simply submit that data as annual documentation.
Data from << MONTH / DAY / YEAR >> :
General Information |  | Indoor Environmental Quality |  | Ergonomics |  | Maintenance and Cleanliness |  | Amenities |  | Workplace Wellness Initiatives and Offerings |  | Healthy Behavior Amenities |  | Productivity and Engagement |  | Self-rated Health and Well-being |  | Demographics
EXAMPLE: How long have you been working at the organization? |  | AIR EXAMPLE: Do odors within the workplace ever detract from your productivity? |  | EXAMPLE: How satisfied are you with the ability to adjust your furniture to meet your needs? |  | EXAMPLE: How satisfied are you with the general cleanliness of the office? |  | EXAMPLE: How satisfied are you with the visual comfort (glare, daylight access, etc.) within your workspace? |  | EXAMPLE: How often do you attend workplace wellness events within your office? |  | EXAMPLE: How satisfied are you with the general cleanliness of the office? |  | EXAMPLE: Does the layout of the office enhance collaboration with coworkers? |  | EXAMPLE: Does the layout of the office enhance collaboration with coworkers? |  | EXAMPLE: Please indicate your gender.
a Less than 1 year | % | a Yes | % | a Enhances | % | a Extremely satisfied | % | a Extremely satisfied | % | a 1-2 times a month | % | a Extremely satisfied | % | a Yes | % | a Yes | % | a Female | %
b 1-2 years | % | b No | % | b Neutral | % | b Moderately satisfied | % | b Moderately satisfied | % | b 3-4 times a month | % | b Moderately satisfied | % | b No | % | b No | % | b Male | %
c 3-7 years | % | c Sometimes | % | c Interferes | % | c Moderately dissatisfied | % | c Moderately dissatisfied | % | c 5-6 times a month | % | c Moderately dissatisfied | % | c Sometimes | % | c Sometimes | % | c Other | %
d 7+ years | % |  |  |  |  | d Extremely dissatisfied | % | d Extremely dissatisfied | % | d 7+ times a month | % | d Extremely dissatisfied | % |  |  |  |  | d Prefer not to say | %
EXAMPLE: What department do you work for? |  | EXAMPLE: Does your thermal comfort in your office environment change significantly from winter to summer months? |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2…… |  | Q2……
a Marketing | % |  |  | a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b Legal | % | a Yes, noticeably so | % | b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c Customer Service | % | b Not significantly | % | c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d Sales | % | c Not at all | % | d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %
Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3…… |  | Q3……
a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %
Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4…… |  | Q4……
a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | % | a | %
b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | % | b | %
c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | % | c | %
d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | % | d | %

## C05.1, PX2 & EE4
Utilize Enhanced Survey
The below addresses the requirements of optimization Feature C05, Part 1 in WELL v2 AND Feature PX2 in the WELL Performance Rating AND Feature EE4 in the WELL Equity Rating
WELL v2 - FEATURE C05: ENHANCED OCCUPANT SURVEY
PART 1: UTILIZE ENHANCED SURVEY
WELL Performance Rating - FEATURE PX2: UTILIZE ENHANCED SURVEY
WELL Equity Rating - FEATURE EE4: UTILIZE ENHANCED SURVEY
1. For projects with ten or more eligible employees, the following requirements are met:
a. Meet Feature C04 Part 1 using a third-party or pre-approved survey provider.
b. Address at least one of the topics listed in Appendix C2 through a minimum of three additional survey questions utilizing
a pre-approved survey provider listed on IWBI's website.
2. The project or organization meets the following requirements:
a. Based on survey results, investigate correlations, inferential statistics (such as multivariate analysis), or other analyses
beyond descriptive statistics.
b. Submit the following through the platform annually:
i. Aggregated, anonymized survey results for the additional topics selected from Appendix C2.
ii. Results of enhanced analysis.
NOTE: Please submit aggregate survey results and reports through WELL Online.

## C05.2, PX3 & EE6.1
Utilize Pre- And Post-Occupancy Survey
The below addresses the requirements of optimization Feature C05, Part 2 in WELL v2 AND Feature PX3 in the WELL Performance Rating AND Featue EE6, Part 1 in the WELL Equity Rating
WELL v2 - FEATURE C05: ENHANCED OCCUPANT SURVEY
PART 2: UTILIZE PRE- AND POST-OCCUPANCY SURVEY
WELL Performance Rating - FEATURE PX3: UTILIZE PRE- AND POST-OCCUPANCY SURVEY
WELL Equity Rating - FEATURE EE6 ADMINISTER BASELINE ANNUAL SURVEYS
Part 1: Conduct Baseline Surveys
Prior to achieving a WELL milestone, administer a survey for eligible employees using the same pre-approved survey provider(s)
that will be used for Feature C04. Upon conducting the survey, the project or organization must meet the following requirements:
a. Compare results from the baseline survey against subsequent survey results.
b. Submit aggregated, anonymized survey results through the WELL digital platform on the following:
1. Aggregated, anonymized results of the baseline survey.
2. Comparison between the results of the baseline and annual surveys.
3. Total number of employees invited to complete the survey and number of employees who completed the survey, each time it
was administered.
4. Date each survey started and finished.
5. Location where each survey was administered.
6. Project type.
7. Level of WELL achievement, if applicable.
8. Sociodemographic information (age and gender at a minimum).
NOTE: Please submit aggregate survey results and reports through WELL Online.

## C05.3 & EE6.2
Implement Action Plan
The below table addresses the requirements of Feature C05, Part 3 in WELL v2 AND Feature EE6 Part 2 in the WELL Equity Rating
WELL v2 - FEATURE C05: ENHANCED OCCUPANT SURVEY
PART 3: IMPLEMENT ACTION PLAN
WELL Equity Rating - FEATURE EE6 ADMINISTER BASELINE AND ANNUAL SURVEYS
PART 2: IMPLEMENT ACTION PLAN
2. Improvement Strategies:
The project or organization submits on an annual basis:
a. Comparison of satisfaction results to aspirational targets
b. Improvement strategies to be implemneted, if applicable.
The table below includes the aspirational targets we defined for 1. Satisfaction Targets compared to our aggregated survey data for the year x (year the aggregated survey data represents, example 2023) :
Survey question | Aspirational satisfaction target | Satisfaction results for (Year - Year)
EXAMPLE: How satisfied are you with the general cleanliness of the office? | Extremely satisfied: 40%+ Moderately satisfied or better: 70%+ | Extremely satisfied: 20% Moderately satisfied or better: 55%
EXAMPLE: How satisfied are you with the visual comfort (glare, daylight access, etc.) within your workspace? | Extremely satisfied: 40%+ Moderately satisfied or better: 70%+ | Extremely satisfied: 42% Moderately satisfied or better: 80%
Improvement Strategies:
EXAMPLE: As shown in the table above, we did not meet our satisfaction target for general cleanliness of the office. We sent another anonymous survey to our staff asking how we could improve the cleanliness
of the office. Based on these survey responses we will implement the following strategy:
1. Remind and encourage staff in our quarterly all-staff meetings to clean common spaces after using them (put dirty dishes in the dishwasher, throw trash in the garbage, put borrowed chargers, etc. back in the cabinets]

## C05.4, PX4 & EE5
Facilitate Interviews, Focus Groups, And/Or Observations
The below addresses the requirements of optimization Feature C05, Part 4 in WELL v2 AND Feature PX4 in the WELL Performance Rating AND WELL Equity Rating Feature EE5
WELL v2 - FEATURE C05: ENHANCED OCCUPANT SURVEYS
PART 4: FACILITATE INTERVIEWS, FOCUS GROUPS AND/OR OBSERVATIONS
WELL Performance Rating - FEATURE PX4: FACILITATE INTERVIEWS, FOCUS GROUPS AND/OR OBSERVATION
WELL Equity Rating - FEATURE EE5: FACILITATE INTERVIEWS, FOCUS GROUPS AND/OR OBSERVATION
For All Spaces
1. Annually conductstakeholder interviews, focus groups and/or observations to discuss building features and wellness initiatives
and their impacts on occupant health and well-being, in keeping with the following requirements:
a. Are conducted and analyzed by a professional experienced in qualitative research.
b. Comprise a culturally representative sample of the population.
c. Discuss the impact that the built environment and organizational initiatives have on occupant health and well-being.
d. Protect participant privacy and identity.
2. Compare results from the evaluations to the survey results, if applicable.
3. Annually submit aggregated, anonymized results of the evaluations through the platform on the following:
a. Comparison between the results of the evaluations and the survey results, as applicable.
b. Total number of employees and number of employees who participated in the evaluations.
c. Date the evaluations started and finished.
d. Project location(s).
e. Project type(s).
f. Level of WELL achievement, if applicable.
g. Sociodemographic information of participants (age and gender at a minimum).
Evaluation type
Date(s) of evaluation
No. of employees participating
Total no. of employees
Project location
Project type
Age statistics
Gender statistics
Outcome #1
Comparison to survey results | (if applicable)
Add additional rows as necessary